## Slide 1: 2015 California Potential and Goals Study Incorporating EM&V Updates into the PG Study
January 30, 2015
DAWG Presentation

## Slide 2: 2015 California Potential and Goals Study
Content of Report
This presentation was prepared by Navigant Consulting, Inc. exclusively for the benefit and internal use of the California Public Utilities Commission and/or its affiliates or subsidiaries. No part of it may be circulated, quoted, or reproduced for distribution outside these organization(s) without prior written approval from Navigant Consulting, Inc. The work presented in this report represents our best efforts and judgments based on the information available at the time this report was prepared. Navigant Consulting, Inc. is not responsible for the reader’s use of, or reliance upon, the report, nor any decisions based on the report.
NAVIGANT CONSULTING, INC. MAKES NO REPRESENTATIONS OR WARRANTIES, EXPRESSED OR IMPLIED.
Readers of the report are advised that they assume all liabilities incurred by them, or third parties, as a result of their reliance on the report, or the data, information, findings and opinions contained in the report.
January 30, 2015
©2015 Navigant Consulting, Inc. All rights reserved. Navigant Consulting is not a certified public accounting firm and does not provide audit, attest, or public accounting services. See navigantconsulting.com/licensing for a complete listing of private investigator licenses. Investment banking, private placement, merger, acquisition and divestiture services offered through Navigant Capital Advisors, LLC., Member FINRA/SIPC.

## Slide 3: 2015 California Potential and Goals Study » Agenda
»
» Scope and Schedule Highlights
» Introduction to the Measure Input Characterization System
» Residential/Commercial Measure Updates: DEER
» Residential/Commercial Measure Updates: 10-12 EM&V Results
» Emerging Technology and Whole Building Bundles
» 2016 and Beyond Update
» Q&A, Summary, and Conclusion

## Slide 4: 2015 California Potential and Goals Study » Goals for the Meeting
The task and it’s role in the context of the study
The initial development of measure-level data in 2013
  What were the key data sources for the 2013 study?
The integration of 2014 and 2015 DEER data
The integration of 2010-12 EM&V results
  What are the key data sources for the 2015 study?
How the EM&V updates affect Emerging Tech and Whole Building measures
The scope, schedule, and planned EM&V updates for the 2016 and Beyond Study
After this presentation, participants should understand:
Notes: Adding comments: will there be a formal comment period?
State name when possible prior to commenting for the record

## Slide 5: 2015 California Potential and Goals Study » Task Overview
Task 1: Potential and Goals Study Update
  Inform IOU goals
Task 2: Additional Achievable Energy Efficiency (AAEE) Savings Forecast
  Inform planning efforts of the CPUC, CEC, and CAISO
Task 3: Energy Efficiency Targets for Greenhouse Gas Reductions
  How can IOU programs and energy efficiency can help meet AB32 goals?
Task 4: Metrics to Support the Strategic Plan Update
  Support development of strategic plan by providing potential analysis
Four primary uses of the 2015 and Beyond Potential Study correspond to the four task descriptions that will be used throughout the project.

## Slide 6: 2015 California Potential and Goals Study » Task Overview
Task 1: Potential and Goals Study Update
Integrating EM&V results falls under Task 1 (Potential and Goals Study Update).
Measure Input Characterization System
2014/2015 DEER Updates
10-12 EM&V Results
Market Saturation Surveys

## Slide 7: 2015 California Potential and Goals Study » Scope Overview
At the measure level, the 2015 Potential and Goals Study Update is a data refresh
  Overall architecture of the measures remains largely the same
Navigant prioritized updates based on each measure’s contribution to overall potential in each “sector-fuel type” category
  That is, all measures from 2013 that contributed to the first 90% of 2016 potential in each “sector-fuel type”
    For example, CFLs in the Residential-Electric category
  Overall, Navigant reviewed 55 of the 169 “conventional” Res/Com measures
The primary data sources in the 2015 update included:
  2014/2015 DEER
  Itron and DNV GL 10-12 EM&V reports
  2012 Itron Measure Cost Study
  CLASS and CSS
The 2015 measure level data builds off of the 2013 study and incorporates EM&V results.

## Slide 8: 2015 California Potential and Goals Study » Overview of Project and Schedule
EM&V updates are on schedule. Two-way communication between the measures and model is underway.

## Slide 9: 2015 California Potential and Goals Study » Agenda
»
» Scope and Schedule Highlights
» Introduction to the Measure Input Characterization System
» Residential/Commercial Measure Updates: DEER
» Residential/Commercial Measure Updates: 10-12 EM&V Results
» Emerging Technology and Whole Building Bundles
» 2016 and Beyond Update
» Q&A, Summary, and Conclusion

## Slide 10: 2015 California Potential and Goals Study » MICS
Database of measures characterized fuel source, end use, technology type
  Approximately 60,000 unique rows of measure-level data
  Residential, Commercial, Emerging Technology, Whole Building, and AIMS are represented by MICS measures
  Behavior and Financing programs are modeled differently and are not included in the MICS
MICS enables calculation of technical, economic, and market potential for each measure
  Specific outputs by utility, building type, climate zone
DEER databases and IOU workpapers are key MICS inputs
The MICS houses all measure-level inputs for P&G model.

## Slide 11: 2015 California Potential and Goals Study » MICS
The Residential and Commercial measures feed into other measure categories in the Potential and Goals Study.

## Slide 12: 2015 California Potential and Goals Study » MICS
Key MICS terminology.
Measure Definition
Measures are defined by unique combinations of the base case, code case, and efficient case
Unit Energy Consumption
MICS measures are based on unit energy consumption at each measure case
Unit Cost
Density
Effective Useful Life/Remaining Useful Life
EUL and RUL are related by RUL = 1/3 x EUL
Cost is characterized for each case (base, code, and efficient) in the same common units (e.g., per bulb)
Density relates the available applications of a measure per a given unit (e.g., lighting fixtures per home)

## Slide 13: 2015 California Potential and Goals Study » MICS
MICS workbooks follow a common structure, and measures are characterized based on various elements.
General
Characteristics
IOU
Sector
Fuel Type
Technology
Characteristics
Use Category/Sub Category
Tech Group
Tech Type
Tech Sub-Type
Segment
Characteristics
Building Type
Building Vintage
Climate Zone

## Slide 14: 2015 California Potential and Goals Study » MICS
The 2015 Study used the most up-to-date data available to update key measure parameters.
Input | 2013 Source | 2013 Availability |  | 2015 Source | 2013 Availability
Measure Nomenclature | SPTdb* 0.98 Document | High |  | SPTdb* 0.98 Document | High
Unit Energy Savings (UES) | DEER 2011 v4.01** | High |  | DEER 2014, DEER 2015 | High
Unit Energy Consumption (UEC) | DEER 2008, Approved Workpapers | High |  | DEER 2008, Approved Workpapers; Calculated | High
EUL | FEA, Approved Workpapers | High |  | FEA, Approved Workpapers, EM&V Results | High
NTG*** | FEA | High |  | FEA, EM&V Results | High
Measure Costs | DEER 2008 | Low |  | Itron Measure Cost Study | Medium
Density | CLASS, CSS, CEUS; Research | Low |  | CLASS, CSS, CEUS; Research | High
* SPTdb contains all IOU claimed and evaluated savings starting in 2006 in a unified, staff-approved format. ** Database for Energy-Efficient Resources - Version 2011 4.01. California IOU 2013-14 Energy Efficiency Planning (http://www.deeresources.com/index.php/deer2011-for-13-14) *** The NTG ratio has limited application in the PG Model since results are reported at the gross level. CEC, however, applies the NTG ratio to determine net savings to inform its demand forecast. |  |  |  |  | 

## Slide 15: 2015 California Potential and Goals Study » MICS
In 2013, a three step process to integration DEER, Ex Ante, and approved workpapers was used to generate the Res/Com MICS.
Approved
workpapers
(
UEC data
)
2008
DEER database
(
Consumption data
)
Frozen Ex
-
Ante
(
FEA
)
database
(
measure list and
properties
)
2011
DEER database
(
UES data
)
PG DEER
measure list
(
>
900
,
000
measure
installation
definitions
)
PG non
-
DEER
measure list
(
>
7
,
000
unique
claimed
measures
SPTdb
0
.
98
Document
Mapped
0
.
98
Document tech type
definitions to PG DEER
measure list
,
and
aggregated PG DEER
measure installation
definitions to define
tech type by climate
zone and building type
Mapped
0
.
98
Document tech type
definitions to PG non
-
DEER measure list to
define tech type by
climate zone and
building type
Combined DEER and
non
-
DEER measure
lists into a common
0
.
98
Documents defined
measure data system
including
tech type by
climate zone and
building type
.
(
126
tech types with
>
60
,
000
tech type
installation definitions
)
Step
1
Define measure data sources and measure lists
Step
2
Apply common naming conventions
to measure lists and group measures
into tech types
Step
3
Combine measures
lists by TechType to
allow meta
-
analysis

## Slide 16: 2015 California Potential and Goals Study » MICS
DEER and approved IOU workpapers are key MICS inputs.
Sector | Fuel Type | DEER | IOU WP
Commercial | Electric | 37 | 52
 | Gas | 8 | 6
Residential | Electric | 22 | 33
 | Gas | 5 | 6
Both sources are represented in the Residential and Commercial “conventional” MICS measures.
  DEER MICS measures are often aggregated from several DEER measures (e.g., averaging across a range of efficiencies for HVAC units)
  Approved workpaper MICS measures are generally one-to-one

## Slide 17: 2015 California Potential and Goals Study » Agenda
»
» Scope and Schedule Highlights
» Introduction to the Measure Input Characterization System
» Residential/Commercial Measure Updates: DEER
» Residential/Commercial Measure Updates: 10-12 EM&V Results
» Emerging Technology and Whole Building Bundles
» 2016 and Beyond Update
» Q&A, Summary, and Conclusion

## Slide 18: 2015 California Potential and Goals Study » DEER Integration
The 2013 Study relied on DEER 2011 v4.00 as the foundation for unit energy savings, NTG, and EUL/RUL data
DEER 2014 and 2015 were updates to DEER 2011 driven by Codes and Standards requirements
  DEER 2014 affected weather-sensitive measures, lighting equivalent full load hours, and direct expansion cooling systems
  DEER 2015 affected the following technology groups:
    Refrigerator/Freezer & Freezer
    Split and Packaged air conditioning equipment
    Water Heaters: Small Gas and Electric Storage, Small Gas and Electric Instantaneous
    Gas Furnaces (Weatherized)
Since the 2013 Study, DEER updated in 2014 and 2015.

## Slide 19: 2015 California Potential and Goals Study » DEER Integration
Navigant collaborated with the Ex Ante team to fully understand the updates and coordinate aggregation of the 2014/2015 data
Generally, the changes to MICS measures resulted in relatively minor unit energy savings changes
  The full impacts of the measures updates will be seen through the modeling process
Navigant collaborated with the Ex Ante team to fully understand the updates and coordinate aggregation of the 2014/2015 data.

## Slide 20: 2015 California Potential and Goals Study » DEER Integration
Residential Water Heaters
  DEER 2015 energy consumption and savings data used
  Average measure energy factor increased from 0.82 to 0.875 (instantaneous); 0.62 to 0.75 (storage)
  Base case sizes increased from 40 to 75 gallons (instantaneous)
  Measure cost updated from the Itron Measure Cost Study
Res/Com HVAC Measures
  DEER 2015 energy consumption and savings data used
  Measure costs updated to kBtuh/1000 sqft per DEER 2015 prototypes
  Densities updated based on DEER 2015 prototypes
Commercial Lighting
  DEER 2015 energy savings data used
  Measure costs updated
  CSS used to update fixture definitions (e.g., market-weighted averages, average fixtures/lamp, etc.)
Several key measure categories were updated based on DEER 2014 and DEER 2015.

## Slide 21: 2015 California Potential and Goals Study » DEER Integration
DEER-based Commercial lighting unit energy savings data were updated.
MICS Measure Name | 
Lighting - Compact Fluorescent Lamp (Basic High - Indoor) | 
Lighting - Compact Fluorescent Fixture (Indoor) | 
Lighting - Compact Fluorescent Lamp (Basic Low - Indoor) | 
Lighting - Linear Fluorescent Fixture (T8) | 
Lighting - Linear Fluorescent Fixture (Low Wattage T8) | 
Lighting - High Bay HID to T5 | 
Lighting - Occupancy Sensor | 
Lighting - Low Bay HID to T5 | 

## Slide 22: 2015 California Potential and Goals Study » DEER Integration
Both electric and gas DEER-based Commercial HVAC measures were updated.
MICS Measure Name | Fuel Type
HVAC - Chiller (Reciprocating) | Electric
HVAC - Chiller (Screw) | Electric
HVAC - Chiller (Centrifugal) | Electric
HVAC - SEER Rated Package Rooftop HP | Electric
HVAC - EER Rated Package Rooftop HP | Electric
HVAC - ET Rated Boiler (High) | Gas
HVAC - AFUE Rated Boiler (High) | Gas
HVAC - ET Rated Boiler (Standard) | Gas
HVAC - AFUE Rated Boiler (Standard) | Gas
HVAC - Gas Furnace | Gas

## Slide 23: 2015 California Potential and Goals Study » Agenda
»
» Scope and Schedule Highlights
» Introduction to the Measure Input Characterization System
» Residential/Commercial Measure Updates: DEER
» Residential/Commercial Measure Updates: 10-12 EM&V Results
» Emerging Technology and Whole Building Bundles
» 2016 and Beyond Update
» Q&A, Summary, and Conclusion

## Slide 24: 2015 California Potential and Goals Study » EM&V Results Integration
Navigant used two approaches to update MICS measures based on EM&V data:
Available published literature and data:
  California Lighting and Appliance Saturation Survey (DNV GL 2014)
  California Commercial Saturation Survey (Itron 2014)
  Ex Ante Measure Cost Study (Itron 2014)
Relevant 10-12 EM&V reports:
  Lighting Programs Process Evaluation and Market Characterization (DNV GL)
  Residential and Small Commercial HVAC (DNV GL)
  Residential Appliance Recycle Refrigerator and Freezer (DNV GL)
  Consumer Electronics and Plug Load (DNV GL)
  Nonresidential Downstream Lighting Impact Evaluation Report (Itron)
  HVAC Interactive Effects (Itron)
Navigant sourced several recent EM&V studies and market reports for the 2015 Study.

## Slide 25: 2015 California Potential and Goals Study » EM&V Results Integration
In 2013, Residential CFL lighting measures were based on approved IOU workpapers
In 2015, the measures were updated based on DEER and EM&V data
Key Impacted Measure: Residential CFL Lighting
2013 MICS:
Res CFL Lighting
2015 MICS Measure
10-12 EM&V:
HOU and average wattages
DEER 14/15: Interactive effects
MCS:
Measure cost updated

## Slide 26: 2015 California Potential and Goals Study » EM&V Results Integration
In 2013, Refrigerator Recycling was based on an approved IOU workpaper
In 2015, the measure was updated to reflect its inclusion in DEER and results of 10-12 EM&V studies
Key Impacted Measure: Refrigerator Recycling
2013 MICS:
Refrig. Recycle
2015 MICS: Refrig. Recycle
10-12 EM&V:
NTG
DEER 14/15: Unit Energy Consumption

## Slide 27: 2015 California Potential and Goals Study » EM&V Results Integration
Commercial Linear Fluorescents in MICS are based on DEER data, and updates were aggregated from various sources
Key Impacted Measure: Commercial Linear Fluorescents
2013 MICS:
Com Linear Fluor.
2015 MICS:
Com Linear Fluor.
CSS:
Market-weighted wattages
DEER 14/15: HOU and Interactive Effects
MCS:
Measure cost updated

## Slide 28: 2015 California Potential and Goals Study » EM&V Results Integration
For Commercial measures, DEER, CSS, and the Itron Measure Cost Study were incorporated into the MICS measures.
MICS Measure Category | 2015 Update Summary
CFLs | Updated to use market-weighted wattages averages from Itron CSS study Updated to use new hours of use from DEER
Linear Fluorescents | Updated to use market-weighted wattages and lamps/fixture from Itron CSS study
HID to T5 | Baseline updated to reflect mix of T5s and PSMHs
HVAC Chillers HVAC AC/HP HVAC Boilers | DEER 2015 updates applied for UEC / UES Itron MCS calibrated to DEER 2015 kBtuh/1000 sqft per DEER prototypes Densities updated based on DEER 2015 prototypes

## Slide 29: 2015 California Potential and Goals Study » EM&V Results Integration
For Residential measures, CLASS and the Itron Measure Cost Study were incorporated into the MICS measures.
MICS Measure Category | 2015 Update Summary
CFLs | Updated HOU and weighted average fixture wattages from EM&V results Updated costs based on Itron MCS Updated interactive effects from DEER
HVAC AC/HP | DEER 2015 updates applied for UEC / UES Measure cost updated from the Itron MCS
Water Heaters | DEER 2015 energy consumption and savings data used Base case sizes increased from 40 to 75 gallons Measure cost updated from the Itron MCS
Gas Furnace | Measure cost updated from the Itron MCS Density updates from CLASS (furnace/home)

## Slide 30: 2015 California Potential and Goals Study » Agenda
»
» Scope and Schedule Highlights
» Introduction to the Measure Input Characterization System
» Residential/Commercial Measure Updates: DEER
» Residential/Commercial Measure Updates: 10-12 EM&V Results
» Emerging Technology and Whole Building Bundles
» 2016 and Beyond Update
» Q&A, Summary, and Conclusion

## Slide 31: 2015 California Potential and Goals Study » Emerging Tech and Whole Building
Emerging Technology and Whole Building measures are often based on Res/Com MICS measures.

## Slide 32: 2015 California Potential and Goals Study » Emerging Tech and Whole Building
Emerging Tech
  Measure list did not change in Stage 1; Stage 2 will reconsider measure list
  The following key updates were made:
    Residential LED densities incorporated the same data used to update CFLs
    Res/Com Hot Water Heaters  higher efficiency levels based on saturation data
    Res/Com HVAC Units  higher efficiency levels based on saturation data
Whole Building
  Measures within “bundles” did not change in Stage 1; Stage 2 will reconsider updating the bundle methodology and the bundles
  Measures within bundle changed based on the updates to the Res/Com and ET measures
For Emerging Tech and Whole Building measures, any Res/Com updates were mirrored in the related measures.

## Slide 33: 2015 California Potential and Goals Study » Agenda
»
» Scope and Schedule Highlights
» Introduction to the Measure Input Characterization System
» Residential/Commercial Measure Updates: DEER
» Residential/Commercial Measure Updates: 10-12 EM&V Results
» Emerging Technology and Whole Building Bundles
» 2016 and Beyond Update
» Q&A, Summary, and Conclusion

## Slide 34: 2015 California Potential and Goals Study » 2016 and Beyond Update
Navigant anticipates comprehensive updates for the 2016 Study update.
2016 MICS Measures
DEER 2016 Update
Updated IOU Workpapers*
New Measures?
* Pending further guidance from the CPUC.

## Slide 35: 2015 California Potential and Goals Study » Agenda
»
» Scope and Schedule Highlights
» Introduction to the Measure Input Characterization System
» Residential/Commercial Measure Updates: DEER
» Residential/Commercial Measure Updates: 10-12 EM&V Results
» Emerging Technology and Whole Building Bundles
» 2016 and Beyond Update
» Q&A, Summary, and Conclusion

## Slide 36
Greg Wikler, Director-in-Charge
Navigant - Director
San Francisco, CA
(415) 399-2109
Greg.wikler@navigant.com
Amul Sathe, Project Manger
Navigant - Associate Director
San Francisco, CA
(415) 399-2180
Amul.sathe@navigant.com
Michael Noreika, MICS Lead
Navigant - Managing Consultant
Seattle, WA
(206) 302-4016
Michael.Noreika@navigant.com