## Gas System Census Tract Data
Southwest Gas Corporation
Gas System Census Tract Data Summary
Data Request Instructions: Provide an Excel spreadsheet file with summary statistics about items 1, 2 and 3 above. Title the file “Gas System Summary Statistics – [Utility Name].xlsx,” with tabs titled “Gas System Census Tract Data,” “Consumption Data by Census Tract,” and “Consumption Data by Zip Code.” In the tab “Gas System Census Tract Data,” provide column headings matching the column headings used in item 1. Gas System Census Tract Data. Provide rows showing the total, average, median, standard deviation, minimum, and maximum, of the rows (census tracts) which were provided in item 1. These are summary statistics for the census tract data. Similarly, in the tab “Consumption Data by Census Tract,” use column headings shown in item 2. Consumption Data by Census Tract, and provide rows showing the total, average, median, standard deviation, minimum, and maximum, of the rows (census tracts) which were provided in item 2. These are consumption data summary statistics by census tract. Finally, in the tab “Consumption Data by Zip Code,” use column headings shown in item 3. Consumption Data by Zip Code, and provide rows showing the total, average, median, standard deviation, minimum, and maximum, of the rows (zip codes) which were provided in item 3. These are consumption data summary statistics by zip code.
Column Name | TractID | City | County | ZipCode | ClimateZone | TransmZone | HCA | MCA | Services | LargeCustomers | DemandNodes | TotalLoad | PeakLoad | LoadChange | PressureDist | OpDist (new column) | DistAvCost (New Column) | HiPressMains | MedPressMains | HiPressServices | MedPressServices | PressureUnk (new column) | Diam2OrLess | Diam2to4 | Diam4to8 | Diam8to12 | DiamOver12 | DiamUnk (new column) | EarlyAldylA | LaterAldylA | UnkDateAldylA | NAPlastic | CPSteel | NCPSteel | Copper | Iron | MaterialUnk (new column) | Oldest | HighestRiskMains | HighRiskMains | UpperRiskMains | LowerRiskMains | LowRiskMains | HighestConsqMains | HighConsqMains | UpperConsqMains | LowerConsqMains | LowConsqMains | UnkRiskMain (new column) | HighestRiskServices | HighRiskServices | UpperRiskServices | LowerRiskServices | LowRiskServices | HighestConsqServices | HighConsqServices | UpperConsqServices | LowerConsqServices | LowConsqServices | UnkRiskService (new column) | AvMainRisk | AvServiceRisk | AvMainConsq | AvServiceConsq | AvMainRiskScore | AvServiceRiskScore | AvMainPressure | AvMainYear | AvServiceYear | AvSurvey | AvMainLeaks | AvServiceLeaks | HistAvMainHazLeaks | HistAvServiceHazLeaks | RetiredMain | RetiredService | PlanGRCReplaceMains | PlanGRCReplaceServices | EstGRCReplaceMains | EstGRCReplaceServices | GRCReplaceMains2030 | GRCReplaceServices2030 | GRCReplaceMainsPrograms | GRCReplaceServicesPrograms | RecentMains | RecentServices | PlannedMains | PlannedServices | MainValves | HiBranches | RegStationType | RegStationCustomers | RegStationAge | RegStationGRC | RegStationReplacement | TransmMiles | TransmWallLoss | AvTransmDiam | AvTIMPScore | CompressorStn | SmallTransmInfr | LargeTransmInfr | NonEssentialValves
Column Description | Census tract ID # | City | County | Zip Code | Climat Zone | Gas transmission zone (SoCalGas) or gas transmission district (PG&E) | Overlaps a High Consequence Area? | Overlaps a Moderate Consequence Area? | Number of Services | Number of large volume customers (customers that can receive more than 40,000 cubic feet/hour of gas) | Number of demand nodes as represented in Synergi hydraulic model | Average annual daily gas consumption in 2021 | Peak hourly gas consumption in 2021 | Annual gas demand change from 2015 to 2020 | Number of pressure districts | Division (PG&E), Operating District (SoCalGas), Construction and Operations Center serving the census tract (SDG&E), or Jurisdiction (SW Gas). | Average cost per mile to replace distribution pipeline in the OpDistrict as defined above. | Miles of high pressure (above 60 pounds per square inch (psi)) distribution main pipeline | Miles of medium pressure (60 psi or below) distribution main pipeline | Miles of high pressure (above 60 psi) distribution service pipelines | Miles of medim pressure (60 psi or below) distribution service pipeline | Miles of main or service distribution pipeline with unknown pressure. | Miles of distribution main and service pipeline with diameter 2" or less | Miles of distribution main and service pipeline with diameter over 2" through 4" | Miles of distribution main and service pipeline with diameter over 4" through 8" | Miles of distribution main and service pipeline with diameter over 8" through 12" | Miles of distribution main and service pipeline with diameter over 12" | Miles of main or service distribution pipeline with unknown diameter. | Miles of distribution main and service pipeline made of Aldyl-A plastic installed in 1965-1972 | Miles of distribution main and service pipeline made of Aldyl-A plastic installed in 1973-1985 | Miles of distribution main and service pipeline made of Aldyl-A plastic with unknown manufacturer or installation year | Miles of distribution main and service pipeline made of non-Aldyl-A plastic (polyethylene) | Miles of distribution main and service pipeline made of steel with cathodic protection | Miles of distribution main and service pipeline made of steel without cathodic protection | Miles of distribution service pipeline made of copper. | Miles of distribution main and service pipeline made of wrought iron. | Miles of main or service distribution pipeline with unknown material. | Miles of distribution main and service pipeline older than 1941 or with unknown installation date | Miles with calculated probability of leak per year, or risk of failure, in highest 5 percent of distribution main pipelines systemwide | Miles with calculated probability of leak per year, or risk of failure, in highest quartile of distribution main pipelines systemwide | Miles with calculated probability of leak per year, or risk of failure, in second highest quartile of distribution main pipelines systemwide | Miles with calculated probability of leak per year, or risk of failure, in second lowest quartile of distribution main pipelines systemwide | Miles with calculated probability of leak per year, or risk of failure, in lowest quartile of distribution main pipelines systemwide | Miles with calculated probability of serious incident given leak, or consequence of failure, in highest 5 percent of distribution main pipelines systemwide | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in highest quartile of distribution main pipelines systemwide | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in second highest quartile of distribution main pipelines systemwide | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in second lowest quartile of distribution main pipelines systemwide | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in lowest quartile of distribution main pipelines systemwide | Miles of main distribution pipeline with uncalculated risk. | Miles with calculated probability of leak per year, or risk of failure, in highest 5 percent of distribution service pipelines systemwide | Miles with calculated probability of leak per year, or risk of failure, in highest quartile of distribution service pipelines systemwide | Miles with calculated probability of leak per year, or risk of failure, in second highest quartile of distribution service pipelines systemwide | Miles with calculated probability of leak per year, or risk of failure, in second lowest quartile of distribution service pipelines systemwide | Miles with calculated probability of leak per year, or risk of failure, in lowest quartile of distribution service pipelines systemwide | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in highest 5 percent of distribution service pipelines systemwide | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in highest quartile of distribution service pipelines systemwide | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in second highest quartile of distribution service pipelines systemwide | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in second lowest quartile of distribution service pipelines systemwide | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in lowest quartile of distribution service pipelines systemwide | Miles of service distribution pipeline with uncalculated risk. (Put all service mileage here if risk calculations are not conducted for services.) | Calculated probability of leak per year, or risk of failure, averaged across distribution main pipeline miles | Calculated probability of leak per year, or risk of failure, averaged across distribution service pipeline miles | Calculated probability of serious safety incident given leak, or consequence of failure, averaged across distribution main pipeline miles | Calculated probability of serious safety incident given leak, or consequence of failure, averaged across distribution service pipeline miles | Risk score averaged across distribution main pipeline miles | Risk score averaged across distribution service pipeline miles | Set pressure, averaged across distribution main pipeline | Year pipeline was installed, averaged across distribution main pipeline miles | Year pipeline was installed, averaged across distribution service pipeline miles | Date of most recent leak survey, averaged across distribution main and service pipeline miles | Main leaks identified in leak surveys, excluding repaired or removed leaks, averaged across distribution main pipeline miles | Service leaks identified in leak surveys, excluding repaired or removed leaks, averaged across distribution service pipeline miles | Main hazardous leaks (grade 1) repaired in 2015-2020, averaged across distribution main pipeline miles | Service hazardous leaks (grade 1) repaired in 2015-2020, averaged across distribution service pipeline miles | Miles of distribution main pipeline retired/abandoned since 2010 | Miles of service pipeline retired/abandoned since 2010 | Miles of distribution main pipeline planned for replacement in 2023 through 2026 | Miles of service pipeline planned for replacement or relocation in 2023 through 2026 | Estimated miles of additional distribution main pipeline planned for replacement in 2023 through 2026 | Estimated miles of additional service pipeline planned for replacement in 2023 through 2026 | Miles of distribution main pipeline planned for replacement in 2027 through 2030 | Miles of service pipeline planned for replacement or relocation in 2027 through 2030 | Miles of distribution main pipeline identified for replacement after 2030 | Miles of service pipeline identified for replacement after 2030 | Miles of distribution main pipeline built since 2010 | Miles of service pipeline built since 2010 | Miles of new planned distribution main pipeline planned for 2023-2026 | Miles of new planned service pipeline planned for 2023-2026 | Number of valves on distribution main pipelines | Number of high pressure (60 psi or above) distribution line branching points | Presence of regulator station in census tract and whether it is a high-pressure regulator station (reduces pressure to pressure above 60 psi), medium- pressure (pressure of 1 through 60 psi) or low-pressure (to less than 1 psi) | Number of customers served by the regulator station(s) in the census tract if any such stations | Ages of regulator stations in the census tract | Number of regulator stations in the census tract identified for replacement, relocation, or to be newly constructed in 2023-2026 | Number of regulator stations identified in regulator station replacement program for replacement, relocation, or to be newly constructed | Transmission pipeline total mileage | Number of transmission pipeline anomalies with predicted metal wall loss of greater than 40 percent or other anomalies utility considers equally concerning | Diameter of transmission pipeline, averaged across transmission pipeline miles | Risk score of transmission pipeline, averaged across transmission pipeline miles | Name of compressor station serving the area | Name(s) of station, regulator, regulator set, valve, and/or valve set connected to transmission, other than included at facilities in “LargeTransmInfr” below | Name(s) of underground gas storage field, compressor station, gas terminal, or wholesale gas receipt point | Number of non-essential valves in each census tract.
Total | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 191228 | 0 | 40329 | 357844.7205 | Not Available | 23.9256 | 433 | 1738 | 79382096 | 271.1186 | 2931.9632 | 1.5538 | 2520.9568 | 0 | 4917.5797 | 559.7269 | 220.9749 | 20.5417 | 6.7693 | 0 | 0.00075758 | 4.6744 | 1.2578 | 5074.2886 | 645.4905 | 0 | 0 | 0 | 0 | 173.0789 | Not Applicable | 0 | Not Applicable | 3806.7705 | 0 | Not Applicable | 3584.2551 | Not Applicable | 224.5154 | 0 | 0 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 0 | 183.8549 | Not Available | 290.4917 | Not Available | 394.3822 | Not Applicable | 6458.594 | 271201.5652 | 271524.4322 | 274720 | 2.1246 | 2.1861 | 0.33517 | 1.2913 | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 577.4532 | 344.9602 | Not Available | Not Available | 1230 | 436 | Not Applicable | 75317 | 101672 | Not Available | Not Available | 0.11932 | Not Applicable | 24 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 309
Average | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 1406.0882 | 0 | 296.5368 | 2631.2112 | Not Available | 0.17592 | 3.1838 | 12.7794 | 592403.7015 | 1.9935 | 21.5586 | 0.011425 | 18.5364 | 0 | 36.1587 | 4.1156 | 1.6248 | 0.15104 | 0.049774 | 0 | 5.5704e-06 | 0.034371 | 0.0092483 | 37.3109 | 4.7463 | 0 | 0 | 0 | 0 | 1.2726 | Not Applicable | 0 | Not Applicable | 27.991 | 0 | Not Applicable | 26.3548 | Not Applicable | 1.6508 | 0 | 0 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 0 | 1.3519 | Not Available | 2.136 | Not Available | 2.8999 | Not Applicable | 47.4897 | 1994.1292 | 1996.5032 | 2020 | 0.015622 | 0.016074 | 0.0024645 | 0.0094945 | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 4.246 | 2.5365 | Not Available | Not Available | 9.0441 | 3.2059 | Not Applicable | 827.6593 | 2163.234 | Not Available | Not Available | 0.00087734 | Not Applicable | 6 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 2.2721
Median | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 1462.5 | 0 | 274.5 | 2273.6658 | Not Available | 0.1948 | 2 | 12 | 458674 | 0.99246 | 21.4034 | 0 | 17.0013 | 0 | 35.2297 | 3.2102 | 0.81164 | 0 | 0 | 0 | 0 | 0 | 0 | 37.3891 | 2.5552 | 0 | 0 | 0 | 0 | 0.018561 | Not Applicable | 0 | Not Applicable | 25.5406 | 0 | Not Applicable | 23.7433 | Not Applicable | 0 | 0 | 0 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 0 | 1.3505 | Not Available | 2.1131 | Not Available | 2.9022 | Not Applicable | 47.5 | 1996.1624 | 1996.3674 | 2020 | 0.0070308 | 0.0095552 | 0 | 0.0068362 | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 2.7797 | 1.9847 | Not Available | Not Available | 9 | 2 | Not Applicable | 230 | 2001 | Not Available | Not Available | 0 | Not Applicable | 7 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 1
Standard Deviation | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 673.4346 | 0 | 153.0565 | 1982.8335 | Not Available | 0.040875 | 2.6352 | 1.589 | 248991.1537 | 3.2809 | 10.7891 | 0.047694 | 10.1291 | 0 | 17.7846 | 3.4551 | 2.5199 | 0.56766 | 0.57833 | 0 | 6.4722e-05 | 0.17147 | 0.044119 | 20.8038 | 5.9418 | 0 | 0 | 0 | 0 | 4.0528 | Not Applicable | 0 | Not Applicable | 17.7841 | 0 | Not Applicable | 17.6807 | Not Applicable | 5.126 | 0 | 0 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 0 | 0.099973 | Not Available | 0.08365 | Not Available | 0.21347 | Not Applicable | 9.4633 | 9.7844 | 5.9207 | 0 | 0.028033 | 0.028267 | 0.0062029 | 0.012826 | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 4.5606 | 2.5094 | Not Available | Not Available | 5.7636 | 4.3523 | Not Applicable | 919.3215 | 1115.1903 | Not Available | Not Available | 0.0069396 | Not Applicable | 2.4495 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 2.9567
Minimum | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 2 | 0 | 2 | 4.0055 | Not Available | 0.0015 | 1 | 11 | 458674 | 0 | 0.00094697 | 0 | 0.042235 | 0 | 0.12716 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12716 | 0 | 0 | 0 | 0 | 0 | 0 | Not Applicable | 0 | Not Applicable | 0.05391 | 0 | Not Applicable | 0.05391 | Not Applicable | 0 | 0 | 0 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 0 | 1.1423 | Not Available | 2.0173 | Not Available | 2.4 | Not Applicable | 35 | 1959.0831 | 1975 | 2020 | 0 | 0 | 0 | 0 | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 0 | 0 | Not Available | Not Available | 0 | 0 | Not Applicable | 0 | 1800 | Not Available | Not Available | 0 | Not Applicable | 2 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 0
Maximum | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 3340 | 0 | 714 | 14076.6192 | Not Available | 0.2686 | 16 | 19 | 1056000 | 20.9348 | 71.2629 | 0.32403 | 54.7023 | 0 | 97.5219 | 20.1501 | 18.9263 | 3.865 | 6.7693 | 0 | 0.00075758 | 1.7443 | 0.36568 | 120.9307 | 24.956 | 0 | 0 | 0 | 0 | 19.9747 | Not Applicable | 0 | Not Applicable | 133.1989 | 0 | Not Applicable | 128.1354 | Not Applicable | 24.7613 | 0 | 0 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 0 | 1.6749 | Not Available | 2.7265 | Not Available | 3.5284 | Not Applicable | 116.924 | 2012.673 | 2012.923 | 2020 | 0.20795 | 0.2695 | 0.034188 | 0.073616 | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | Not Available | 29.546 | 21.0597 | Not Available | Not Available | 28 | 23 | Not Applicable | 2896 | 9724 | Not Available | Not Available | 0.074621 | Not Applicable | 8 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 17

## Consumption Data by Census Trac
Southwest Gas Corporation
Consumption Data by Census Tract Summary
Data Request Instructions: Provide an Excel spreadsheet file with summary statistics about items 1, 2 and 3 above. Title the file “Gas System Summary Statistics – [Utility Name].xlsx,” with tabs titled “Gas System Census Tract Data,” “Consumption Data by Census Tract,” and “Consumption Data by Zip Code.” In the tab “Gas System Census Tract Data,” provide column headings matching the column headings used in item 1. Gas System Census Tract Data. Provide rows showing the total, average, median, standard deviation, minimum, and maximum, of the rows (census tracts) which were provided in item 1. These are summary statistics for the census tract data. Similarly, in the tab “Consumption Data by Census Tract,” use column headings shown in item 2. Consumption Data by Census Tract, and provide rows showing the total, average, median, standard deviation, minimum, and maximum, of the rows (census tracts) which were provided in item 2. These are consumption data summary statistics by census tract. Finally, in the tab “Consumption Data by Zip Code,” use column headings shown in item 3. Consumption Data by Zip Code, and provide rows showing the total, average, median, standard deviation, minimum, and maximum, of the rows (zip codes) which were provided in item 3. These are consumption data summary statistics by zip code.
Column Name | CensusTract | CARELoad | CoreResLoad | CoreCommLoad | CoreIndLoad | CoreNGVLoad | NCCommLoad | NCIndLoad | NCRefLoad | NCEORLoad | NCEGLoad | WhLoad | CoLoad | CoreLoad | NCLoad | OtherLoad | Customers | CARECust | CoreResCust | CoreCommCust | CoreIndCust | CoreNGVCust | NCCommCust | NCIndCust | NCRefCust | NCEORCust | NCEGCust | WhCust | CoreCust | NCCust | OtherCust
Customer Category Description | Census Tract ID # | Core California Alternative Rates for Energy (CARE) residential | Core residential excluding CARE | Core commercial | Core industrial | Core NGV | Noncore commercial | Noncore industrial excluding refinery | Noncore refinery | Noncore enhanced oil recovery (EOR) | Noncore electric generation (EG) | Other wholesale (delivered to other utilities/wholesale including international) | Company use | Core subtotal | Noncore subtotal | Other subtotal (Other wholesale plus company use) | Number of customers served | Number of customers: Core CARE residential | Number of customers: Core residential excluding CARE | Number of customers: Core commercial | Number of customers: Core industrial | Number of customers: Core NGV | Number of customers: Noncore commercial | Number of customers: Noncore industrial (including refinery) | Number of customers: Noncore refinery | Number of customers: Noncore enhanced oil recovery | Number of customers: Noncore electric generation (EG) | Number of customers: Other wholesale (delivered to other utilities/wholesale including international) | Number of customers: Core subtotal | Number of customers: Noncore subtotal | Number of customers: Other subtotal
Total | Not Applicable | 64061.611 | 179114.2959 | 90638.8521 | 13113.0219 | 4830.4 | 5711.6548 | 0 | 0 | 0 | 353.926 | 0 | 0 | 351758.1808 | 6065.5808 | 0 | 187496 | 53371 | 124908 | 9121 | 42 | 9 | 7 | 0 | 0 | 0 | 1 | 0 | 187442 | 16 | 1
Average | Not Applicable | 467.603 | 1307.4036 | 661.5975 | 95.7155 | 35.2584 | 41.6909 | 0 | 0 | 0 | 2.5834 | 0 | 0 | 2567.578 | 44.2743 | 0 | 1368.5839 | 389.5693 | 911.7372 | 66.5766 | 0.30657 | 0.065693 | 0.051095 | 0 | 0 | 0 | 0.0072993 | 0 | 1368.1898 | 0.11679 | 0.0072993
Median | Not Applicable | 498.2712 | 938.1781 | 282.4137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2181.1315 | 0 | 0 | 1391 | 399 | 836 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1391 | 0 | 0
Standard Deviation | Not Applicable | 318.7809 | 1243.9247 | 1162.5159 | 415.7733 | 268.5573 | 263.8931 | 0 | 0 | 0 | 30.1274 | 0 | 0 | 1978.3327 | 265.2014 | 0 | 643.1037 | 290.2555 | 566.7302 | 75.6039 | 1.2056 | 0.24775 | 0.27871 | 0 | 0 | 0 | 0.085123 | 0 | 643.1525 | 0.40192 | 0.085123
Minimum | Not Applicable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18082 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
Maximum | Not Applicable | 1171.2767 | 9065.6849 | 7215.2685 | 2816.8384 | 2975.4575 | 2496.1068 | 0 | 0 | 0 | 353.926 | 0 | 0 | 14076.6192 | 2496.1068 | 0 | 2993 | 989 | 2825 | 347 | 12 | 1 | 2 | 0 | 0 | 0 | 1 | 0 | 2993 | 3 | 1

## Consumption Data by Zip Code
Southwest Gas Corporation
Consumption Data by Zip Code Summary
Data Request Instructions: Provide an Excel spreadsheet file with summary statistics about items 1, 2 and 3 above. Title the file “Gas System Summary Statistics – [Utility Name].xlsx,” with tabs titled “Gas System Census Tract Data,” “Consumption Data by Census Tract,” and “Consumption Data by Zip Code.” In the tab “Gas System Census Tract Data,” provide column headings matching the column headings used in item 1. Gas System Census Tract Data. Provide rows showing the total, average, median, standard deviation, minimum, and maximum, of the rows (census tracts) which were provided in item 1. These are summary statistics for the census tract data. Similarly, in the tab “Consumption Data by Census Tract,” use column headings shown in item 2. Consumption Data by Census Tract, and provide rows showing the total, average, median, standard deviation, minimum, and maximum, of the rows (census tracts) which were provided in item 2. These are consumption data summary statistics by census tract. Finally, in the tab “Consumption Data by Zip Code,” use column headings shown in item 3. Consumption Data by Zip Code, and provide rows showing the total, average, median, standard deviation, minimum, and maximum, of the rows (zip codes) which were provided in item 3. These are consumption data summary statistics by zip code.
Column Name | ZipCode | CARELoad | CoreResLoad | CoreCommLoad | CoreIndLoad | CoreNGVLoad | NCCommLoad | NCIndLoad | NCRefLoad | NCEORLoad | NCEGLoad | WhLoad | CoLoad | CoreLoad | NCLoad | OtherLoad | Customers | CARECust | CoreResCust | CoreCommCust | CoreIndCust | CoreNGVCust | NCCommCust | NCIndCust | NCRefCust | NCEORCust | NCEGCust | WhCust | CoreCust | NCCust | OtherCust
Customer Category Description | Zip Code | Core California Alternative Rates for Energy (CARE) residential | Core residential excluding CARE | Core commercial | Core industrial | Core NGV | Noncore commercial | Noncore industrial excluding refinery | Noncore refinery | Noncore enhanced oil recovery (EOR) | Noncore electric generation (EG) | Other wholesale (delivered to other utilities/wholesale including international) | Company use | Core subtotal | Noncore subtotal | Other subtotal (Other wholesale plus company use) | Number of customers served | Number of customers: Core CARE residential | Number of customers: Core residential excluding CARE | Number of customers: Core commercial | Number of customers: Core industrial | Number of customers: Core NGV | Number of customers: Noncore commercial | Number of customers: Noncore industrial (including refinery) | Number of customers: Noncore refinery | Number of customers: Noncore enhanced oil recovery | Number of customers: Noncore electric generation (EG) | Number of customers: Other wholesale (delivered to other utilities/wholesale including international) | Number of customers: Core subtotal | Number of customers: Noncore subtotal | Number of customers: Other subtotal
Total | Not Applicable | 60570.5495 | 150103.8697 | 93348.7616 | 13176.474 | 5142.6904 | 9724.0849 | 0 | 0 | 0 | 1087.6466 | 0 | 0 | 322342.3452 | 10811.7315 | 0 | 203689 | 58105 | 135906 | 9616 | 44 | 9 | 7 | 0 | 0 | 0 | 2 | 0 | 203680 | 9 | 0
Average | Not Applicable | 2088.6396 | 5175.9955 | 3218.9228 | 454.3612 | 177.3342 | 335.3133 | 0 | 0 | 0 | 37.5051 | 0 | 0 | 11115.2533 | 372.8183 | 0 | 7023.7586 | 2003.6207 | 4686.4138 | 331.5862 | 1.5172 | 0.31034 | 0.24138 | 0 | 0 | 0 | 0.068966 | 0 | 7023.4483 | 0.31034 | 0
Median | Not Applicable | 543.0416 | 2538.5306 | 681.8438 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2902.6712 | 0 | 0 | 2851 | 381 | 2421 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2851 | 0 | 0
Standard Deviation | Not Applicable | 2800.8402 | 7355.2057 | 4735.0996 | 1248.0102 | 619.2818 | 910.4749 | 0 | 0 | 0 | 165.5459 | 0 | 0 | 13870.1 | 911.7117 | 0 | 7402.7099 | 2866.5375 | 4859.1157 | 414.7314 | 3.8562 | 0.59326 | 0.56661 | 0 | 0 | 0 | 0.2534 | 0 | 7402.6842 | 0.59326 | 0
Minimum | Not Applicable | 2.2696 | 12.8592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.1288 | 0 | 0 | 10 | 2 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0
Maximum | Not Applicable | 10430.305 | 29314.7726 | 19483.8329 | 6445.2027 | 3291.6466 | 4112.7014 | 0 | 0 | 0 | 893.1534 | 0 | 0 | 52774.4137 | 4112.7014 | 0 | 27365 | 11122 | 16824 | 1495 | 20 | 2 | 2 | 0 | 0 | 0 | 1 | 0 | 27365 | 2 | 0