ELECTRICITY GENERATING FACILITY LOGBOOK STANDARDS

Adopted April 1, 2003 by the

California Electricity Generation Facilities Standards Committee

I.  PURPOSE

The intent of this document is to define the requirements for facility logs for plants generating electricity by the use of thermal energy.

II. GENERAL

Each generating facility shall maintain a Control Operator Log that contains the chronological history of the facility including detailed entries regarding the operations and maintenance of the facility.  Where information is unit specific, information for each unit must be recorded and so identified.

The Control Operator Log is a formal record of real time operating events as well as the overall status of the generating units and auxiliary equipment under the purview of the Control Room Operator.  The log shall also contain an accurate and concise record of important and/or unusual events involving operations, maintenance, water chemistry, safety, accidents affecting personnel, fires, contractor activities, environmental matters, and any other pertinent information concerning the operation of the facility.  The log shall also record communications between the facility and outside entities including but not limited to the Independent System Operator (ISO), scheduling coordinators or headquarters facilities, regulators, environmental agencies, CalOSHA or similar agencies.  The log shall be maintained notwithstanding and in addition to any other similar requirements that mandate that events be recorded.  The generator must collect and record all information specified in these standards.  All such information must be readily available to operators, California Public Utilities Commission staff, and other authorized personnel at all times.

Notwithstanding the above, generators may elect to record certain kinds of information in separate logs, as authorized by either Exception 1 or Exception 2 below.  The information specified in Exception 1 may be recorded in an Equipment Out of Service Log.  Similarly, the information specified in Exception 2 may be recorded in a Work Authorization log.  Information recorded in these separate logs need not be recorded in the control operator log.

All required logs entries shall be retained in hard copy, electronic format, or both for a minimum period of five years from the date of the log entry.  Each log entry shall start by recording the time of the event.  The Generating Asset Owner (GAO) is responsible for maintaining the integrity of the generating facility logs.

Each facility must record a Plant Status Entry at least once each calendar day.  If practicable, the control operator shall make that entry at midnight; however, a facility may for operational reasons elect to make that entry at another time.  In any case, the Plant Status Entry must be made at the same time each day, except when emergency conditions require a postponement.  In the case of such emergency conditions, the entry for that day shall be made as soon as it is safe to do so.

Information in the Plant Status Entry shall include:

- Unit status, if on line, including:

- Current Mega Watt (MW) load.

- Generator Kilo Volt (KV) and Mega VAR (MVAR) readings.

- Fuel type and availability.

- For units equipped with Automatic Generation Control (AGC), the status of AGC equipment, including the availability of AGC, its operational status (on or off), and the normal range of output possible when the unit is operating under AGC.

- Condenser water box differential pressures, condenser back pressure/vacuum readings, boiler and pre-boiler water chemistry readings (if applicable).

- Status of environmental monitoring equipment.

Or if off line:

- Type of outage with expected return date/time (including the ISO outage ID number).

- Any other reason the unit is off line.

- Any unit MW output restrictions (de-rates) including reasons for and expected time/date of release (including the ISO outage ID number).

- Status of any environmental constraints (for example total annual NOx allowable emissions vs. year to date total emissions or, for jet peakers, total allowable run time vs. current year to date actual run time).

- Equipment out of service, including any equipment that has been isolated and prepared for an upcoming work authorization with particular emphasis on redundant equipment that if the primary equipment fails, will result in a load restriction or a unit trip (see Exception 1).

- Any abnormal operating conditions.

- Outstanding work authorizations commonly referred to as clearances (see Exception 2).

- Status of any retention/waste basins.

- Status of any water conditioning equipment such as facility demineralizers and in stream demineralizers.

- The on hand quantities of large consumables including distilled water, hydrogen, nitrogen and hypochlorite, if applicable.

- Any other pertinent information regarding the status and reliability of the facility.

The first entry in the Control Operator Log at the start of a shift shall identify each operator on that shift and by some regular means distinguish his/her responsibilities (list in a regular order the identity of the Shift Supervisor(s), Control Operator(s), Assistant Control Operator(s) and Plant Equipment Operator(s)).  This initial entry shall indicate that the crew has ascertained the plant status through the shift turnover, review of the log and a check of the indications and alarms in the control room.

Events shall be logged chronologically as they occur.  Significant entries will include the control operator’s name at the end of the entry preceded by the name(s) of others involved in the activity.

The events recorded in the Control Operator log shall include, but are not limited to, the following:

- Any changes to generator MW output (except when on AGC).  The current load of the unit shall be recorded as well as the new target load and the reason for the load change including:

a) 	As directed by the day ahead schedule.

b) 	Deviations from the schedule as directed by a scheduling coordinator.

c) 	Load reductions for scheduled equipment outages (cleaning condensers, pump repairs, etc.).

d) 	ISO directions.

e) 	Unplanned unit equipment problems (forced derates) including load restrictions for environmental causes.

f) 	Reducing to minimum load.

e) 	Any other reason.

- Starting and stopping of equipment and any associated abnormal       conditions.

- Significant operations and milestones in the process of major operations such as start-ups, shutdowns and heat-treats.

- During a unit start up, once on line, each generator load increment released to the scheduling coordinator.

- Each instance where a unit is placed on or removed from AGC, including a notation if the AGC limits are set for a different value than the normal AGC range for that unit.

- Any changes to the future schedule for generator output.

- Detailed account of unit trips including any known or suspected causes and remedial action taken.

- Load limit position anytime it is placed at any value less than full load and reason for such action.

- All information related to planned outages or de-rates, including but not limited to communications with scheduling coordinators, headquarters, or the ISO regarding such outages (including requests to take an outage; and notification to the facility that such outages have been approved or denied), the nature of the work to be completed during the outage, initial and revised return-to-service dates, completion of milestones in such work, requests to the ISO or others for extension of such outages including the reason for that extension, and completion of such outages.  All entries shall include the date, time, duration, reason or explanation and the identities of all involved.

- All information related to forced outages or de-rates, including but not limited to communications with scheduling coordinators, headquarters, or the ISO regarding such outages; the nature of the problem; progress reports on further diagnosis of the problem or on ongoing repairs; estimated and revised return-to-service dates; the nature of any extended work to be completed during the outage; completion of milestones in such work; and completion of such outages.  All entries shall include the date, time, duration, reason or explanation and the identities of all involved.

- All work authorizations issued and released and the reason for such work.

- Equipment placed in a not normal status.

- Equipment declared out of service (OOS) including date and time of initial OOS declaration.

- Any current or potential fuel-supply problems.

- Results of performance tests including heat rate tests, hotwell drop tests, turbine stop valve tests, etc.

- Equipment outages of environmentally sensitive equipment or environmental monitoring devices.

- All out-of-limit water chemistry conditions including duration and remedial actions, as well as all boiler chemical feeds and boiler drum blowdowns where applicable.

- Changes in equipment/systems status (such as a suspected boiler tube leak, fouled condensers, or a feedwater heater tube leak).

- Detailed information regarding environmental limitations exceeded, including the date, time, duration, amount, and any known or suspected cause.

- Detailed reports of observations related to transmission system or facility trouble involving frequency or voltage deviations.

- Report of any industrial accident including all details of the incident and the names of all parties involved.

- All other pertinent information concerning the operation of the facility including names of all individuals involved.

Exceptions:

1.  In lieu of logging equipment out of service information in the plant status entry, an Equipment OOS Log may be utilized, at the discretion of the GAO, to track equipment declared out of service.  The work authorization program is intended to provide a safe work environment for current maintenance activities.  If a delay is encountered in the repair process, the work authorization should be released and the equipment declared OOS.  If the OOS designation is expected to be of short duration (five days or less), the OOS entry should be carried forward in the plant status Control Operator Log entry.  If a longer period is anticipated, the OOS entry can be recorded in the OOS log to avoid carrying it forward repeatedly in the CO log.  Information in the OOS log shall include the following:

- Equipment description

- Date declared OOS

- Reason for being declared OOS

- Estimated time for equipment to return to service

- Name of person declaring equipment OOS

- Maintenance order number or similar tracking mechanism

- Contact person(s)

- Date equipment is returned to service

2.  In lieu of logging outstanding work authorizations in the plant status entry, a Work Authorization log book may be utilized, at the discretion of the GAO, during periods of construction, overhauls, or major work; and contains work authorizations, commonly referred to as clearances issued, released, and associated with the special activity.  All other entries pertaining to the special activity shall be entered in the Control Operator log.  Work authorization log entries do not need to be carried forward for each plant status but may remain for the duration of the special activity.  Information in the Work Authorization log shall include the following:

- Date and time the clearance was issued.

- Name of the Control Operator or Assistant Control Operator issuing the clearance.

- Identification of clearance.

- Name of person the clearance is issued to.