## Data
ELECTRIC INCIDENTS OPEN AS OF 1-1-2021 AND INCIDENTS REPORTED IN 2021 - UPDATED 12-31-2021
ELECTRIC INCIDENTS (In Compliance with Public Utilities Code Section 911)
Incident number: This number reflects the year, month, day, and the sequence in which the incident was reported or occurred.
Incident number | Facility owner | Reason for investigation | Facility type involved | Brief description of incident | OPEN or CLOSED
20160720-01 | SCE | Injury | Vault cover | An underground vault cover was dislodged, which upset a passing vehicle. Initial reports indicate there was one occupant of the vehicle who was subsequently taken to nearby Norwalk Community Hospital for care. | Closed
20161011-03 | SDG&E | Injury | 12 kV overhead conductor | A journeyman lineman for Diversified Utility Service, Inc., received burn injuries after making contact with an energized overhead conductor while working on a wood-to-steel conversion project. | Closed
20161117-02 | SDG&E | Injury | 12 kV conductor | A lineman employed by a contractor sustained second degree burn injuries from an arc flash after his tool came into contact with an energized 12 kV cable. | Closed
20170222-01 | SCE | Injury | Riser | An SCE contractor employee suffered arc flash injuries while working overhead. | Closed
20170311-01 | SCE | Media | 12 kV overhead conductor | Vegetation contact with an overhead conductor caused a fire that attracted media attention and about $30,000 in property damage. | Closed
20170330-01 | SCE | Injury | 12 kV secondary pedestal | An employee of Pacific Center LLC received burns from an arc flash as he removed the cover of a secondary pedestal. | Closed
20170330-02 | SCE | Damage/Media | 33 kV overhead conductors and utility poles | Six wood poles fell over during windy conditions. Downed primary conductors reportedly ignited several structure fires. | Closed
20170821-01 | SCE | Fatality | 12 kV overhead conductor | An underground cable failed, causing a splice to fail and a conductor on a 12 kV distribution circuit to come down in the rear of a home in Huntington Beach. A resident there contacted the line and was fatally electrocuted. | Open
20170831-05 | SCE | Damage | 12 kV overhead conductors and utility poles | 11 poles were downed and 3 other pole tops damaged during a windy weather event in Lake Elsinore. | Closed
20170905-02 | SCE | Injury | 16 kV overhead conductor | A large portion of a city-owned tree fell onto a span of primary conductors and caused a conductor to fall down. A person was injured when he made contact with the conductor. | Closed
20171015-01 | PG&E | Damage | Overhead conductor | Fire damage occurred to two structures in the City of Santa Rosa, and may have been caused due to issues with a secondary conductor. | Closed
20171202-01 | SCE | Injury | 12 kV underground conductor | A foreman electrician for Light and Power Company, a private and not a utility-associated company, cut into an underground primary cable and sustained 3rd degree burns. | Closed
20171205-01 | SCE | Damage/Media | 21 kV Circuit | Outages and damage to SCE facilities due to Thomas fire. | Closed
20171205-02 | SCE | Media | 16 kV Circuit | A wildfire known as the Rye started near SCE 16 kV distribution circuit. Witnesses reported arcing near SCE facilities around the time the fire started. | Closed
20171205-03 | SCE | Media | 12 kV overhead conductor | A grass fire reportedly ignited which eventually consumed 34 acres of grass and brush with full containment at 8:00 p.m. | Closed
20171207-02 | SCE | Media | 12 kV overhead conductor | A brush fire known as the Liberty Fire was reported at 1:14 p.m. | Closed
20180118-01 | SCE | Fatality | 115kv overhead conductor | A contractor suffered an induced current electric shock while transferring conductors from an existing tower to a newly installed steel pole. | Open
20180316-02 | SCE | Injury | SCE Substation | An SCE employee sustained fall injuries when he fell off a transformer. | Closed
20180404-01 | SCE | Injury | 16 kV underground conductor | A construction employee was in the act of excavating sustained injuries when his tool struck a concrete-encased 16 kV primary conductor. | Closed
20180525-01 | SCE | Injury | BURD | An SCE electrical crew foreman sustained burns while working to restore power to a BURD (Buried Underground Residential Distribution) in Realto, CA. | Closed
20180606-03 | SCE | Injury | Down guy | An apprentice lineman suffered an injury while installing a down guy on a pole on a 115kV transmission line in Daggett, CA. | Open
20180704-01 | SCE | Injury | 12 kV overhead conductors | A mylar balloon contacted overhead conductors causing a brush fire. Conductor also fell on and energized a chain-link fence, which resulted in an electrical injury to a member of the public. | Open
20180706-02 | SDG&E | Media Coverage | 12 kV overhead facilities | A vegetation and structure fire occurred in the vicinity of overhead facilities. | Closed
20180707-01 | SCE | Media Coverage | 16 kV overhead conductor | A tree branch may have knocked into a power line starting a fire. | Closed
20180710-01 | SCE | Injury | Employee | A worker experienced a cardiac event while working on SCE facilities. It is unknown if the event was the result of an accident or a medical condition. | Open
20180828-01 | BVES | Power Outage | Overhead conductor | A 34 kV overhead conductor failed, causing a relatively large power outage that affected approximately half of BVES's customers for over an hour. | Closed
20180927-01 | SCE | Injury | Overhead conductor | Two SCE contractor workers suffered arc flash injuries while performing voltage tests on an overhead conductor. | Open
20181029-01 | SCE | Injury | Utility Pole | Utility pole broke at communications level while a lineman was on it. | Closed
20181108-02 | SCE | Media Coverage/Property Damage/Fatalities | 16 kV overhead conductor | The Big Rock circuit in Ventura County relayed. This incident has been implicated as a possible source of ignition for the Woolsey Fire. | Closed
20181114-01 | SCE | Injury | 12 kV overhead conductor | A member of the public made contact with an overhead conductor while installing rain gutters, resulting in electrical related injuries. | Open
20181120-01 | SCE | Injuries | 12 kV underground conductor | Four employees of SCE contractor Hampton Tedder were injured in an arc flash incident in a vault in Long Beach. One sustained burns and three others experienced smoke inhalation. | Closed
20181217-01 | SCE | Injury | Utility Pole | Two employees of Hot Line Construction, Inc., were injured when the pole they had climbed fell over with them still on it. | Closed
20190105-01 | SCE | Injury | Primary cable | A man sustained burn injuries while cutting into an energized primary cable with a reciprocating saw. | Open
20190318-01 | SCE | Injury | Substation | An apprentice substation electrician suffered injuries to both hands while performing maintenance work on supposedly de-energized equipment. | Open
20190531-02 | PG&E | Operator Judgement | Transmission Towers | PG&E has decided to replace 10 old towers and repair an additional 12 towers to reinforce the Ignacio-Alto-Sausalito double circuit transmission lines. | Closed
20190620-01 | PG&E | Injury | 21 kV overhead conductor | A PG&E contractor working on a pole received an electric shock when he reportedly made contact with the primary neutral conductor. He was transported to Santa Clara Valley Medical Center. | Closed
20190621-01 | SDG&E | Injury | 12 kV overhead conductor | An employee working for Mediacom accidentally made contact with an overhead SDG&E conductor and suffered second degree burns as a result. | Open
20190722-01 | SCE | Injury | 4 kV overhead conductors | A private tree trimmer contacted overhead conductors while elevated on a boom truck. He sustained burn injuries and was transported to Cottage Hospital. | Open
20190802-01 | SCE | Media Coverage | Substation | A fire occurred at Cabrillo Substation that resulted in a large power outage that affected the John Wayne Airport in Orange County. | Open
20190816-01 | PG&E | Media Coverage | Substation | A momentary power outage occurred during a switching procedure at Ignacio Substation in the city of Novato. The outage affected approximately 54,000 customers. | Closed
20190818-01 | SCE | Fatality | 12 kV overhead conductors | A tree trimmer was electrocuted when he came into contact with 12 kV overhead conductors via a palm frond he was moving. | Closed
20190904-01 | SCE | Media Coverage | 33 kV overhead conductors | A fire occurred near SCE facilities, the "Tenaja Fire". The cause of the fire is unknown at this time. | Closed
20191005-01 | SCE | Injury | Transformer | An underground transformer exploded, injuring two people nearby as well as two responding fire fighters. | Closed
20191008-01 | SCE | Injury | Overhead circuit | A contractor working on a cut-over project suffered burn injuries when an arc flash occurred. | Closed
20191011-01 | SCE | Media Coverage | Transmission Circuit | A transmission circuit relayed around the same time and location that the Saddleridge Fire began. | Open
20191015-01 | SCE | Injury | 12 kV circuit | An individual was injured when he made contact with overhead electrical facilities. | Closed
20191024-01 | PG&E | Media Coverage | 230 kV circuit | A transmission circuit relayed and did not reclose. CalFIRE taped off the area and reported a broken jumper wire on a transmission tower. | Open
20191025-01 | SCE | Injury | 16 kV overhead conductor | An unlicensed, unbonded tree trimmer made contact with an overhead conductor in Manhattan Beach, resulting in burn injuries. | Closed
20191025-02 | SCE | Media Coverage | 16 kV circuits | A fire occurred in Rosemead around the same time two local circuits experienced an interruption. | Open
20191030-03 | SDG&E | Media Coverage | 4 kV overhead circuit | SDG&E overhead equipment failed and started a small fire. No injuries or damage to structures resulted from the fire. | Closed
20191030-04 | SCE | Media Coverage | 16 kV circuit | An SCE distribution circuit in Calabasas relayed around the same time a fire was reported in the same area. | Open
20191030-05 | SCE | Media Coverage | 66 kV circuit | "Circuit activity" occurred around the same time that the large "Easy Fire" started. | Open
20191101-01 | PG&E | Property Damage | 12 kV circuit | Someone filed a claim on October 24 against PG&E for alleged damage caused by a fire allegedly started by PG&E facilities. | Open
20191130-01 | SCE | Injury | 12 kV overhead conductor | A tree trimmer sustained injuries when his tree-trimming tool made contact with an overhead primary conductor. | Closed
20200102-01 | SCE | Property Damage | Transformer | On February 8, 2018, an SCE transformer failed near Oxnard, which resulted in a voltage spike in a nearby medical facility. A claim for the damages was filed in January 2020. | Closed
20200109-01 | SCE | Property Damage | Transformer | A transformer failed, resulting in a pole fire which damaged overhead conductors and nearby properties. | Open
20200113-01 | PG&E | Fatalities | Unknown | Two teenagers lost their lives rescuing a dog from a canal in Dixon. The boys attempted to exit the river via a metal foot bridge that was somehow energized. Both boys died as a result of their injuries. The bridge may have been energized by defective PG&E facilities. | Open
20200121-01 | PG&E | Property Damage | Distribution circuit | On January 21, 2020, PG&E became aware of a bankruptcy claim filed for a structure fire that occurred in July 2018. The fire may have been caused by PG&E facilities. | Closed
20200127-01 | SCE | Injury | 480 V underground conductor | An employee of a third-party contractor sustained burns from an arc flash when he drilled into a 480V underground conductor. | Closed
20200303-02 | SCE | Media Attention | 12 kV overhead conductors | A mylar balloon made contact with overhead SCE lines, resulting in a wire down. This attracted more media attention than usual due to a concurrent natural gas leak in the area. | Closed
20200310-01 | SCE | Injury | Padmounted transformer | A man suffered burn injuries when he cut into a 12 kV conductor on a pad mounted transformer. SCE described his actions as vandalism. | Closed
20200415-01 | SCE | Injury | Crossarm | An employee of Henkles & McCoy (a contractor working for SCE) suffered mechanical injuries when a crossarm fell off a steel utility pole and pinned him against the pole. His injuries were not electrical in nature. | Open
20200423-01 | SCE | Injury | Tree trimming | A tree trimmer working for SCE suffered a spine injury after falling from an elevated position while descending a palm tree. | Closed
20200423-03 | SCE | Injury | Streetlight | An SCE journeyman suffered fall injuries when he fell from an elevated work platform while working on a streetlight. | Closed
20200429-01 | PG&E | Property Damage | Unknown | PG&E facilities may have caused a structure fire on April 23, 2020. | Closed
20200429-02 | PG&E | Property Damage | Unknown | PG&E received a claim for damages caused by an April 9, 2020 fire that damaged two homes. | Closed
20200430-01 | SCE | Injury | Vault | A man suffered burn injuries when he cut into a 12 kV conductor located in an above-ground vault. SCE speculates that he was attempting to harvest materials for his recycling enterprise. | Open
20200506-01 | SCE | Injury | 16 kV underground conductor | A contractor damaged an underground 16 kV conductor with his jack hammer. Paramedics transported him to a nearby hospital for examination, but it appears he was not actually injured as a result of the incident. | Open
20200507-03 | SCE | Operator Judgement | 16 kV overhead conductor | A fallen utility pole resulted in a brush fire that burned approximately 200 acres in Ventura County. | Open
20200514-01 | SCE | Injury | Tree trimming | A tree trimmer working on behalf of SCE sustained gravity-induced injuries when he fell out of a tree he was trimming. | Closed
20200527-01 | SDG&E | Power Outage | Substation Equipment | A power outage affecting about 13,000 customers for 2.5 hours occurred in San Diego when a bird caused a flash over at Cabrillo Substation. | Closed
20200527-02 | SDG&E | Power Outage | Substation Equipment | A mylar balloon made contact with substation equipment and caused a power outage that affected about 9,000 customers. | Open
20200602-01 | PG&E | Fatalities | Transmission tower | A helicopter under contract by PG&E made contact with a transmission tower in Solano County. The accident resulted in a power outage that affected approximately 33,000 customers, a 5-acre brush fire, and the death of the helicopter pilot and two passengers. The incident also attracted a significant amount of media attention. | Open
20200604-02 | PG&E | Property Damage | Regulator | A regulator inside the Calaveras Cement Substation near San Andreas failed and caught on fire, resulting in an outage to 3,490 customers. There was a small grass fire outside of the substation that was extinguished immediately. Damage to the regulator is estimated to exceed $50,000. | Closed
20200605-01 | PG&E | Injury | 12 kV overhead conductor | A line worker was injured when he cut into a 12 kV jumper while performing a pole transfer from an elevated work platform. | Closed
20200611-01 | PG&E | Property Damage | 12 kV overhead circuit | A wire down in Bakersfield resulted in a small power outage and may have ignited a grass fire. The fire caused damage to a third-party semi-trailer truck and its freight that is estimated to exceed $50,000. | Closed
20200613-01 | PG&E | Property Damage | Service drop | PG&E equipment may have started a fire that damaged a garage and a residence in San Francisco on June 12. | Closed
20200614-01 | PG&E | Media Coverage | 12 kV overhead circuit | A wire down may have ignited a brush fire in Lompoc. The fallen wire also resulted in a power outage affecting 346 customers. | Open
20200629-01 | PP&L | Property Damage | Customer facility | A customer-owned electrical panel and pump started a grass fire that then ignited a house. | Closed
20200702-01 | SCE | Injury | 16 kV overhead conductor | An unidentified individual at a construction site suffered injuries when he made contact with energized overhead conductors with a metal object he was holding. | Open
20200704-01 | SCE | Fatality | Transmission tower | An unidentified individual climbed and then either fell or jumped from a transmission tower. The tower did not support any conductors at the time of the incident, and no electrical contact occurred. | Closed
20200706-02 | SCE | Operator Judgement | Secondary overhead conductors | A fire burned approximately five acres of brush near Santa Clarita. No structures were damaged and no injuries reported, but the fire allegedly started in the vicinity of an SCE pole that supported secondary conductors. | Open
20200707-01 | SCE | Injury | Utility Pole | An SCE contractor employee fell approximately 30 feet from a utility pole and suffered injuries as a result. | Closed
20200708-01 | PG&E | Property Damage | Service drop | A tree branch fell on a service drop in Shasta. The fallen conductor started a fire there that burned down a detached garage and destroyed the vehicle inside. | Closed
20200722-01 | SCE | Fatality | 4 kV overhead conductors | A contractor employee suffered burn injuries when he made contact with an energized 4 kV conductor while performing a pole replacement. He later succumbed to his injuries. | Open
20200722-02 | PP&L | Property Damage | Overhead circuit | A fallen overhead conductor may have ignited a fire in the Scott Bar area of Siskiyou County. | Closed
20200724-02 | PG&E | Property Damage | 21 kV circuit | A power outage occurred in Bakersfield that affected approximately 4,000 customers. Damage to customer-owned equipment resulting from the power outage is estimated to exceed $50,000. | Closed
20200728-02 | SCE | Injury | 12 kV circuit | A contractor employee suffered injuries to his pelvis when he fell approximately 40 feet from an elevated work platform. | Open
20200803-01 | PG&E | Injury | 12 kV overhead circuit | A tree trimmer sustained injuries when he or one of his tools made contact with a 12 kV overhead conductor on July 30, 2020. | Open
20200803-02 | PG&E | Injury | 12 kV overhead circuit | A contractor working on behalf of PG&E suffered burn injuries when he made contact with an overhead conductor. | Closed
20200805-01 | SCE | Injury | 12 kV circuit | A man sustained burn injuries as he vandalized a pad mounted structure. | Closed
20200807-01 | SCE | Injury | Pulley | A falling pulley injured a contractor working on behalf of SCE in Santa Barbara. | Open
20200810-02 | PG&E | Injury | Transmission Circuit | A PG&E employee sustained burn injuries while working in the vicinity of an electrical transmission structure. | Closed
20200815-01 | PG&E | Media Attention | Transformer | A PG&E pad mounted transformer failed, resulting in a small fire that further damaged the transformer and a nearby cable box. The failed transformer resulted in a power outage that affected about 1,700 customers, and the fire attracted media attention. | Closed
20200815-02 | PG&E | Media Attention | 12 kV overhead circuit | A fallen conductor resulted in a small brush fire. | Closed
20200821-01 | PG&E | Property Damage | Transformer bank | A failed transformer bank at PG&E's Las Positas Substation resulted in a power outage for approximately 13,000 customers. The cost of repairs to the transformer bank is estimated to exceed $50,000. PG&E's initial report indicates that the transformers may have been damaged by lightning. | Closed
20200821-02 | PG&E | Property Damage | Load Tap Changer | A failed load tap changer at PG&E's San Jose Substation resulted in a power outage for approximately 10,000 customers. The cost to replace the damaged equipment is estimated to exceed $50,000. | Closed
20200831-01 | SCE | Property Damage | Utility Pole | A utility pole broke between the primary and secondary levels on February 16, 2019, resulting in a phase-to-phase contact between the primary and secondary circuits. SCE received a subrogation claim from one of the properties affected in excess of $50,000. | Open
20200903-01 | PG&E | Property Damage | Substation | A lightning storm damaged equipment in a Tulare substation. The damage is estimated to exceed $50,000. | Closed
20200905-01 | SCE | Injury | Padmounted transformer | Two workers suffered burn injuries while replacing some components on a pad mounted transformer. The flash occurred at the end of their task as they re-energized the transformer. | Closed
20200906-01 | SDG&E | Media Coverage | Fire | The Valley Fire burned over 16,000 acres and destroyed at least 61 structures. The cause of the fire is unknown. | Open
20200907-01 | PG&E | Power Outage | Transformer bank | A faulty transformer bank at Piercy Substation resulted in a power outage that affected over 13,000 customers for about three hours. | Closed
20200909-01 | PG&E | Property Damage | 12 kV circuit | PG&E equipment may have ignited a fire that damaged a residential building. | Closed
20200909-02 | SDG&E | Injury | 12 kV overhead conductor | A non-utility worker was injured when a metal pole he was holding made contact with an energized overhead primary conductor at a construction site. | Open
20200911-01 | PG&E | Injury | 12 kV overhead conductor | A tree trimmer not affiliated with PG&E suffered injuries to his hand and back when his pole-saw came into contact with an overhead primary conductor. | Closed
20200912-01 | PG&E | Injuries | 12 kV overhead conductor | Two tree trimmers not affiliated with PG&E received an electric shock while trimming a tree in Walnut Creek. | Closed
20200914-01 | PG&E | Operator Judgement | 12 kV overhead conductors | A paraglider made contact with PG&E overhead primary customers, but was not injured. The incident resulted in a power outage that affected five customers. | Closed
20200915-01 | SCE | Injury | 12 kV overhead conductor | A third-party employee was injured when the excavator he was touching made contact with an overhead primary conductor. The injured employee was standing on the ground and in contact with the excavator when the accident occurred. | Closed
20200915-02 | PG&E | Property Damage | Distribution circuit | On September 15, 2020, PG&E reviewed a claim from a business located in Los Altos. The claim alleges that PG&E caused a power surge on June 22, 2020, damaging appliances and electronics in the building in excess of $50,000. | Closed
20200915-03 | SCE | Operator Judgement | Overhead circuit | The US Forest Service requested that SCE remove a section of overhead conductors in the vicinity of the ignition site of the Bobcat Fire. A relay also occurred on the circuit around the same time the fire began. | Open
20200916-01 | SDG&E | Fatality | Unknown | An SDG&E contract worker died while inspecting electrical equipment. No witnesses were present when the incident occurred, and his body was discovered a significant distance away from all energized electrical equipment. It is unknown whether his death was caused by SDG&E equipment or natural causes. | Open
20200918-02 | PP&L | Property Damage | Unknown | A fire damaged the town of Happy Camp and its surrounding areas. The cause of the fire is unknown. | Closed
20200922-01 | PG&E | Property Damage | 21 kV circuit | On September 22, 2020, PG&E Law-Claims received a claim for a property damage in excess of $50,000. The claim alleges that on August 14, 2020, unspecified PG&E equipment was involved in causing the damage. | Closed
20200930-01 | PG&E | Property Damage | Unknown | On September 29, 2020, PG&E received a claim from a customer alleging that on June 5, 2020, PG&E work was responsible for a fire in the area of Klette Avenue in Fresno. The claim is seeking $200,000 in damages. | Closed
20201007-01 | SCE | Property Damage | 12 kV overhead circuit | Overhead conductors ignited a palm tree as an SCE tree trimmer attempted to trim it. The fire went on to damage two residential structures. | Closed
20201009-01 | PG&E | Fatalities | 12 kV circuit | On September 27, 2020, a wildfire began in Shasta County. This fire, which came to be known as The Zogg Fire, has consumed at least 56,338 acres and resulted in four fatalities and one injury. At least 27 structures have been damaged and 204 structures have been destroyed. Unusual circuit activity was detected in the area around the time the fire started, and CalFIRE has removed some PG&E equipment from the area for evidence. | Open
20201013-01 | PG&E | Property Damage | Unknown | On October 13, 2020, PG&E received a claim from a customer in Livermore alleging that PG&E facilities started a fire that damaged fencing on their property. Other customers in the area have also made claims related to the same fire, and the total sum of those claims exceeds $50,000. | Closed
20201023-01 | PG&E | Property Damage | 12 kV circuit | PG&E received a property damage claim in the amount of $93,000 from a customer in the city of Lake Don Pedro alleging that PG&E's on-going power quality control problems have caused them to need to replace a power water pump and an electrical panel. | Closed
20201026-01 | SCE | Injury | 12 kV overhead circuit | SCE overhead distribution and communications facilities may have been involved in the ignition of the Silverado Fire in Orange County. The fire burned over 13,000 acres, destroyed three structures, and damaged five others. Two firemen sustained serious burns during their containment efforts. | Open
20201028-01 | SCE | Injury | 220 kV overead circuit | Two contractor linemen sustained minor electrical burns while attempting to remove a grounding device from a newly-installed transmission conductor in Piru. | Open
20201102-01 | PG&E | Property Damage | 12 kV circuit | On October 24, 2020, a fire occurred that resulted in the complete loss of a mobile home and two structures in Suisun City. A claim has not yet been filed, but PG&E was recently put on notice that one would be submitted. The damage to property was determined to be greater than $50,000. | Closed
20201102-02 | SCE | Property Damage | 16 kV overhead conductors | On September 5, 2020, the Deerfield 16 kV distribution circuit out of Ravendale Substation experienced an interruption. Downed primary conductors were discovered which reportedly ignited a vegetation fire that progressed to two nearby residential structures. SCE recently received a subrogation claim which identified property damage in excess of $50,000 from an insurance carrier on behalf of the property owners. | Closed
20201104-01 | BVES | Power Outage | Recloser | An auto-recloser tripped and locked out for unknown reasons. This caused a service interruption that affected 24,500 customers for about ninety minutes. | Closed
20201109-01 | PG&E | Property Damage | 12 kV overhead conductors | PG&E received a claim exceeding $50,000 on June 4, 2020. On that date, a third-party harvester made contact with PG&E's Eel River 1102 12kV Distribution circuit. Injuries were reported, but PG&E is not aware of any overnight hospitalization at this time. The claim was for damage to the harvester. | Closed
20201113-01 | PG&E | Property Damage | Primary circuit | On November 13, 2020, PG&E received a property damage claim in excess of $50,000 from a customer located in the city of Kingsburg. The claim alleged that damage to customer-owned surge arrestors and bushings occurred on June 10, 2020 at approximately 1430 hours. | Closed
20201116-01 | PG&E | Property Damage | 12 kV overhead conductors | On November 16, 2020, PG&E reviewed a claim from a law firm representing a customer's insurance company. The notification alleges that on October 26, 2020 at approximately 0720 hours, downed PG&E conductors caused a fire at a residence in Hayward. | Open
20201117-01 | LU | Property Damage | Primary circuit | A fire damaged electrical distribution facilities, and the damage may exceed $50,000. Liberty opted to de-energize part of their service area in response to the fire. | Open
20201125-01 | PG&E | Property Damage | 12 kV overhead conductors | On November 25, 2020, PG&E Law-Claims received a property damage claim in excess of $50,000. The claim alleges that a structure was damaged on October 1, 2020 due to vegetation contacting PG&E facilities, which caused wires to fall and ignite a fire that damaged the structure. | Closed
20201130-01 | PG&E | Operator Judgement | 12 kV overhead circuit | An airplane struck and damaged two spans of 12 kV overhead conductors, resulting in a power outage for five customers. The plane reportedly returned to the airport after the strike. No injuries or deaths resulted from the incident. | Closed
20201201-01 | PG&E | Property Damage | Service drop | On December 1, 2020, PG&E received a property damage claim for $122,000 for a fire that resulted in the loss of a structure. The claim alleges that PG&E equipment caused the fire in Chowchilla on June 18, 2020. The responding troubleman observed a burned customer-owned pole and a fallen PG&E service drop. | Closed
20201202-01 | PG&E | Property Damage | Distribution circuit | On December 2, 2020, PG&E received multiple claims for an incident that allegedly occurred on October 28, 2020 in Lodi. The claims allege that PG&E equipment damaged customers' appliances and Smart Meters. | Closed
20201202-02 | PG&E | Property Damage | Service drop | On December 2, 2020, PG&E received a notice of a potential claim for property damage exceeding $50,000 for a structure fire that took place on November 23, 2020 in Salinas. The responding PG&E troubleman arrived on-scene and observed a structure fire and a downed service drop. As the troubleman was winding up the service drop, he observed that the neutral was broken. | Open
20201202-03 | PG&E | Injury | Overhead transmission circuit | A PG&E employee was performing planned grounding work on the Poe-Rio Oso 230 kV overhead transmission line in Oroville when he made contact with the ungrounded end of a ground jumper. This resulted in burn injuries to both hands. | Closed
20201203-01 | SCE | Media Coverage | Overhead conductors | On December 3, 2020 around 2:05 a.m., a fire was reported in Nuevo in Riverside County. The Cerritos Fire went on to burn approximately 200 acres. Downed SCE conductors under a fallen tree were reported in the burn area. | Open
20201203-02 | PG&E | Property Damage | Overhead transmission circuit | On December 3, 2020, PG&E received a notice of a claim for property damage exceeding $50,000 for an outage that impacted a campground on Lake Almanor just east of the town of Chester. The claim alleges that a PG&E vegetation management contractor was performing tree work when a tree fell into a transmission line causing a power outage. | Closed
20201203-03 | PG&E | Property Damage | Distribution circuit | On December 3, 2020, PG&E received a claim for property damage exceeding $50,000 from an outage in Burlingame on August 22, 2019. The claimant alleges the outage caused damage to electrical equipment and appliances. | Closed
20201203-04 | PG&E | Property Damage | Utility pole | On December 3, 2020, PG&E reviewed claims exceeding $50,000 stemming from an incident that took place on June 23, 2020. The claims allege that PG&E installed a pole in San Francisco and that the pole contacted and broke the sewer main resulting in sewage spilling to four different residential backyards. | Closed
20201204-01 | PG&E | Property Damage | Transformer | On December 4, 2020, PG&E received a property damage claim exceeding $50,000 from an overhead transformer leak in Richmond that occurred on December 1, 2020. The claim alleges damages to a customer's parked vehicles, landscaping, and driveway. | Open
20201204-02 | SDG&E | Media Coverage | Utility pole | An SDG&E utility pole fractured near its base and fell into vegetation in San Marcos. It is believed a fuse on the top of the fallen pole sparked, igniting the brush around it. The ensuing fire burned approximately two to three acres. No property damage, injuries, or deaths resulted from the incident. | Open
20201204-03 | PG&E | Property Damage | Distribution circuit | On December 4, 2020 PG&E reviewed a property damage claim in excess of $50,000 relating to an outage that occurred at a campground on February 26, 2019 near Lake Almanor just east of Chester. The claim alleges that snow-loading involving PG&E equipment resulted in damage to the campground's facilities. | Closed
20201204-04 | PG&E | Property Damage | Distribution circuit | On December 4, 2020, PG&E received notice of a claim exceeding $50,000 in property damage related to a power outage that occurred on November 24, 2020 in Oakland. The claim alleges that the power outage resulted in food spoilage. | Closed
20201207-01 | SDG&E | Injury | 12 kV overhead conductors | A contractor working on a scaffolding made contact with a 12 kV line with an unknown object in Carlsbad. The injured party was taken to UCSD burn center. | Open
20201207-02 | SCE | Operator Judgement | Overhead conductors | On December 7, 2020 at approximately 11:44 AM, the Ventura County Fire Department reported a fire, known as the Cornell Fire, that burned approximately 175 acres in Santa Paula. Preliminary information indicates that a tree had fallen onto SCE overhead conductors in the burn area. | Closed
20201210-01 | PG&E | Property Damage | Circuit breaker | Technical problems at PG&E's Kern Power Plant Substation, located in Bakersfield, resulted in a sustained interruption to over 14,500 customers. A circuit breaker at the substation was severely damaged in the event and it was determined not to be repairable. PG&E is reporting this incident to the CPUC under the property damage criteria due to replacement cost of the circuit breaker estimated to exceed $50,000. | Closed
20201211-01 | SCE | Property Damage | 500 kV transmission circuit | SCE is being sued for damages associated with the December 5, 2017 Creek Fire. SCE denies that its equipment was to blame, and, according to SCE, a report by the United States Forest Service supports that assertion. SCE states that the report implicates LADWP transmission facilities as the ignition source. | Closed
20201212-01 | SCE | Injury | 500 kV transmission circuit | An employee of SCE contractor American Power sustained an injury to his hand when he made contact with a de-energized portion of the El Dorado-Mojave 500kV transmission circuit. The injured party was air lifted from the scene to an unidentified hospital in Las Vegas, NV. | Open
20201220-01 | PG&E | Injury | 12 kV overhead conductors | A PG&E employee received an electric shock while working near overhead conductors from an elevated work platform on December 10, 2020. The employee was transported to a nearby hospital and required overnight hospitalization. | Open
20201221-01 | PG&E | Property Damage | Transformer | On December 18, 2020, PG&E received property damage claims exceeding $50,000 related to an overhead transformer failure that occurred on November 30, 2020 in San Leandro. The claim alleges damage to the underbuilt communications equipment and the labor costs associated with the repair. | Closed
20201226-01 | SCE | Injury | 16 kV overhead conductors | An individual sustained injuries when they contacted an overhead 16 kV conductor with a telescoping metal pole in Manhattan Beach. The individual was attempting to wash the second-floor windows of their home from the rooftop when the accident occurred. | Open
20201230-01 | PG&E | Property Damage | Distribution circuit | A power outage occurred on October 15, 2020 in the city of Marysville. On December 30, 2020, PG&E received a claim from a customer impacted by the outage. The claim alleges that the outage caused the customer to lose $55,000 worth of medicine. | Closed
20201230-02 | PG&E | Property Damage | Unknown | A structure fire occurred in South San Francisco on October 26, 2020. On December 17, 2020, PG&E received a claim alleging that PG&E equipment started the fire and that the damage due to the fire exceeded $100,000. | Closed
20210105-01 | PG&E | Property Damage | Unknown | On January 5, 2021, PG&E received a property damage claim exceeding $50,000 for a fire that resulted in damage to an attic. The claim alleges that PG&E equipment caused a structure fire in Anderson on May 27, 2018. | Open
20210107-01 | PG&E | Property Damage | Unknown | On January 7, 2021, PG&E received a property damage claim exceeding $50,000 alleging that failed PG&E equipment caused damage to a customer's elevator. The damage allegedly occurred in San Francisco on November 13, 2020. | Closed
20210112-01 | PG&E | Property Damage | Unknown | On January 12, 2021, PG&E reviewed a property damage claim exceeding $50,000, alleging that PG&E caused a structure fire in Orland on May 25, 2017. | Open
20210114-01 | SCE | Injury | Transmission circuit | An SCE apprentice lineman sustained electrical contact injuries while attaching grounding devices on a de-energized section of the Mira Loma-Vincent 500kV transmission circuit. It is believed that induction was involved in this incident. | Open
20210120-01 | PG&E | Property Damage | Utility poles | Thirteen PG&E poles failed causing conductors to fall onto Highway 99 in Mettler during an apparent high wind event. There are no known injures or fatalities, and no media was observed. The cost of the damage to PG&E facilities is estimated to exceed $50,000. | Closed
20210120-02 | PG&E | Media Attention | Overhead conductors | On January 19, 2021, PG&E observed wires down near Freedom Blvd, north of Pleasant Valley Road in Aptos. The wires down were in the area of the Freedom Fire which started earlier in the day. PG&E later became aware that CAL FIRE was investigating the wires down as a potential origin of the Freedom Fire. PG&E is not aware of any injuries, fatalities, or property damage exceeding $50,000 related to the Freedom Fire. | Open
20210120-03 | PG&E | Media Attention | Overhead conductors | On January 18, 2021, PG&E observed wires down in the city of Geyserville. The wire down was in the area of the Old Fire. PG&E became aware that CAL FIRE was investigating the wires down in relation to the Old Fire when CAL FIRE investigators requested PG&E's assistance in collecting portions of the downed wires as evidence. CAL FIRE collected the wires on January 20, 2021. PG&E is not aware of any injuries, fatalities, or property damage exceeding $50,000 related to the Old Fire. | Open
20210121-01 | PG&E | Property Damage | Unknown | On January 6th, 2021, PG&E received a property damage claim exceeding $50,000 alleging that PG&E equipment caused fire damage to a house. This damage allegedly occurred in Occidental on October 17th, 2020. | Closed
20210124-01 | PG&E | Fatality | Overhead conductors | A driver was fatally electrocuted after crashing his car into a utility pole in Fresno. The vehicle involved left the road and struck a power pole, knocking it over, and bringing the attached power lines down to approximately 4 feet above the ground. According to witnesses, the driver made contact with the conductors after exiting the crashed vehicle. | Open
20210125-01 | PG&E | Fatality | Overhead conductors | PG&E received a report of a fire and a deceased person in the city of Fremont. PG&E dispatched a Troubleman who observed wires down in the area of the fire and the deceased person. | Closed
20210126-01 | PG&E | Property Damage | Unknown | On January 26th, 2020, PG&E received a property damage claim exceeding $50,000 alleging that PG&E equipment caused damage to a house. This damage allegedly occurred in the city of Stockton on June 30, 2020. | Open
20210201-01 | PG&E | Property Damage | Substation transformer | A transformer failed at Batavia Substation, leading to a power outage that affected two customers. The cost to replace the failed transformer is estimated to exceed $50,000. | Open
20210203-01 | PG&E | Property Damage | Substation circuit breakers | Lightning damaged two circuit breakers beyond repair at Cottonwood substation, leading to two power outages. The cost to replace the circuit breakers is estimated to exceed $50,000. | Closed
20210212-01 | PG&E | Property Damage | Neutral wire | On January 25, 2020, PG&E received a claim for approximately $41,000 alleging that PG&E equipment was responsible for starting a housefire in Yuba City on November 13, 2020. On February 12, 2021, PG&E became aware that this claim is now expected to exceed $50,000. The claimant's insurance investigation preliminary finding is that a PG&E neutral wire was involved in the ignition. | Closed
20210217-01 | PG&E | Property Damage | Substation Equipment | A fire at Vacca Dixon Substation caused damage to substation equipment exceeding $50,000. The fire was completely contained within the substation and no other property or facilities were affected by it. | Open
20210221-01 | SCE | Property Damage | Overhead conductors | A mylar balloon made contact with SCE overhead conductors in Long Beach. This resulted in a fire that damaged some nearby residential structures and property. The total damage from the fire is believed to exceed $50,000. | Open
20210222-01 | PG&E | Property Damage | Unknown | On February 22, 2021, PG&E received a claim exceeding $50,000 from a third party insurance company alleging PG&E electrical facilities caused a structure fire on January 9, 2021 in San Francisco. | Open
20210222-02 | PG&E | Injury | 12 kV overhead conductors | An AT&T worker made contact with 12 kV PG&E overhead conductors while working from an elevated work platform. This reportedly caused the worker to catch on fire until another AT&T worker put him out with a fire extinguisher. The worker was then transported to hospital via ambulance where he was reported to be in stable condition. | Closed
20210226-01 | PG&E | Property Damage | Unknown | On February 26, 2021, PG&E received a property damage claim exceeding $50,000 alleging that PG&E equipment caused damage to a commercial customer's equipment. The claim alleges that this occurred in Calistoga on February 23, 2021. | Closed
20210228-01 | SCE | Media Attention | Unknown | A fire named the Knolls Fire started at approximately 4:20 AM on February 28, 2021. The fire was extinguished and ultimately burned about 5 acres. There were no structures damaged or injuries reported. There was activity on the Serra 16kV circuit around the time of the fire. | Open
20210302-01 | PG&E | Property Damage | Overhead facilities | On March 2, 2021, PG&E received a property damage claim from a third-party telecommunications company for an incident involving a pole fire that occurred on August 9, 2020 in Eureka. The sum of alleged damage to the third-party equipment and damage sustained to PG&E equipment exceeds $50,000. | Closed
20210308-01 | PG&E | Property Damage | Overhead distribution circuit | On March 8, 2021 PG&E received a property damage claim from a third-party insurance company alleging PG&E equipment caused a garage fire which also caused damage to the attached house. This occurred on February 27, 2021 in Lakeport. | Open
20210312-01 | SCE | Injury | Overhead transmission circuit | An SCE employee sustained burns to the upper part of his body when an arc flash occurred while opening jumpers on a primary circuit. | Open
20210317-01 | PG&E | Injury | Overhead transmission circuit | PG&E contractor drove a forklift under the Eagle Rock-Fulton-Silverado 115 kV transmission line. The fork-lift nearly contacted the line, which resulted in the energization of the fork-lift. The fork-lift operator did not sustain any visible injuries but stated that he felt tingling in his hands. He or she was transported via pick-up truck to a nearby hospital and was held overnight for observation. | Closed
20210322-01 | PG&E | Property Damage | Overhead conductor | PG&E responded to a report of a structure fire in Fairfield. At the location, PG&E observed a wire down in the area of the fire ,and saw that the fire had caused extensive damage to the house. | Open
20210325-01 | PG&E | Property Damage | Transformers and other underground facilities | On March 22, 2021, there was an explosion and fire in a PG&E maintenance hole in San Francisco. On March 25, 2021, PG&E claims was notified that three transformers, one interrupter, and supporting equipment will need to be replaced as a result of the explosion and fire. These equipment replacements are expected to exceed $50,000. | Open
20210329-01 | PG&E | Property Damage | Transformer | On January 19th, 2021, a transformer failed and sprayed oil over two residential properties and resulting in an outage affecting 17 customers. On March 29th, 2021, it was determined that the threshold for property damage exceeding $50,000 had been reached based on customer claims. | Open
20210330-01 | PG&E | Media Attention | Transmission circuit | A weather-related event resulted in a transmission-level outage impacting 8172 customers in E195Northern Mendocino County and Southern Humboldt County, resulting in significant media coverage. | Closed
20210331-01 | SCE | Property Damage | Unknown | SCE received a subrogation claim alleging that SCE facilities were responsible for starting a structure fire in Pico Rivera. | Open
20210408-01 | PG&E | Property Damage | 12 kV circuit | On April 1, 2021, PG&E received notice of a subrogation claim alleging PG&E equipment caused a power surge that damaged a customer's equipment. No dollar amount was indicated in the initial notice. On April 07, 2021, PG&E received further notification from the insurer’s attorney estimating alleged damages at more than the $50,000 threshold. | Closed
20210426-01 | PG&E | Property Damage | Circuit breaker | A circuit breaker failed at Llagas Substation in Gilroy, resulting in a power outage that affected approximately 13,000 customers. PG&E staff restored power to all customers in under three hours, but the cost of replacing the failed circuit breaker is estimated to exceed $50,000. | Closed
20210430-01 | SCE | Media Attention | Overhead conductors | A vehicle-ignited structure fire caused an SCE overhead conductor to fall while firefighters were attempting to extinguish it. Initial reports indicated that the fallen conductor made contact with the firefighters' fire hose, which injured three firefighters, but new information indicates that their injuries my not have been caused by electric shock. | Closed
20210502-01 | PG&E | Injury | Overhead conductors | Two contractor workers for PG&E received shocks while working on a pole replacement. The specific cause of the shocks was unspecified in the utility's initial report. One of the two presented with visible burn marks on the skin. Both were transported to a nearby hospital and kept overnight for observation. | Closed
20210502-02 | SCE | Media Attention | Overhead conductors | A brush fire known as the Delta Fire occurred west of Lancaster in Los Angeles County. The fire had consumed approximately 100 acres of grass and brush at the time of SCE's initial report, and no damage to property nor injuries to people had been reported at that time. SCE information reflects circuit activity occurred prior to the report time of the fire. Additionally, a witness reported observing what was described as arcing power lines in the area where the fire was first reported. However, there are no reports of any downed conductors in the subject area. | Open
20210502-03 | SCE | Injury | Utility pole | An SCE Journeyman Lineman was working on a pole preparing to operate a pole switch when he fell approximately 6 feet to the ground. There is no indication the injuries were electrical in nature, but were attributed to the fall. He was transported from the scene to Pomona Valley Hospital Medical Center. | Open
20210504-01 | SCE | Property Damage | Overhead primary conductors | The Vassal 12 kV circuit out of Corona Substation relayed and reclosed at 4:05 p.m.as a result of contact by mylar balloons, resulting in felled primary conductors. Preliminary information reflects that the incident ignited a fire that affected a residential structure and the property damage may exceed $50,000. | Closed
20210511-01 | PG&E | Property Damage | Transformer | On June 5, 2020, a transformer failed in San Jose, resulting in a power outage that affected sixteen customers. Eight of those customers submitted claims at that time for appliances damaged by a power surge for a combined value of less than $50,000. On May 11, 2021, PG&E Claims was notified of an additional claim from an insurance company that would bring the value of the total damage over $50,000. | Closed
20210512-01 | PG&E | Property Damage | Service drop | An arcing service drop resulted in fire damage to a house in San Mateo. The damage to the house is estimated to exceed $50,000. | Closed
20210517-01 | PG&E | Property Damage | Distribution circuit | On May 17, 2021, PG&E received a property damage claim for $81,000 alleging that PG&E equipment caused a fire resulting in damage to an air conditioner, sewer pump, 2 vehicles, and landscaping on September 9, 2020 in Murphys. The claim alleges that the damage occurred when power was restored after a PSPS event on that day. | Open
20210521-01 | PG&E | Property Damage | Overhead primary conductors | On May 19, 2021, PG&E became aware of a vegetation fire in Cloverdale. A troubleman was dispatched to the incident location and observed that a Eucalyptus branch had fallen into primary conductors near the fire, resulting in wire down. At the time of the initial dispatch, the troubleman did not observe damage exceeding $50,000. On May 21, 2021, during a subsequent visit to the incident location, PG&E observed damage to structures caused by the fire possibly exceeding $50,000. | Closed
20210523-01 | PG&E | Injury | Primary metering cabinet | A woman was found face-down, head-first inside a primary metering cabinet in Sunnyvale. The woman presented with severe burns to her back. She managed to remove herself from the cabinet, and then an ambulance transported her to a nearby hospital. | Open
20210524-01 | PG&E | Property Damage | Neutral wire | On May 7, 2021, PG&E received notice of a third party subrogation claim alleging that, on September 9, 2020, a broken PG&E neutral led to voltage imbalances resulting in a fire in San Jose. The damage is expected to exceed $50,000. | Closed
20210524-02 | PG&E | Property Damage | Secondary overhead conductors | Fallen secondary wires may have lead to a structure fire in Healdsburg. The damage to the property is estimated to exceed $50,000. | Open
20210525-01 | PG&E | Property Damage | Overhead conductors | On May 25, 2021, PG&E received a property damage claim from a customer alleging that a downed PG&E conductor caused a roof fire in Oakland on May 15, 2021. The claim alleges damages of approximately $75,000. | Closed
20210601-01 | PG&E | Media Attention | Overhead circuit | The "Slope Fire" began in Sanger on May 31 2021, but was not brought to PG&E's attention until June 1. PG&E overhead conductors may have been involved in its ignition. | Closed
20210601-02 | PG&E | Property Damage | Overhead distribution circuit | On June 1, 2021, PG&E received a claim alleging that its equipment started a structure fire on May 20, 2021. The property damage clame exceeds $50,000. | Closed
20210602-01 | PG&E | Property Damage | Substation/Switchyard Equipment | On May 31, 2021, a transformer bank failed at Placer Substation in Auburn. This resulted in a power outage that affected approximately 6,000 customers. The cost to replace the transformer bank is expected to exceed $50,000. | Open
20210603-01 | PG&E | Property Damage | Service drop | A damaged service drop may have ignited a structure fire in McKinleyville. The damage to the structure due to the fire is estimated to exceed $50,000. | Closed
20210609-01 | LU | Property Damage | Overhead circuit | A tree fell on overhead power lines near Meeks Bay, leading to wires down and a small fire. No structures were damaged as a result of the fire, but damage to utility facilities is estimated to exceed $50,000. | Open
20210610-01 | PG&E | Property Damage | Utility pole and transformer | On May 15, 2021 a pole fire occurred in Burlingame. The responding troubleman observed a burnt pole and a fallen transformer. PG&E received a claim on May 19, 2021 related to damage from the fallen transformer. On June 10, 2021 PG&E received an additional claim that would bring the value of the total damage from the incident to more than $50,000. | Open
20210611-01 | PG&E | Property Damage | Transformer | A pole-mounted transformer sparked and ignited a brush fire in Watsonville. The fire went on to damage approximately 500 ornamental eucalyptus trees. The damage to the trees is estimated to exceed $50,000. | Open
20210613-01 | SDG&E | Property Damage | Unknown | A deenergized conductor fell down on Highway 15 in San Diego. There are no reports of bodily injuries due to the incident, but several cars were damaged. The damage to the cars may exceed $50,000. | Closed
20210615-01 | PG&E | Media Attention | Overhead transmission circuit | Mylar balloons became tangled near the top of a transmission tower in San Jose, leading to a nearby grass fire. | Closed
20210617-01 | SDG&E | Injury | 4 kV underground conductor | A San Diego Water Department employee sustained burns when he made contact with and underground conductor with a digging bar. | Open
20210620-01 | PG&E | Media Attention | Substation equipment | An equipment malfunction at Newark Substation resulted in power outages that affected over 50,000 customers for about two and a half hours. PG&E later received inquiries from three separate media outlets about the incident. | Closed
20210622-01 | PG&E | Property Damage | Overhead distribution circuit | On June 22, 2021, PG&E received a property damage claim for a fire that allegedly occurred Los Olivos on June 6, 2021. The notice alleges that PG&E equipment may be responsible for the cause of the fire. The property damage value is estimated to exceed $50,000. | Open
20210622-02 | PG&E | Property Damage | Overhead distribution circuit | On June 22, 2021, PG&E claim for property damage resulting from a fire that allegedly occurred in Oakland on May 18, 2021. The claim alleges that PG&E equipment may have caused the fire. The property damage value is estimated to exceed $50,000. | Closed
20210624-01 | SCE | Fatality | Transmission tower | SCE staff discovered a dead body at the base of a transmission tower while performing a patrol inspection near Crestline in the San Bernardino Mountains. The body was found with a noose around its neck, and the opposite end of the rope tied to the lowest member of the transmission tower, about six feet off the ground. The body was found in a kneeling position on the ground, and the deceased's vehicle was parked nearby. | Open
20210705-01 | PG&E | Media Attention | Overhead conductors | PG&E facilities may be implicated in the "Blue Fire" that burned over 400 acres of forest northeast of Fresno. The USFS requested PG&E for assistance in collecting some PG&E equipment for evidence, including some conductors and crossarms. PG&E staff responded and observed a tree that had apparently fallen into PG&E conductors, causing them to fall to the ground. | Open
20210708-01 | PG&E | Injury | Vault lid | PG&E became aware of an inpatient hospitalization of a third party individual who tripped and fell on a metal vault lid located on the sidewalk in Cotati. The injury occurred on October 14, 2019. | Closed
20210709-01 | SCE | Injury | Electrical panel | A Trader Joes employee sustained burn injuries while interacting with a commercial electrical panel in Irvine. Initial reports indicate that the employee had removed the 277/480 volt panel for unknown reasons, and that an arc flash occurred as he attempted to re-install it. | Closed
20210711-01 | PG&E | Property Damage | Transformer | An underground transformer exploded and caught fire in Vacaville. This resulted in a sustained outage that affected 959 customers. Two nearby vehicles also caught on fire, and two additional vehicles sustained transformer oil splatter. The total combined damages are expected to exceed $50,000. | Open
20210715-01 | SCE | Fatality and Injuries | Overhead primary conductors | Three third-party contractor workers were working on the top of a multi-story building in Los Angeles when one of them made contact with an SCE overhead primary conductor through a piece of rebar he was holding. One of the workers died on the scene, and the other two sustained injuries requiring inpatient hospitalization. | Open
20210717-01 | LU | Property Damage | Utility poles | On July 4, 2021, a fire, suspected to be caused by lightning, started on US Forest Service land near the Sunset Lakes area. On July 17, 2021, the fire had spread to Markleeville, where 3 homes and approximately 40 utility poles were damaged. Approximately 800 Liberty customers experienced a power outage as a result of the damage. | Closed
20210718-01 | PG&E | Property Damage | 12 kV overhead conductors | A tree made contact with overhead power lines on July 13, 2021, resulting in a brush fire that burned at least 19,000 acres. The fire came to be known as the Dixie Fire. The incident was reported under the property damage criterion, although no property damage had been reported as of July 18. | Open
20210720-01 | SCE | Property Damage | Service drop | On July 9, 2021, at approximately 3:25 p.m., a fire occurred in Poplar, CA, and damaged multiple structures. No injuries were reported. Preliminary information indicates there were eyewitness observations of sparking in the vicinity of where an SCE overhead service drop was in close proximity to a large tree. | Closed
20210722-01 | PG&E | Injury | Transmission tower | A third party individual climbed a PG&E transmission tower, made contact with an energized 60 kV conductor, and fell from the tower, hitting trees on the way down. The individual was airlifted to a hospital. | Closed
20210726-01 | PG&E | Media Attention | Underground equipment | An unspecified underground equipment failure lead to a fault followed by a power outage that affected approximately 4200 customers. | Open
20210726-02 | PG&E | Fatality | Overhead primary conductors | On June 5th, 2021, a third-party vehicle traveling on Highway 166 crashed into a PG&E pole. The driver then made physical contact with a primary overhead conductor and sustained injuries. The driver was taken by ambulance to a local hospital for treatment, but passed away 12 days after the incident. | Open
20210727-01 | SCE | Injury | Vault | An employee of Diversified Utility Services, Inc., a contractor engaged in an underground cable replacement project on behalf of Southern California Edison Company, was in a vault when a flash occurred. The injured worker was transported to Arrowhead Regional Medical Center for treatment of 2nd degree burns to both forearms and hands. | Open
20210802-01 | PG&E | Media Attention | Overhead conductors | On July 22, 2021, a wildfire began in the area of Butterfly Valley Twain Road and Highway 70 in Plumas County, California (the Fly Fire). As of July 25, 2021, the Fly Fire had consumed 4,300 acres. Unusual circuit activity was detected in proximity to the fire's origin point, and a tree was discovered in contact with PG&E overhead conductors. | Open
20210803-01 | PG&E | Media Attention | Distribution circuit | A power outage occurred on August 1, 2021 due to vegetation contact. The outage affected approximately 3572 customers and attracted significant media attention. | Open
20210805-01 | PG&E | Media Attention | Distribution circuit | Two power outages occurred in Soledad, affecting approximately 3,500 customers and resulting in significant media attention. One of the power outages was caused by a pole fire, and the other by an unspecified overhead equipment failure. | Open
20210805-02 | PG&E | Media Attention | Distribution circuit | Three separate power outages occurred in Santa Cruz County on August 4 and 5. Two outages have been attributed to vegetation contact with overhead conductors, but the cause of the third is unknown. The outages collectively affected approximately 8,000 PG&E customers and raised significant media attention. | Closed
20210809-01 | PG&E | Property Damage | Utility pole | A pole fire occurred in Richmond, Contra Costa County. The pole contained two circuits - a 12 kV over-built circuit and a 4 kV under-build circuit. The fire severed the pole between the two circuits, causing the 12 kV circuit to fall into and contact the 4 kV circuit. The sudden increase in voltage to the 4 kV circuit caused an overload event and power outage, resulting in damage to several customers' smart meters and potentially causing other property damage. PG&E reported this incident due to the likelihood that property damage related to this event will exceed the $50,000 threshold. Approximately 4,400 customers were impacted by the outage. | Closed
20210809-02 | SDG&E | Media Attention | 12 kV overhead conductors | A mylar balloon made contact with 12 kV overhead conductors, causing a grass fire and a power outage that affected about 554 customers. The fire consumed approximately one-quarter acre of brush and attracted significant media attention. | Open
20210812-01 | SCE | Injury | Padmounted transformer | An unidentified individual sustained injuries while vandalizing a pad mounted transformer. The nature and extent of the injuries are unknown. | Open
20210814-01 | SCE | Property Damage | Transmission towers | A storm damaged five transmission towers near the California-Arizona border. SCE estimates the damage to exceed $50,000. | Closed
20210816-01 | SCE | Injury | Utility pole | An employee of Par Electrical Contractors, Inc., a contractor working on behalf of SCE, was on a wood utility pole when he fell to the ground. The employee sustained a head laceration and a leg injury as a result of the fall. There was no indication the incident involved any contact with electrical facilities. | Open
20210817-01 | SCE | Injury | Overhead circuit | An employee of City Light & Power, a contractor working on behalf of SCE, was working in an elevated position when a flash occurred. The individual was transported to hospital but released the same day. | Open
20210819-01 | PG&E | Property Damage | Distribution circuit | PG&E received claims exceeding $50,000 for damages allegedly resulting from a July 8, 2021 power outage. | Open
20210823-01 | SCE | Injury | Underground conductors | An arc flash occurred while an SCE apprentice lineman was completing repairs in a handhole containing low voltage underground cables. The employee sustained flash burn injuries to his face. | Closed
20210823-02 | PG&E | Property Damage | Substation Equipment | An equipment malfunction at Table Mountain Substation lead to damage exceeding $50,000 to PG&E equipment. | Open
20210825-01 | PG&E | Property Damage | Service drop | A PG&E contractor was installing a new pole and service line on PG&E's Girvan 1101 12kV Distribution Circuit Redding when the crew observed sparks that lead to a fire. The fire grew to approximately 9.2 acres and was eventually extinguished by CalFire. The fire damaged a detached garage to a residence, a contractor pickup truck, PG&E poles, and some of the contractor's equipment. Damages are anticipated to exceed $50,000. | Open
20210831-01 | PG&E | Injury | Overhead conductor | A third-party plumbing contractor moving copper pipe in San Francisco inadvertently made contact between the pipe and an overhead primary conductor. The contractor sustained injuries and was transported by ambulance to hospital. | Open
20210831-02 | PG&E | Property Damage | 12 kV circuit | On August 31, 2021, PG&E received a property damage claim which exceeds $50,000. The claimant alleged that PG&E equipment caused and/or contributed to property damage and other losses that they occurred on May 28, 2021. The unspecified incident occurred in Soledad. | Open
20210906-01 | SDG&E | Media Attention | Fuse | The Aruba Fire ignited in Fallbrook on September 5, 2021. The cause of the fire is unknown, but SDG&E discovered a blown fuse in the vicinity of its ignition point. Several utility poles were damaged in the fire. | Closed
20210919-01 | PG&E | Fatality | Utility pole | A pickup truck with two passengers hit a distribution pole on Lacey Blvd east of Hwy 41 near Lemoore. CHP found both individuals unconscious outside the vehicle and a responding troubleman noticed a conductor wire draped over the truck. At least one of the passengers passed away. | Closed
20210920-01 | PG&E | Property Damage | Utility pole | On August 28, 2021 a car hit a utility pole causing an outage on the Schindler circuit. On September 6, 2021 a customer on the circuit sustained damage to equipment valued at over $50,000. The customer filed a claim with PG&E alleging this damage occurred as a result of the August 28, 2021 outage. | Closed
20210923-01 | PG&E | Injury | Underground conductors | On September 09, 2021 at approximately 1146 hours, a third-party construction crew was replacing a sewage line to a residence. While excavating, the construction crew struck an underground secondary electrical cable with their equipment. One of the construction crew members reported he received an electrical shock from the secondary cable and was subsequently transported to the hospital for treatment and admitted overnight. | Open
20210927-01 | PG&E | Property Damage | Transformer | On Thursday September 2, 2021 at 1627 hours, the Clayton 12kV overhead primary circuit experienced an outage affecting 182 customers. The outage was caused by a pole mounted transformer that failed. Oil and debris from the failed transformer caused property damage to two residences. | Open
20210927-02 | PG&E | Property Damage | Circuit breaker | On Saturday September 25, 2021 at 0615 hours, the Daly City Substation sustained an outage affecting 34,059 customers. The outage was caused by a failed 12kV Circuit Breaker. This incident resulted in property damage exceeding $50,000 to PG&E equipment. | Open
20210929-01 | PG&E | Property Damage | Distribution circuit | A fire started inside a residence in Anderson. The residence is serviced by the Jessup 12kV overhead primary circuit. The fire is anticipated to result in over $50,000 in property damage and the property owner is alleging PG&E is attributable for the fire. | Open
20211006-01 | PG&E | Property Damage | Unknown | A power outage occurred in San Jose that affected approximately 180 customers on October 4, 2021. On October 6, PG&E received a claim from one of the customers alleging that the outage had resulted in damage to their goods and property exceeding $50,000. | Open
20211007-01 | PG&E | Property Damage | Transformer | A transformer failure resulted in a power outage affecting 12 customers on September 24, 2021 in Oakland. Oil from the transformer resulted in damage to a customer's property in excess of $50,000. | Open
20211011-01 | SCE | Property Damage | Service drop | SCE received a subrogation claim from a customer's insurance carrier for an amount in excess of $50,000. The claim alleges that SCE facilities caused a fire at the customer's property on August 26, 2021. SCE speculates that a compromised secondary neutral conductor may have been responsible. | Open
20211013-01 | SCE | Fatality | Substation Equipment | An unidentified individual accessed Savage Substation and subsequently contacted energized equipment resulting in fatal injuries. | Open
20211018-01 | SDG&E | Injury | Theft/Vandalism | A female transient pried open a fuse cabinet in Escondido and sustained burns from the energized components within. | Open
20211019-01 | PG&E | Injury | Overhead Primary conductor | On January 13, 2020 a citizen allegedly came into contact with a 21 kV overhead primary conductor while cleaning solar panels on the roof of a residential building. The citizen reported he contacted the conductor with a carbon fiber pole he was using to clean the solar panels. | Open
20211025-01 | PG&E | Property Damage | Transformer | The Woodacre Substation in San Geronimo (Marin County) experienced an outage affecting 4,248 customers. The outage was due to a transformer failure which resulted in over $50,000 in property damage to PG&E assets. | Open
20211026-01 | PG&E | Property Damage | Neutral wire | On October 09, 2021 at approximately 10:15 AM, a customer reported hearing a pop and that electrical equipment inside their home caught fire. A PG&E troubleman was dispatched and observed a broken neutral on the conductor at this location. PG&E received a claim on October 12, 2021 alleging property damage from the fire and an updated claim on October 25, 2021 alleging the property damage exceeded $50,000. | Open
20211028-01 | SCE | Injury | Overhead primary conductor | An unidentified third-party individual threw an object, possibly on a tether, into an energized primary conductor, resulting in an electrical shock for the individual. The injured party was transferred to Harbor UCLA Medical Center in Carson. | Open
20211029-01 | PG&E | Property Damage | Transformer | On October 27, 2021 at approximately 4:10 PM, a transformer in Pleasant Hill exploded and released mineral oil onto the landscape and hardscape of a residence there. On October 29, PG&E received a claim from the property owner alleging that the oil caused over $50,000 in damage to their property. | Open
20211104-01 | SCE | Property Damage | Overhead conductors | Third-party tree trimmers caused a branch to fall on the crossarm of a utility pole which supported conductors of three separate circuits, breaking the crossarm and causing faults and power outages on all three circuits. SCE subsequently received claims from customers supplied by the Deegan 12kV alleging appliance and electronic damage. It is anticipated that the claimed property damages will exceed $50,000 although the threshold has not been met as of the date of this report. | Open
20211107-01 | SCE | Fatality | Padmounted transformer | An unidentified male individual sustained fatal injuries as the result of an electrical contact during an apparent act of vandalizing a pad mounted transformer. | Open
20211110-01 | PG&E | Property Damage | Distribution circuit | On November 9, 2021 PG&E Law Claims received a notice of claim alleging PG&E facilities were responsible for an October 24, 2021 structure fire. Damage is estimated to exceed $50,000. | Open
20211111-01 | SCE | Media Attention | Overhead primary conductors | On Thursday, November 11, 2021 a wildfire was reported on Catalina Island. The fire burned 17 acres of brush and resulted in no injuries, fatalities, or property damage. Responding fire authorities subsequently reported to SCE that they believe the ignition of the fire was caused by birds contacting SCE overhead primary facilities. | Open
20211117-01 | PG&E | Property Damage | Substation transformer | An animal damaged a transformer at Anderson Substation, resulting in outages on several circuits and affected approximately 7,500 customers. It was determined that the damaged transformer will need to be replaced at a cost of over $50,000. | Open
20211130-01 | PG&E | Fatality | Distribution circuit | A deceased man was found next to a PG&E down guy wire in Fairfield with visible electric shock entrance and exit wounds on one hand and one foot. No damage was found to nearby PG&E facilities, which included secondary service pole and an underground enclosure. | Open
20211201-01 | PG&E | Injury | Utility pole | On November 26, 2021, a vehicle struck a PG&E utility pole in Escalon, San Joaquin County. The pole and its attachments fell, injuring a pedestrian and leading to a power outage that affected approximately 100 customers. | Open
20211202-01 | PG&E | Property Damage | Unknown | On January 1, 2017 a structure fire caused approximately $70,000 in property damage to a residential structure. The property owner is alleging PG&E is attributable for the fire. | Open
20211209-01 | PG&E | Fatality | Distribution circuit | On November 24, 2021, a construction crew was constructing a metal shop under an overhead primary distribution circuit. One of the construction crew members fell through an open section of the roof and subsequently died as a result of his injuries. It is unknow if the subject was electrocuted at this time. | Open
20211210-01 | PG&E | Injury | Overhead primary conductor | A third-party contractor made contact with overhead primary lines while riding an elevated work platform in Oakland. Although he was injured, he was not hospitalized and PG&E has requested that the incident be redacted. | Closed
20211214-01 | LU | Power Outage | Distribution circuit(s) | Liberty Utilities experienced multiple outages affecting approximately 9,000 customers in the Lake Tahoe area due to a severe storm. | Open
20211215-01 | PG&E | Fatality | Transformer | On November 1, 2021, PG&E was notified of a wrongful death lawsuit regarding a fire that occurred in Madera on October 14, 2019. The lawsuit is alleging a PG&E transformer started sparking and ignited a vegetation fire. The resident of the property where the fire started attempted to extinguish the fire by stomping it out. The subject burned his leg while attempting to extinguish the fire. The lawsuit is alleging the subject died on February 16, 2021 as a result of the burn he sustained to his leg. | Open
20211215-02 | PG&E | Property Damage | Distribution circuit | Warnock Food Products is claiming from July 1, 2021 through August 31, 2021 their packaging plant experienced fluctuating voltage issues causing over $50,000 in damage to their machinery and equipment. | Open
20211217-01 | PG&E | Media Attention | Distribution circuit | PG&E experienced a sustained outage on an underground distribution circuit, which impacted 35 customers in San Francisco. PG&E responded to the location to find a manhole on fire. Additional customers on adjacent circuits had to be deenergized to safely extinguish the manhole fire. The event attracted significant media attention. | Open
20211218-01 | PG&E | Property Damage | Transformer bank | A transformer bank at Oro Fino Substation in Magalia, Butte County, failed and resulted in a power outage that affected approximately 2,400 customers. The cost to replace the damaged transformers is expected to exceed $50,000. | Open
20211221-01 | SCE | Property Damage | Service drop | A fire occurred at a residence in Torrance on February 23, 2020, about one week after SCE had installed a temporary service line there. SCE recently received a claim for the damage caused by the fire, which is expected to exceed $50,000. | Open
20211223-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim alleging that PG&E equipment started a fire that resulted in $76,000 in property damage. The alleged fire occurred in Grass Valley, Nevada County, on July 7, 2021. | Open
20211227-01 | PG&E | Injury | Underground conductors | PG&E received a lawsuit regarding an incident that occurred on December 9, 2019. The Plaintiff is alleging that on December 9, 2019, he was operating an excavator at a construction site in Portola Valley. The Plaintiff struck a buried live conductor and received an electric shock. The Plaintiff is alleging he received severe permanent physical injuries resulting from the incident. | Open
20211227-02 | SDG&E | Property Damage | Overhead facilities | A small jet crashed in El Cajon. The jet contacted overhead PG&E conductors, damaging one primary conductor, three secondary conductors, and three crossarms. This resulted in a power outage that affected approximately 3,600 customers. The damage to PG&E facilities is estimated to exceed $50,000. | Open
20211228-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim for over $50,000 in property damage resulting from a residential structure fire that occurred on November 22, 2020 near the city of Aptos. The property owner is alleging that PG&E facilities were responsible for starting the fire. | Open