## 2023
ELECTRIC INCIDENTS OPEN AS OF 1-1-2023 AND INCIDENTS REPORTED IN 2023 - UPDATED 12-31-2023
ELECTRIC INCIDENTS (In Compliance with Public Utilities Code Section 911)
Incident number: This number reflects the year, month, day, and the sequence in which the incident was reported or occurred.
Incident number | Facility owner | Reason for investigation | Facility type involved | Brief description of incident | OPEN or CLOSED
20180118-01 | SCE | Fatality | 115kv overhead conductor | A contractor suffered an induced current electric shock while transferring conductors from an existing tower to a newly installed steel pole. | Open
20180704-01 | SCE | Injury | 12 kV overhead conductors | A mylar balloon contacted overhead conductors causing a brush fire. Conductor also fell on and energized a chain-link fence, which resulted in an electrical injury to a member of the public. | Closed
20180710-01 | SCE | Injury | Employee | A worker experienced a cardiac event while working on SCE facilities. It is unknown if the event was the result of an accident or a medical condition. | Closed
20181114-01 | SCE | Injury | 12 kV overhead conductor | A member of the public made contact with an overhead conductor while installing rain gutters, resulting in electrical related injuries. | Closed
20190105-01 | SCE | Injury | Primary cable | A man sustained burn injuries while cutting into an energized primary cable with a reciprocating saw. | Closed
20190318-01 | SCE | Injury | Substation | An apprentice substation electrician suffered injuries to both hands while performing maintenance work on supposedly de-energized equipment. | Closed
20190621-01 | SDG&E | Injury | 12 kV overhead conductor | An employee working for Mediacom accidentally made contact with an overhead SDG&E conductor and suffered second degree burns as a result. | Closed
20190722-01 | SCE | Injury | 4 kV overhead conductors | A private tree trimmer contacted overhead conductors while elevated on a boom truck. He sustained burn injuries and was transported to Cottage Hospital. | Closed
20191011-01 | SCE | Media Coverage | Transmission Circuit | A transmission circuit relayed around the same time and location that the Saddleridge Fire began. | Closed
20191024-01 | PG&E | Media Coverage | 230 kV circuit | A transmission circuit relayed and did not reclose. CalFIRE taped off the area and reported a broken jumper wire on a transmission tower. | Open
20191025-02 | SCE | Media Coverage | 16 kV circuits | A fire occurred in Rosemead around the same time two local circuits experienced an interruption. | Closed
20191030-04 | SCE | Media Coverage | 16 kV circuit | An SCE distribution circuit in Calabasas relayed around the same time a fire was reported in the same area. | Closed
20191101-01 | PG&E | Property Damage | 12 kV circuit | Someone filed a claim on October 24 against PG&E for alleged damage caused by a fire allegedly started by PG&E facilities. | Open
20200109-01 | SCE | Property Damage | Transformer | A transformer failed, resulting in a pole fire which damaged overhead conductors and nearby properties. | Closed
20200113-01 | PG&E | Fatalities | Unknown | Two teenagers lost their lives rescuing a dog from a canal in Dixon. The boys attempted to exit the river via a metal foot bridge that was somehow energized. Both boys died as a result of their injuries. The bridge may have been energized by defective PG&E facilities. | Closed
20200415-01 | SCE | Injury | Crossarm | An employee of Henkles & McCoy (a contractor working for SCE) suffered mechanical injuries when a crossarm fell off a steel utility pole and pinned him against the pole. His injuries were not electrical in nature. | Closed
20200430-01 | SCE | Injury | Vault | A man suffered burn injuries when he cut into a 12 kV conductor located in an above-ground vault. SCE speculates that he was attempting to harvest materials for his recycling enterprise. | Closed
20200506-01 | SCE | Injury | 16 kV underground conductor | A contractor damaged an underground 16 kV conductor with his jack hammer. Paramedics transported him to a nearby hospital for examination, but it appears he was not actually injured as a result of the incident. | Closed
20200507-03 | SCE | Operator Judgement | 16 kV overhead conductor | A fallen utility pole resulted in a brush fire that burned approximately 200 acres in Ventura County. | Open
20200527-02 | SDG&E | Power Outage | Substation Equipment | A mylar balloon made contact with substation equipment and caused a power outage that affected about 9,000 customers. | Closed
20200702-01 | SCE | Injury | 16 kV overhead conductor | An unidentified individual at a construction site suffered injuries when he made contact with energized overhead conductors with a metal object he was holding. | Closed
20200722-01 | SCE | Fatality | 4 kV overhead conductors | A contractor employee suffered burn injuries when he made contact with an energized 4 kV conductor while performing a pole replacement. He later succumbed to his injuries. | Open
20200728-02 | SCE | Injury | 12 kV circuit | A contractor employee suffered injuries to his pelvis when he fell approximately 40 feet from an elevated work platform. | Open
20200807-01 | SCE | Injury | Pulley | A falling pulley injured a contractor working on behalf of SCE in Santa Barbara. | Closed
20200906-01 | SDG&E | Media Coverage | Fire | The Valley Fire burned over 16,000 acres and destroyed at least 61 structures. The cause of the fire is unknown. | Closed
20200916-01 | SDG&E | Fatality | Unknown | An SDG&E contract worker died while inspecting electrical equipment. No witnesses were present when the incident occurred, and his body was discovered a significant distance away from all energized electrical equipment. It is unknown whether his death was caused by SDG&E equipment or natural causes. | Closed
20201009-01 | PG&E | Fatalities | 12 kV circuit | On September 27, 2020, a wildfire began in Shasta County. This fire, which came to be known as The Zogg Fire, has consumed at least 56,338 acres and resuted in four fatalities and one injury. At least 27 structures have been damaged and 204 structures have been destroyed. Unusual circuit activity was detected in the area around the time the fire started, and CalFIRE has removed some PG&E equipment from the area for evidence. | Open
20201026-01 | SCE | Injury | 12 kV overhead circuit | SCE overhead distribution and communications facilities may have been involved in the ignition of the Silverado Fire in Orange County. The fire burned over 13,000 acres, destroyed three structures, and damaged five others. Two firemen sustained serious burns during their containment efforts. | Open
20201028-01 | SCE | Injury | 220 kV overead circuit | Two contractor linemen sustained minor electrical burns while attempting to remove a grounding device from a newly-installed transmission conductor in Piru. | Open
20201117-01 | LU | Property Damage | Primary circuit | A fire damaged electrical distribution facilities, and the damage may exceed $50,000. Liberty opted to de-energize part of their service area in response to the fire. | Open
20201211-01 | SCE | Property Damage | 500 kV transmission circuit | SCE is being sued for damages associated with the December 5, 2017 Creek Fire. SCE denies that its equipment was to blame, and, according to SCE, a report by the United States Forest Service supports that assertion. SCE states that the report implicates LADWP transmission facilities as the ignition source. | Closed
20201212-01 | SCE | Injury | 500 kV transmission circuit | An employee of SCE contractor American Power sustained an injury to his hand when he made contact with a de-energized portion of the El Dorado-Mojave 500kV transmission circuit. The injured party was air lifted from the scene to an unidentified hospital in Las Vegas, NV. | Closed
20201226-01 | SCE | Injury | 16 kV overhead conductors | An individual sustained injuries when they contacted an overhead 16 kV conductor with a telescoping metal pole in Manhattan Beach. The individual was attempting to wash the second-floor windows of their home from the rooftop when the accident occurred. | Closed
20210114-01 | SCE | Injury | Transmission circuit | An SCE apprentice lineman sustained electrical contact injuries while attaching grounding devices on a de-energized section of the Mira Loma-Vincent 500kV transmission circuit. It is believed that induction was involved in this incident. | Open
20210120-02 | PG&E | Media Attention | Overhead conductors | On January 19, 2021, PG&E observed wires down near Freedom Blvd, north of Pleasant Valley Road in Aptos. The wires down were in the area of the Freedom Fire which started earlier in the day. PG&E later became aware that CAL FIRE was investigating the wires down as a potential origin of the Freedom Fire. PG&E is not aware of any injuries, fatalities, or property damage exceeding $50,000 related to the Freedom Fire. | Closed
20210126-01 | PG&E | Property Damage | Unknown | On January 26th, 2020, PG&E received a property damage claim exceeding $50,000 alleging that PG&E equipment caused damage to a house. This damage allegedly occurred in the city of Stockton on June 30, 2020. | Closed
20210221-01 | SCE | Property Damage | Overhead conductors | A mylar balloon made contact with SCE overhead conductors in Long Beach. This resulted in a fire that damaged some nearby residential structures and property. The total damage from the fire is believed to exceed $50,000. | Closed
20210228-01 | SCE | Media Attention | Unknown | A fire named the Knolls Fire started at approximately 4:20 AM on February 28, 2021. The fire was extinguished and ultimately burned about 5 acres. There were no structures damaged or injuries reported. There was activity on the Serra 16kV circuit around the time of the fire. | Closed
20210312-01 | SCE | Injury | Overhead transmission circuit | An SCE employee sustained burns to the upper part of his body when an arc flash occurred while opening jumpers on a primary circuit. | Open
20210617-01 | SDG&E | Injury | 4 kV underground conductor | A San Diego Water Department employee sustained burns when he made contact with an underground conductor with a digging bar. | Open
20210624-01 | SCE | Fatality | Transmission tower | SCE staff discovered a dead body at the base of a transmission tower while performing a patrol inspection near Crestline in the San Bernardino Mountains. The body was found with a noose around its neck, and the opposite end of the rope tied to the lowest member of the transmission tower, about six feet off the ground. The body was found in a kneeling position on the ground, and the deceased's vehicle was parked nearby. | Open
20210714-01 | PG&E |  |  | A fire was reported that allegedly may have been caused by unspecified PG&E equipment. | Open
20210718-01 | PG&E | Property Damage | 12 kV overhead conductors | A tree made contact with overhead power lines on July 13, 2021, resulting in a brush fire that burned at least 19,000 acres. The fire came to be known as the Dixie Fire. The incident was reported under the property damage criterion, although no property damage had been reported as of July 18. | Open
20210802-01 | PG&E | Media Attention | Overhead conductors | On July 22, 2021, a wildfire began in the area of Butterfly Valley Twain Road and Highway 70 in Plumas County, California (the Fly Fire). As of July 25, 2021, the Fly Fire had consumed 4,300 acres. Unusual circuit activity was detected in proximity to the fire's origin point, and a tree was discovered in contact with PG&E overhead conductors. | Closed
20210809-02 | SDG&E | Media Attention | 12 kV overhead conductors | A mylar balloon made contact with 12 kV overhead conductors, causing a grass fire and a power outage that affected about 554 customers. The fire consumed approximately one-quarter acre of brush and attracted significant media attention. | Closed
20210816-01 | SCE | Injury | Utility pole | An employee of Par Electrical Contractors, Inc., a contractor working on behalf of SCE, was on a wood utility pole when he fell to the ground. The employee sustained a head laceration and a leg injury as a result of the fall. There was no indication the incident involved any contact with electrical facilities. | Open
20210825-01 | PG&E | Property Damage | Service drop | A PG&E contractor was installing a new pole and service line on PG&E's Girvan 1101 12kV Distribution Circuit Redding when the crew observed sparks that lead to a fire. The fire grew to approximately 9.2 acres and was eventually extinguished by CalFire. The fire damaged a detached garage to a residence, a contractor pickup truck, PG&E poles, and some of the contractor's equipment. Damages are anticipated to exceed $50,000. | Closed
20211011-01 | SCE | Property Damage | Service drop | SCE received a subrogation claim from a customer's insurance carrier for an amount in excess of $50,000. The claim alleges that SCE facilities caused a fire at the customer's property on August 26, 2021. SCE speculates that a compromised secondary neutral conductor may have been responsible. | Open
20211018-01 | SDG&E | Injury | Theft/Vandalism | A female transient pried open a fuse cabinet in Escondido and sustained burns from the energized components within. | Closed
20211111-01 | SCE | Media Attention | Overhead primary conductors | On Thursday, November 11, 2021 a wildfire was reported on Catalina Island. The fire burned 17 acres of brush and resulted in no injuries, fatalities, or property damage. Responding fire authorities subsequently reported to SCE that they believe the ignition of the fire was caused by birds contacting SCE overhead primary facilities. | Closed
20211126-01 | PG&E | Property Damage | Distribution circuit | On July 12, 2023, PG&E received a subrogation demand for damages exceeding $50,000. The claim alleges that on Novmber 26, 2021, a customer in San Jose experienced unbalanced volatge resulting in a structure fire. | Open
20211202-01 | PG&E | Property Damage | Unknown | On January 1, 2017 a structure fire caused approximately $70,000 in property damage to a residential structure. The property owner is alleging PG&E is attributable for the fire. | Open
20211209-01 | PG&E | Fatality | Distribution circuit | On November 24, 2021, a construction crew was constructing a metal shop under an overhead primary distribution circuit. One of the construction crew members fell through an open section of the roof and subsequently died as a result of his injuries. It is unknow if the subject was electrocuted at this time. | Closed
20211217-01 | PG&E | Media Attention | Distribution circuit | PG&E experienced a sustained outage on an underground distribution circuit, which impacted 35 customers in San Francisco. PG&E responded to the location to find a manhole on fire. Additional customers on adjacent circuits had to be deenergized to safely extinguish the manhole fire. The event attracted significant media attention. | Closed
20211221-01 | SCE | Property Damage | Service drop | A fire occurred at a residence in Torrance on February 23, 2020, about one week after SCE had installed a temporary service line there. SCE recently received a claim for the damage caused by the fire, which is expected to exceed $50,000. | Open
20211223-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim alleging that PG&E equipment started a fire that resulted in $76,000 in property damage. The alleged fire occurred in Grass Valley, Nevada County, on July 7, 2021. | Closed
20211227-02 | SDG&E | Property Damage | Overhead facilities | A small jet crashed in El Cajon. The jet contacted overhead PG&E conductors, damaging one primary conductor, three secondary conductors, and three crossarms. This resulted in a power outage that affected approximately 3,600 customers. The damage to PG&E facilities is estimated to exceed $50,000. | Closed
20220107-01 | PG&E | Injury | Utility pole | Two linemen were replacing a crossarm on a utility pole in Colfax when the pole failed and fell to the ground with both men still attached to it. Both men were treated for their injuries, but only one was hospitalized overnight. | Closed
20220122-01 | PG&E | Property Damage | Service drop | PG&E received a property damage claim for a residential fire that occurred in Oakland. The claim alleges that the fire started after a tree fell onto a PG&E service drop. The damage to the building is estimated to exceed $50,000. | Closed
20220124-01 | PG&E | Fatality | Overhead primary conductor | A deceased individual was discovered in a vineyard in King City. The deceased had burn marks on his hands and was positioned on a deck directly below primary conductors. | Closed
20220128-01 | SCE | Fatality | Utility pole | On January 13, 2022, a third-party construction crew dug a hole next to an SCE utility pole, causing it to fall and partially crush two cars in the city of Commerce. One of the cars contained an elderly gentleman whose head made contact with the roof of the car when the pole fell on it. He did not appear to sustain any injury at the time and was not transported to the hospital on the day of the accident, but did pass away several days later on January 22. Counsel representing the deceased's family attribute his death to the incident. | Open
20220303-01 | SCE | Injury | Primary riser | On March 2, 2022 at approximately 9:20 a.m., a male individual sustained electrical injuries while vandalizing an SCE primary riser. The injured party was then transported from the scene to an unidentified hospital in Los Angeles. | Closed
20220304-02 | PG&E | Property Damage | Distribution circuit | On March 4, 2022, PG&E received a claim for property damage in excess of $50,000. The claim alleges that during an area outage which occurred on October 13, 2021, PG&E supplied the customer improper voltage resulting in damage to the customers electrical equipment. | Closed
20220309-01 | SDG&E | Operator Judgement | Transmission pole | A fire occurred on an SDG&E transmission pole and resulted in a small power outage affecting 337 customers. | Open
20220315-01 | SCE | Injury | Temporary power pole | An SCE lineman fell from a ladder while attempting to make an electrical connection on a temporary power pole. The fall resulted in head injuries that required overnight hospitalization. | Open
20220324-01 | SDG&E | Injury | Line truck | An SDGE employee broke both his legs when he jumped off a line truck to avoid being hit by a cross-arm during a pole change out in Poway. The employee has been admitted to the hospital for surgery to both his legs. | Open
20220407-01 | PG&E | Property Damage | Overhead conductor | On April 6, 2022 a vegetation fire occurred in the city of Nipomo, and a PG&E troubleman observed a downed conductor nearby. On April 7, 2022, PG&E Law-Claims reported they anticipate potential claims exceeding $50,000. | Closed
20220424-01 | SDG&E | Power Outage | Transformer | A power outage occurred in San Diego due to a faulty underground transformer. | Closed
20220502-01 | PG&E | Property Damage | Transmission Insulator | On May 2, 2022, PG&E received a claim for property damages exceeding $50,000. The claimant is reporting thirty of their oil wells along Highway 65 between Porterville and Bakersfield were damaged as a result of a power surge. The claimant claims a PG&E transmission insulator exploded on April 14, 2021 near their customer-owned substation and caused the power surge. | Closed
20220505-01 | PG&E | Property Damage/Injury | Utility pole and overhead conductors | A vehicle struck a utilty pole in Redding. The impact from the vehicle completely severed the distribution pole, causing the live conductors to come down and start a small vegetation fire (approximately 15 square feet). The conductors did not fall all the way to ground but were suspended above the ground. Per witnesses on scene, a citizen who was not involved in the collision observed the fire and ran over in an attempt to put it out. The citizen struck their head on a live conductor while running towards the fire and immediately fell to the ground and began convulsing. EMS transported the citizen to a local hospital where he was admitted overnight for observation. This incident was reported under the property damage criterion. | Closed
20220509-01 | PG&E | Property Damage | Secondary overhead conductors | A tree pushed two secondary conductors together in the back yard of a residence, causing a fire there. Damage to property is expected to exceed $50,000. | Closed
20220509-02 | PG&E | Property Damage | Distribution circuit | On April 22, 2022, an electrical incident occurred in San Jose. A PG&E crew was conducting work when a power surge occurred affecting multiple residents. On May 9, 2022, PG&E Law Claims received claims in excess of $50,000. | Closed
20220510-01 | PG&E | Property Damage | Distribution circuit | On May 10, 2022 PG&E received a claim for property damage exceeding $50,000. The claim alleges that during an outage on August 28, 2021 PG&E supplied the multi-unit apartment complex in Vallejo with improper voltage resulting in damage to electronics within the facility. | Closed
20220511-01 | PG&E | Property Damage | Utility pole | On May 11, 2022 PG&E received a claim for property damage exceeding $50,000. The claim alleges that on June 8, 2021, a pole fire caused structure and other property damages in Mariposa. | Closed
20220511-03 | SCE | Media Attention | Unknown | A brush fire known as the Coastal Fire was reported in the Laguna Hills area. The cause of the fire is under investigation and has reportedly consumed over 150 acres and has destroyed multiple residential structures. Our information reflects circuit activity occurring close in time to the reported time of the fire. | Open
20220520-01 | SCE | Injury | Overhead primary conductor | A fallen conductor in a residential back yard caused several small fires in that backyard. A female resident attempted to extinguish the fire with a garden hose and received an electric shock that caused her to fall and hit her head on the grass. She was transported to a hospital for treatment and kept overnight as a precaution. | Closed
20220526-01 | PG&E | Property Damage | Service drop | A PG&E service drop fell and started a fire that spread to a nearby commercial garage in Oroville. Damage to the garage is expected to exceed $50,000. | Closed
20220526-02 | SDG&E | Property Damage | Overhead primary conductor | An SDG&E primary conductor fell on roof of a residential building in Dana Point. The conductor contacted a copper vent pipe on the roof and energized the building's plumbing system. This caused extensive damage to the buildings pipes, which SDG&E believes to exceed $50,000. | Open
20220602-02 | PG&E | Property Damage | Substation transformer | A failed transformer at Atlantic Substation in Roseville lead to a power outage that affected approximately 20,500 customers. The cost to replace the failed transformer is estimated to exceed $50,000. | Closed
20220602-03 | PG&E | Media Attention | Overhead primary conductor | PG&E detected a fault on a primary circuit in the vicinity of the Old Fire in Napa. It is unknown whether this fault or PG&E equipment are responsible for the fire's ignition, but PG&E reported the incident out of an abundance of caution. | Open
20220607-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim for property damage in excess of $50,000. The claim alleges that PG&E supplied improper voltage to a customer in Vallejo on June 14, 2021 which lead to damage to the customer's electronic equipment. | Closed
20220612-01 | PG&E | Property Damage | Underground primary conductor | A failed underground primary conductor lead to a fire that damaged two structures in Woodland. The damage is estimated to exceed $50,000. | Open
20220615-01 | PG&E | Media Attention | Distribution circuit | A sustained power outage affecting 2,790 customers in Auburn attracted significant media attention. | Closed
20220622-01 | PG&E | Media Attention | Distribution circuit | The Edgewood Fire began at approximately 1430 hours on June 21, 2022, at Edgewood County Park in San Mateo County. On June 22, CAL FIRE collected equipment from the Emerald Lake 4kV Distribution Circuit in the vicinity of the Edgewood Fire. SCE has received media inquiries from at least 4 separate media outlets that are reporting this incident. | Open
20220627-01 | SCE | Property Damage | Service drop | A fire started within a tree in the rear of a residential property with a service drop near the tree. The fire caused the secondary line to break and fall down and caused the house it was supplying to lose power. A fire then started in the attic of the affected house and caused substantial damage to the house. | Closed
20220627-02 | PG&E | Property Damage | Distribution circuit | PG&E received a claim for property damage exceeding $50,000. The claim alleges that PG&E equipment started a vegetation fire in Vacaville on June 23, 2022 that resulted in the damage. | Closed
20220705-01 | PG&E | Injury | Transmission conductor | A PG&E employee was injured while working on a 230 kV transmission line near in San Luis Obispo. The employee received an electric shock and was subsequently transported to a local hospital for his injuries. | Open
20220707-01 | SCE | Property Damage | Distribution circuit | A structure fire occurred on December 3, 2021 in Orange County. Preliminary information reflects that the Wingnut 12 kV circuit relayed and reclosed on December 3, 2021, at 4:53 p.m. SCE personnel responded to the scene and observed overhead primary conductors down in the vicinity of Pole No. 1549898E. Orange County Fire Authority (OCFA) personnel responded to suppress a structure fire. According to the OCFA report, the fire ignited within the kitchen area of the involved apartment and the cause was undetermined. | Open
20220720-01 | PG&E | Property Damage | Distribution circuit | PG&E Law-Claims reported that multiple claims have been received exceeding $50,000 for an electric incident in San Mateo. The claims report that during an area outage which occurred on October 17, 2021, PG&E supplied improper voltage resulting in damage to customers electrical equipment. | Closed
20220720-02 | SCE | Media Attention | Overhead circuit | On February 10, 2022, at 4:09 a.m., a wildfire, subsequently identified as the Emerald Fire, was reported in Laguna Beach. Orange County Fire Authority (OCFA) personnel responded to suppress the fire and the forward progress of the fire was stopped that same day. The Emerald Fire consumed approximately 154 acres and there was no reported third-party damage. It burned through an area where SCE circuits traverse. SCE has no record of interruptions or circuit activity associated with faults on these circuits occurring near in time to the reported fire alarm time. SCE has since obtained a copy of the OCFA Incident Report which indicates that an unspecified short circuit arc ignited the fire, although it does not specifically reference SCE facilities involved in the ignition. | Open
20220721-01 | PG&E | Media Attention | Distribution circuit | PG&E experienced a sustained outage affecting 22,000 customers in Monterey. This outage was covered by several local media outlets. | Closed
20220723-01 | SCE | Fatality | Overhead conductor | A male individual sustained fatal injuries after making contact with SCE overhead electrical facilities. He was working for a landscaping contractor to perform tree trimming activities on behalf of the property owner. | Open
20220725-01 | PG&E | Property Damage | Substation transformers | On July 3, 2022 the Goose Lake Substation in Wasco experienced a sustained outage affecting 1106 customers. A PG&E Substation Engineer responded and discovered an unknown suspect had shot both transformer banks with a firearm. The damage to Transformer Bank 1 and Bank 2 are expected to exceed $50,000 in property damages. | Closed
20220727-01 | PG&E | Property Damage | Distribution circuit | On October 24, 2021, Butte County experienced a severe storm that resulted in several sustained outages due to heavy rain and wind. The outages affected a total of 3104 customers. A customer serviced by the Paradise 1105 12kV overhead primary distribution circuit in Magalia has claimed the outages caused a power surge that damaged their privately-owned water well, resulting in over $50,000 in property damage. | Closed
20220804-02 | PP&L | Fatalities | Distribution circuit | PacifiCorp reported the McKinney Fire out of an abundance of caution as one of their distribution circuits serves the area in which the fire originated. | Open
20220805-01 | PG&E | Media Attention | Overhead distribution conductors | A PG&E troubleman responded to a fire in San Luis Obispo County. At the fire location, the PG&E troubleman observed that a tree had fallen into PG&E conductors and was on fire. A CAL FIRE fire investigator on site gave the PG&E troubleman a form that alleged that the fire was a result of the downed powerlines. | Open
20220806-01 | PG&E | Injury | Substation equipment | The PG&E Grid Control Center received SCADA alarms indicating trouble at Bayshore Substation in San Francisco. Upon arrival to the substation, PG&E personnel reported that a third-party individual entered the substation and made contact with the Bayshore Substation 115 kV Bus #1, which feeds Bayshore Substation 115 kV to 34.5 kV Transformer Bank 1. The injured third-party individual is expected to be hospitalized. | Closed
20220809-01 | PG&E | Injury | Underground distribution circuit | On August 4, 2022 at 0755 hours, PG&E received notification of a sustained outage affecting 4700 customers in San Jose. A third-party individual had made contact with PG&E underground facilities while using an impact tool and declined medical treatment. On August 9, 2022, PG&E was made aware of the third-party individual later seeking medical treatment and being admitted overnight into the hospital for his injuries. | Closed
20220811-01 | PG&E | Injury | Transmission circuit | A contractor was performing maintenance work for PG&E on a 500kV transmission circuit near Red Bluff. As a lineman was in the process of changing an insulator on a transmission tower, they experienced a shock from induced current. He then lost consciousness and was immediately transported to a local hospital where he was admitted for his injuries. | Open
20220819-01 | SCE | Media Attention | Overhead distribution conductors | A small wildfire occurred in Azusa when a mylar balloon made contact with overhead 12 kV conductors. | Open
20220824-01 | PG&E | Media Attention | Transmission circuits | PG&E experienced a sustained interruption to multiple 115 kV transmission lines in El Dorado County that affected approximately 74,000 customers. | Open
20220824-02 | SCE | Property Damage | Overhead distribution circuit | A structure fire causing over $50,000 in damage occurred in Bell Gardens. While on scene, SCE personnel were advised by Los Angeles County Fire Department (LACFD) personnel that the fire originated within the garage of the structure. SCE subsequently received notice from the property owner's insurance carrier estimating damages to be $300,000 and alleging SCE facilities were involved in the ignition of the fire. Furthermore, the incident report from the LACFD identified the ignition as electrical in nature and further noting the powerline [overhead service] was reportedly in contact with the home/garage. | Open
20220825-01 | PG&E | Media Attention | Substation equipment | PG&E experienced a sustained outage at Oakland X Substation in Oakland that affected approximately 24,500 customers. | Closed
20220825-02 | PG&E | Property Damage | Distribution circuit | PG&E received notification of a claim for property damage in excess of $50,000. The customer is located in Philo of Mendocino County. The claim states that on November 30, 2021, an area outage caused damage to the customers electrical equipment. | Closed
20220828-01 | SCE | Property Damage | Overhead distribution conductor | The Waterman 12 kV circuit out of Cardiff Substation experienced circuit activity at 11:43 a.m. on August 28, 2022. SCE personnel responded and reported a downed conductor and a structure fire at the site. The damage to the structure is estimated to exceed $50,000. | Closed
20220829-01 | PG&E | Injury | Overhead primary conductor | A PG&E contractor was injured in Bakersfield when he made contact with a 21 kV overhead primary conductor. | Closed
20220901-01 | SDG&E | Property Damage | Utility poles | Multiple SDG&E utility poles were damaged in a fire and will need to be replaced. The cause of the fire is unknown, but the cost to replace the poles is estimated to exceed $50,000. | Open
20220905-01 | PG&E | Media Attention | Padmounted transformer | A padmounted transformer in Napa failed, resulting in a power outage that attracted significant media attention. | Closed
20220905-02 | PG&E | Media Attention | Overhead distribution conductor | A train struck a neutral overhead distribution conductor in Vacaville. This caused the neutral to make contact with an energized distribution conductor and lead to a power outage affecting about 6,000 customers, a small vegetation fire, and significant media attention. | Open
20220905-03 | SCE | Media Attention | Unknown | SCE reported The Fairview Fire in Hemet out of an abundance of caution. The fire has spread to over 500 acres and some structures have been damaged or destroyed by the fire, but it is unknown at this time whether SCE facilities were involved in its ignition. | Open
20220906-01 | PG&E | Property Damage | Distribution circuit | On September 6, 2022, PG&E received a subrogation notice from an attorney representing Farmers Insurance regarding a residential structure fire that occurred on August 24, 2022 in Bakersfield. The subrogation notice is claiming $529,600 in property damages resulting from the fire. | Closed
20220906-02 | SDG&E | Injury | Utility pole | An SCE employee sustained burns to his shoulders, neck, back, and one ear when a crossarm broke and fell onto him while he was working on an elevated work platform during a pole replacement. | Open
20220907-01 | SCE | Property Damage | Transformer | A pole mounted transformer failed in the rear of a property in Pasadena. This resulted in a fire that damaged several nearby structures. The total damage to those properties is estimated to exceed $50,000. | Closed
20220908-01 | PG&E | Property Damage | Service drop | On September 8, 2022, PG&E received a claim from a customer in San Jose. The customer claimed that on May 26, 2022, a power surge from vegetation contacting a service drop $50,000. | Closed
20220908-02 | PG&E | Property Damage | Transmission circuit | The "Oxbow Fire" began on September 6 in Placer County and went on to consume over 6,000 acres. The cause of the fire has not been determined, but PG&E detected circuit activity in the vicinity around the time the fire started. The damage to property caused by the fire is estimated to exceed $50,000. | Open
20220909-01 | PG&E | Property Damage | Pothead | A pothead ruptured and spilled oil and resin onto a school playground in San Bruno on September 6. The cost to replace the playground structure and surrounding asphalt is estimated to exceed $50,000. | Closed
20220912-01 | PG&E | Property Damage | Service drop | A structure fire occurred in Eureka on September 11. On September 12, PG&E learned that the responding fire department had collected a connector to the weatherhead as evidence. It is unknown whether PG&E facilities started the fire. The structure was a complete loss and the cost of the damage is estimated to exceed $50,000. | Open
20220920-01 | PG&E | Property Damage | Battery pack | A fire occurred at a PG&E battery storage facility in Monterey County. Damage to a battery bank is estimated to exceed $50,000. | Closed
20220921-01 | PG&E | Property Damage | Overhead conductor | On September 2, 2022, PG&E responded to a report of a structure fire in Stockton. On September 21, 2022, PG&E Law-Claims received a property damage claim in the amount of $50,000. The claim alleges that a PG&E line fell and caused a residential garage fire. | Closed
20220922-01 | PG&E | Property Damage | Overhead conductor | On September 18, 2022 , a residential structure fire occurred in Sunnyvale. On September 22, 2022, PG&E Law-Claims received a property damage claim exceeding $50,000. The claim alleges that a high voltage line fell on the roof of the home and caused a fire. | Open
20220926-01 | SCE | Property Damage | Service drop | SCE received notice from the insurance carrier the owner of a property in Barstow indicating a structure fire occurred on March 25, 2022, resulting subrogation claim that would exceed $50,000 in property damage. It is alleged that SCE facilities may have been involved in the ignition of the fire at the location. Preliminary information reflects SCE personnel responded to a trouble call related to a structure fire at the subject location on March 25, 2022. Their responding personnel observed a compromised neutral on the overhead triplex service supplying the location. | Closed
20220928-01 | PG&E | Property Damage | Utility poles | On June 22, 2022, the Kerckhoff-Clovis-Sanger #1 115kV transmission circuit relayed, resulting in a momentary outage affecting 7,263 customers. PG&E completed a full line patrol of the transmission circuit. During the patrol, PG&E discovered that fourteen wood transmission poles had failed (broken, shattered, or splintered) with wires down in the area Clovis. PG&E believes these poles failed due to unusually high wind speeds in the area. PG&E replaced all fourteen poles within 24 hours. The property damages to PG&E equipment resulting from this incident exceeded $50,000. | Open
20220929-01 | PG&E | Property Damage | Distribution circuit | On August 10, 2022, a PG&E troubleman was dispatched to a structure fire in Chico. The fire appeared to have started in the attic of the home, causing damage to the roof and interior of the residence. On August 30, 2022, PG&E received notice of a potential claim related to the fire. The notice alleges that the fire was caused by a failure of PG&E equipment. The total damage to the home is likely to exceed $50,000. | Closed
20220929-02 | PG&E | Property Damage | Transformer | On September 3, 2022, a residential structure fire occurred in Oroville. On September 23, 2022, PG&E received notice from an attorney claiming their client's residence was damaged by the fire, allegedly caused by a PG&E transformer exploding. The damage to the residence is estimated to exceed $50,000. | Closed
20221004-01 | PG&E | Property Damage | Overhead distribution circuit | On June 28, 2022, a PG&E customer in Palo Cedro made a complaint to PG&E about a voltage imbalance. On October 3, 2022, PG&E Law-Claims received a property damage claim in excess of $50,000 for this incident. The claim alleges that PG&E provided unbalanced power which caused damage to customer owned property. | Open
20221004-02 | PG&E | Property Damage | Distribution circuit | PG&E Law-Claims received a property damage claim which is expected to be in excess of $50,000. The claim alleges that PG&E provided unbalanced three-phase power on or before May 26, 2022, causing damage to an elevator. | Closed
20221005-01 | SDG&E | Media Attention | Distribution circuit | A power outage occurred in the City of San Diego and attracted media coverage. | Open
20221018-01 | PG&E | Media Attention | Underground distribution circuit | A power outage in San Francisco affecting over 2,000 customers attracted significant media attention. No fewer than four media outlets reached out to PG&E regarding the incident. | Open
20221020-01 | PG&E | Property Damage | Underground distribution circuit | PG&E Law-Claims received a notice claiming a power surge on May 3, 2022, caused property damages exceeding $50,000. | Closed
20221020-02 | PG&E | Property Damage | Transformers | Two underground transformers leaked oil causing damage to a PG&E vault on October 16. On October 20, 2022, PG&E determined the costs involved in the property damage will exceed $50,000. | Open
20221024-01 | PG&E | Property Damage | Distribution circuit | PG&E is being sued over damages to property due to a series of power outages that occurred in Los Altos between June and December 2020. | Open
20221024-02 | SCE | Injury | Vault | An Edison contractor worker sustained burn injuries due to an arc flash while working underground. | Closed
20221026-01 | SCE | Fatality | Vault | An unidentified individual sustained fatal injuries in an apparent act of vandalism of SCE undderground electrical facilities within a vault. | Closed
20221110-01 | BVES | Injury | Tree trimming | A tree trimming contractor for Bear Valley Electric was injured while attempting to move a log with a lift. The crew lost control of the log and it pinned the worker against the lift truck. The injured worker was airlifted to hospital from the scene. | Closed
20221112-01 | PG&E | Property Damage | Utility pole | A utility pole with a transformer fell on a customer's vehicle and driveway. Oil leaked from the transformer onto the customer's driveway and yard. The damages are expected to exceed $50,000. | Closed
20221130-01 | PG&E | Property Damage | Service drop | A broken neutral wire lead to a PG&E customer in Sonora being supplied with an unbalanced voltage on November 13, 2022. On November 30, PG&E received a claim from the customer in excess of $50,000 for property damage resulting from the incident. | Closed
20221206-01 | SDG&E | Media Attention | Overhead circuit | A power outage occurred in the area of San Diego that attracted significant media attention. It is believed that a bird may have been involved in the incident. | Closed
20221208-01 | PG&E | Property Damage | Circuit breaker | A 115 kV circuit breaker failed, resulting in a power outage that affected 17,500 customers in the Bakersfield area. The cost to replace the failed circuit breaker is estimated to exceed $50,000. | Open
20221213-01 | SCE | Injury | Utility pole | An SCE contractor worker sustained injuries to his wrist and leg when he fell approximately 10-15 feet while performing a pole replacement. Initial reports indicate that he had inadvertently cut his own safety gear which resulted in the fall. | Open
20221227-01 | SDG&E | Media Attention | Overhead conductor | A structure fire caused damage to an SDG&E overhead conductor that lead to a power outage affecting 5,288 customers in San Diego. Utility facilities were not implicated in the fire, but the event attracted significant media coverage. | Closed
20221227-02 | PG&E | Property Damage | Distribution circuit | PG&E received a claim in excess of $50,000 for damage to a customer's property resulting from a December 12, 2022 fire in San Jose. The cause of the fire is unknown. | Closed
20221230-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim in excess of $50,000 for damage caused to a customer's elevator in San Francisco. The claim alleges that an unplanned power outage on December 10, 2022 lead to the damage. | Closed
20230101-01 | SCE | Property Damage | Distribution circuit | A structure fire occurred in Huntington Beach with estimated damages in excess of $50,000. Although SCE facilities have not been confirmed to be the source of ignition, SCE reported this incident out of an abundance of caution as some evidence indicates that the fire may have been electrical in nature. | Open
20230103-01 | PG&E | Property Damage | Distribution circuit | A Kentfield PG&E customer filed a claim in excess of $50,000 for a structure fire. The claim alleges that the fire began due to PG&E providing the property with unbalanced voltage on January 1, 2023. | Closed
20230111-01 | PG&E | Property Damage | Distribution circuit | A Soquel PG&E customer filed a claim for damage to appliances and electrical equipment in excess of $50,000. The claim alleges that the damage occurred due to PG&E providing the home with unbalanced voltage on November 24, 2022. | Closed
20230114-01 | SCE | Injury | Overhead conductor | A tree trimmer made contact with energized overhead conductors and sustained injuries requiring overnight hospitalization. | Open
20230115-01 | SCE | Injury | Fuse | An SCE lineman sustained a cut to his wrist when a fuse he was working on unexpectedly operated. | Closed
20230116-01 | SCE | Fatality | Padmounted transformer | An SCE employee passed away while working on a padmounted transformer. It is unknown at this time whether or not his death resulted from contact with energized equipment or if he died of natural causes. | Open
20230203-01 | PG&E | Property Damage | Transformer | On November 16, 2022, a PG&E-owned transformer exploded in South San Francisco, damaging a switch and possibly other equipment owned by Bay Area Rapid Transit (BART). On February 3, 2023, PG&E received a claim from BART alleging that the damage to BART's equipment exceeded $50,000. | Open
20230215-01 | PG&E | Property Damage | Service drop | A PG&E service drop allegedly started a fire in the attic of a residence in Madera. The damage to the residence is estimated to exceed $50,000. | Closed
20230217-01 | PG&E | Property Damage | Overhead conductors | A tree fell onto a PG&E 60 kV conductor in Monterey, causing it to make contact with an underbuilt 21 kV distribution circuit. PG&E has received multiple claims stemming from this incident which allege that the unbalanced or improper voltage resulting from the contact caused damage to appliances and other property. These claims collectively sum to more than $50,000. | Closed
20230219-01 | PG&E | Media Attention | Substation equipment | A fire occurred at a substation in Oakland, damaging substation equipment and resulting in a power outage to more than 50,000 customers and significant media attention. | Open
20230221-01 | PG&E | Property Damage | Utility pole | A pole and transformer fell on a house in Reedley, resulting in a structure fire and damage to the house in excess of $50,000. | Open
20230223-01 | PG&E | Property Damage | Utility pole | A car crashed into a utility pole in Brentwood, Contra Costa County, causing two PG&E conductors to make contact (60 kV and 21 kV). PG&E has since received multiple claims for property damage resulting from the incident which collectively amount to more than $50,000. | Open
20230223-02 | SCE | Property Damage/Media Attention | Crossarm | A commercial building caught fire in Los Angeles. Responding SCE personnel discovered a broken crossarm on a nearby utility pole that supported a transformer bank that served the structure. It is unknown whether SCE facilities ignited the fire at this time, but the damage to the property is estimated to exceed $50,000 and the incident attracted significant media attention. | Open
20230226-01 | SCE | Injury | Vault | An arc flash occurred in a vault in Santa Ana, injuring two SCE utility workers. The two injured workers drove themselves to the hospital and were kept overnight for observation and treatment. | Open
20230228-01 | PG&E | Media Attention | Underground transformer | An underground PG&E transformer was involved in a gas fire under a resident's driveway in Daly City. It is unknown whether the transformer ignited the fire or was merely damaged by it, but the incident was reported by multiple news outlets. | Closed
20230228-02 | PG&E | Property Damage | Distribution circuit | On February 28, 2023, PG&E Law-Claims received a customer claim for property damage exceeding $50,000 in the city of Merced. The claim alleges that on February 24, 2023, the customer experienced unbalanced voltage resulting in damage to multiple appliances. | Closed
20230228-03 | PG&E | Property Damage | Distribution circuit | On February 28, 2023, PG&E Law-Claims received a property damage claim exceeding $50,000. The claim alleges that on July 10, 2022, PG&E electrical equipment energized a non-electrical cable attached to the exterior of a Bodega Bay home and caused a residential structure fire. T | Closed
20230302-01 | PG&E | Property Damage | Transformer | On March 2, 2023, PG&E Law-Claims received a customer claim for property damage in excess of $50,000. The claim alleges that on December 4, 2022, an overhead transformer in the rear of the home in San Bruno leaked oil onto the customer's fencing, deck and landscaping. | Closed
20230305-01 | SCE | Injury | Underground circuit | An unidentified gentleman sustained burn injuries while attempting to harvest recyclable material from an underground SCE enclosure. The involved party was transported from the scene to the Orange County Global Medical Center in Santa Ana for treatment and observation. | Open
20230309-01 | PG&E | Property Damage | Distribution circuit | PG&E Law-Claims received a customer claim for property damage exceeding $50,000 in Oakland. The claim alleges that on December 12, 2022, the customer experienced unbalanced voltage resulting in damage to a commercial refrigeration unit. | Open
20230314-01 | SCE | Property Damage | Distribution circuit | SCE received a property damage claim for damage in excess of $50,000. The claim alleges that SCE facilities caused a fire on October 2, 2022 that damaged one or more condominium units in Covina. | Open
20230315-01 | SCE | Property Damage | Distribution circuit | SCE received a property damage claim for damage in excess of $50,000. The claim alleges that SCE facilities caused a fire on August 15, 2022 that damaged two homes in Costa Mesa. | Open
20230317-01 | PG&E | Injury | Electrical box | PG&E Law-Claims received an injury claim from a third-party individual alleging a trip and fall incident that occurred on February 6, 2023 in Santa Rosa. The claim alleges that the individual tripped on an underground electrical box and was hospitalized overnight because of the injury. | Open
20230320-01 | PG&E | Property Damage | Distribution circuit | A tree branch pushed a 60kV conductor into contact with a 21kV conductor in the city of Pleasanton on March 14, 2023. As of March 20, 2023, PG&E Law-Claims has received multiple claims that collectively exceed $50,000. The claims allege property damage due to unbalanced voltage. | Open
20230324-01 | PG&E | Property Damage | Distribution circuit | On March 24, 2023, PG&E Law-Claims received a claim in excess of $50,000. The claim alleges that on July 24, 2021, a PG&E pole in Orland fell and ignited a vegetation fire causing damage to a pomegranate orchard. | Open
20230327-01 | SCE | Injury | Transmission conductor | An SCE contractor worker sustained burn injuries due to an electric shock he received while performing a pole replacement in Daggett. | Open
20230331-01 | PG&E | Property Damage | Overhead conductor | PG&E responded to a residential fire and report of a wire down in Union City. The troubleshooter arrived and observed a popped mylar balloon near the down wire. This incident is being reported under the property damage criterion as damages are expended to exceed $50,000. | Closed
20230404-01 | PG&E | Property Damage | Service drop | On April 4, 2023, PG&E Law Claims received a claim in excess of $50,000, alleging PG&E equipment caused a structure fire in Oakhurst on February 25, 2023. | Open
20230405-01 | SCE | Fatality | Utility pole | A crane crashed into a utility pole, damaging the pole and its facilities and killing the crane operator. | Closed
20230410-01 | SCE | Property Damage | Distribution circuit | SCE recieved a claim alleging that its facilities caused a structure fire on February 15, 2023. | Open
20230411-01 | PG&E | Property Damage | Circuit breaker | A circuit breaker at Placer Substation in Auburn failed and will need to be replaced. The cost of the circuit breaker replacement is expected to exceed $50,000. | Closed
20230414-01 | PG&E | Property Damage | Overhead circuit | On April 14, 2023, PG&E Law-Claims received a claim exceeding $50,000, alleging a power surge caused property damage to electrical equipment in the city of Lakeport after a tree that fell on a line on February 24, 2023. | Closed
20230417-01 | PG&E | Injury | Street light | While replacing a street light in the city of Campbell, a PG&E journeyman line worker received an electric shock and was transported to the hospital was admitted for overnight treatment. | Open
20230426-01 | SCE | Injury | Overhead conductor | On November 16, 2019, a low-flying airplane struck overhead SCE distribution conductors resulting in downed electrical conductors coming to rest across National Trails Highway in San Bernardino County. The airplane continued its flight without further incident. Later a motorcyclist was injured when he collided with the fallen conductor which caused him to be ejected from the motorcycle. Although this incident involves a motor vehicle accident, during the course of the ensuing litigation, an allegation has been raised that the individual may have sustained electrical injuries leading to SCE's submission of this report. | Closed
20230427-01 | PG&E | Media Attention | Underground circuit | An underground manhole caught fire in the city of San Francisco, damaging PG&E equipment and leading to a power outage that affected approximately 9,500 customers. The event attracted significant media coverage and was featured by several news outlets. | Open
20230502-01 | PG&E | Property Damage | Distribution circuit | PG&E Law-Claims received a customer claim for property damage in excess of $50,000 for an incident that allegedly occurred in Atherton, San Mateo County. The claim alleges that on February 24, 2023, the customer was provided unbalanced voltage resulting in property damage to electrical equipment. | Open
20230503-01 | SCE | Injury | Overhead primary conductor | A third-party individual was removing roof flashing off a structure when the flashing contacted an energized 12 kV overhead conductor. The individual sustained injuries and was transported to Arrowhead Regional Medical Center. | Open
20230505-01 | SCE | Injury | Underground primary conductor | In the City of Huntington Beach a dig-in incident occurred when a subcontracter of SoCal Gas contacted a 12kV primary conductor. Two employees of Arizona Pipeline were installing a gasline with a pnematic trenchless pipeline tool when it punctured a energized primary junction box. The puncture of the junction box resulted in the tool contacting a contained coiled primary conductor and the two employees receiving electrical injuries. Both employees were transported to UCI Medical Center, with one being released and the other being admitted. | Open
20230508-01 | PG&E | Property Damage | Distribution circuit | As of May 8, 2023, PG&E Law-Claims has received multiple claims that collectively exceed $50,000 in property damage in the city of San Francisco. The claims allege that on February 16, 2023, the customers experienced unbalanced voltage resulting in damage to multiple appliances. | Open
20230509-01 | PG&E | Injury | Overhead primary conductor | On May 8, 2023, PG&E responded to a report of a wire down on a garbage truck in Oakland. The troubleshooter determined a garbage truck hit a loose guy wire that had previously wrapped around the overhead primary line and ultimately came into contact with the garbage truck. At this time, PG&E cannot ascertain with confidence what caused the damage to the guy wire, but, based on initial observations, suspect another vehicle had previously contacted the guy wire. The driver of the garbage truck touched the outside of the garbage truck and received an electric shock. The driver was admitted to the hospital for overnight observation. | Closed
20230510-01 | PG&E | Property Damage | Distribution circuit | As of May 10, 2023, PG&E Law-Claims has received multiple claims that collectively exceed $50,000 in property damage in the city of Morgan Hill in Santa Clara County. The claims allege that on March 14, 2023, the customers experienced a power surge resulting in damage to multiple appliances. | Open
20230511-01 | PG&E | Property Damage | Distribution circuit | On May 11, 2023, PG&E Law Claims received a claim exceeding $50,000 from a customer in the city of Cambria in San Luis Obispo County. The claim alleges that on April 26, 2022, a bad wire connection caused damage to the customer's household appliances. | Closed
20230511-02 | SCE | Property Damage | Overhead primary conductor | On November 17, 2021, SCE received notice from counsel on behalf of a property owner's insurance carrier alleging the residential structure at the site sustained damage as a result of an event that involved a felled overhead primary conductor, but a demand was not presented. SCE was recently served with a lawsuit filed on behalf of subrogation counsel alleging extensive property damage in excess of $559,413.55. On the date of the incident, we experienced an underground primary cable failure that resulted in downed overhead primary conductor at the subject location. | Open
20230512-01 | SCE | Injury | Padmounted transformer | An unidentified male and female individual sustained injuries while vandalizing an SCE pad-mounted transformer. The involved parties were transported from the scene to UCI Medical Center in Orange. | Open
20230515-01 | PG&E | Media Attention | Distribution circuit | PG&E experienced a sustained interruption involving two distribution circuits in South San Francisco of San Mateo County. The outage was initially reported as impacting 51,000 customers, however, the true customer count related to the outage was 5,600. PG&E is reporting this incident under the media criterion due to multiple inquiries into the outage. . | Open
20230517-01 | PG&E | Fatality | Overhead primary conductor | A PG&E employee was flagged down by an area resident regarding an audible alarm from a manlift in Parlier, Fresno County. Preliminary information indicates that a third-party individual was unloading a manlift when the boom contacted the overhead primary line. The individual was fatally electrocuted while exiting the vehicle. | Closed
20230517-02 | SCE | Property Damage | Distribution circuit | SCE received notice from counsel on behalf a the property owner's insurance carrier alleging the residential structure at the site sustained damage as a result of a structure fire reportedly due to an electric service issue. Although a demand has not been presented, due to conditions observed at the site, it appears the property damage will exceed $50,000. Our information reflects that there was a secondary connection failure a utility pole adjacent to the subject property which supplies the involved residence. | Open
20230518-01 | SCE | Injury | Overhead transmission circuit | An employee of Par West Line Contractors, an SCE contractor, was working on a pole replacement project in Daggett when he sustained burn injuries. The contractor employee was transported via ambulance to Barstow Community Hospital. | Open
20230522-01 | SCE | Property Damage | Distribution circuit | SCE was served with a lawsuit filed on behalf of the tenants of a property seeking damages and alleging SCE facilities were involved in the ignition of a structure fire that occurred on September 29, 2021. | Open
20230522-02 | PG&E | Injury | Padmounted transformer | A third-party individual opened a pad mount transformer, took apart the load break elbows, and experienced an electric shock in San Leandro. It was reported the individual sustained a severe injury and is expected to be admitted for overnight hospitalization. | Closed
20230523-01 | SCE | Injury | Overhead primary conductor | An employee of a fumigation company sustained injuries while working on a residential structure in Costa Mesa. The employee made contact with an overhead primary conductor while working on the roof and sustained both burn injuries from the shock as well as additional injuries from falling off the roof. | Open
20230525-01 | PG&E | Property Damage | Distribution circuit | PG&E Law-Claims received a customer claim for property damage exceeding $50,000 from a customer in Palo Cedro, Shasta County. The claim alleges that on January 31, 2023, the customer experienced unbalanced voltage resulting in damage to multiple appliances. | Open
20230601-01 | PG&E | Property Damage | Distribution circuit | On June 1, 2023, PG&E Law-Claims received a claim for property damage exceeding $50,000. The claim alleges that on November 26, 2022, the customer experienced unbalanced voltage resulting in property damage to the residence in Live Oak. | Open
20230606-01 | SCE | Property Damage | Overhead primary conductor | A downed 12 kV conductor lead to fires at two mobile homes in San Bernardino. Preliminary information indicates that the wire down event may have been caused by contact with a mylar balloon. | Open
20230606-02 | PG&E | Property Damage | Distribution circuit | On June 6, 2023, PG&E Law-Claims received a claim for property damage exceeding $50,000. The claim alleges that on March 21, 2023, the customer experienced unbalanced voltage resulting in damage to multiple appliances in their residence in San Luis Obispo. | Closed
20230606-03 | PG&E | Property Damage | Distribution circuit | On June 6, 2023, PG&E Law-Claims received a claim for property damage exceeding $50,000. The claims alleges that on February 24, 2023, the customer experienced unbalanced voltage resulting in damage to multiple appliances at their residence in Capitola, Santa Cruz County. | Open
20230608-01 | SCE | Property Damage | Distribution circuit | SCE recently received a subrogation claim from an insurance carrier in excess of $294,000 alleging SCE facilities were involved in the ignition of a fire that affected a customer's property. | Open
20230613-01 | SCE | Injury | Overhead transmission conductor | An unidentified male in Mammoth Lakes was standing on top of a building and holding a metal measuring tape when the measuring tape contacted an energized SCE 115 kV overhead conductor. The individual sustained burn injuries and was airlifted to hospital for treatment. | Open
20230620-01 | SCE | Injury | Substation equipment | An SCE contractor sustained an injury to the middle finger of his right hand when he made contact with an energized component while working at Windsor Hills Substation. He was transferred by ambulance to hospital for treatment and overnight observation. | Closed
20230629-01 | PG&E | Property Damage | Distribution circuit | A structure fire occurred in San Francisco shortly after PG&E detected unusually high voltage in the vicinity. Damage to the structure is estimated to exceed $50,000. | Open
20230703-01 | SCE | Property Damage | Distribution circuit | SCE was recently served with a lawsuit filed by counsel on behalf of an insurance carrier asserting damages in excess of $474,000. The claim alleges SCE facilities were involved in the ignition of a fire in Artesia on April 11, 2021 that affected the subject property. | Open
20230703-02 | SCE | Property Damage | Distribution circuit | SCE was recently served with a lawsuit filed by counsel on behalf of an insurance carrier asserting damages in excess of $474K and alleging SCE facilities were involved in the ignition of the fire that affected the subject property. | Open
20230706-01 | PG&E | Property Damage | Transformer | An overhead transformer discharged oil onto public vehicles, landscaping and a driveway in Union City. PG&E Law-Claims is reporting the transformer oil caused property damage in excess of $50,000. | Open
20230709-01 | PG&E | Media Attention | Manhole | An underground manhole exploded in San Francisco, and fire and smoke were seen coming from the manhole causing an unknown amount of property damage. This incident is being reported under the media criterion as several news outlets reported on the event. | Open
20230713-01 | SCE | Property Damage | Overhead distribution circuit | On January 11, 2023 the SCE Meadowbrook 12 kV circuit relayed. SCE personnel patrolled the circuit and discovered a fire at the base of a utility pole. SCE personnel also discovered damaged overhead equipment on the pole. SCE has now received an insurance claim for damage to a residential property due to the fire. | Open
20230714-01 | PG&E | Property Damage | Overhead distribution circuit | On November 26, 2021 at 1650 hours, PGE received calls of lights flickering and surge protectors popping in San Jose. On July 12, 2023, PGE received a subrogation demand for damages exceeding $50,000. The claim alleges that on November 26, 2021, the customer experienced unbalanced voltage resulting in a structure fire. | Open
20230719-01 | SCE | Property Damage | Secondary overhead conductors | A structure fire occurred in Rosemead. SCE personnel responded to the scene and observed damaged secondary connections on Pole No. 1551649E. There were no reports of primary wire down nor circuit relay activity prior to the report of the structure fire. | Open
20230720-01 | SCE | Injury | Padmounted transformer | An unidentified male individual sustained injuries while vandalizing a padmounted transformer in Santa Fe Springs. He was transported from the scene to UCI Medical Center in Orange. | Open
20230728-01 | PG&E | Property Damage | Distribution circuit | As of July 28, 2023, PG&E Law-Claims has received multiple claims that collectively exceed $50,000 related to an outage that occurred in San Francisco on February 7, 2023. The claims allege the customers experienced unbalanced voltage resulting in damage to multiple appliances. | Open
20230802-01 | SCE | Injury | Underground conductor | A third-party construction worker suffered burns when his jackhammer made contact with underground SCE facilities in Costa Mesa. He was admitted to hospital overnight for treatment and monitoring. | Open
20230803-01 | SDG&E | Media Attention | Overhead facilities | SDG&E overhead equipment caused a brush fire in San Diego on July 18, 2023. No injuries or property damage was reported, but the fire did attract media attention. | Open
20230808-01 | PG&E | Injury | Utility pole | On October 18, 2022, PG&E troubleshooter responded to a report of car-pole incident in Marysville, Yuba County. It is reported that a vehicle hit a pole and caused it to fall into the street, when another vehicle made contact with the pole or guy wire, causing the guy wire to strike a third party individual. The third party individual went to the hospital for treatment and was admitted for overnight treatment. | Open
20230810-01 | PG&E | Fatality | Overhead conductor | A third-party individual suffered a fatal electric shock when the boom truck he was operating made contact with an overhead primary conductor in Benicia, Solano County. | Closed
20230816-01 | PG&E | Fatality | Overhead conductor | A man in Mendota, Fresno County made contact with a fallen primary conductor resulting in a fatality. | Open
20230817-01 | PG&E | Injury | Metal plate | PG&E Law-Claims received an injury claim from a third-party individual alleging a trip and fall incident that occurred on September 2, 2021 in Berkeley. The claim alleges that the individual tripped on a metal plate on the sidewalk and was hospitalized because of the injury. | Open
20230817-02 | PG&E | Property Damage | Distribution circuit | On August 17, 2023, PG&E Law-Claims received a property damage claim in excess of $50,000. The claim alleges that on December 12, 2022, PG&E electrical equipment was the cause of a residential structure fire in Fairfax, Marin County. | Open
20230817-03 | PG&E | Property Damage | Distribution circuit | On August 16, 2023, PG&E Law-Claims received a claim for property damage exceeding $50,000. The claim alleges that on March 4, 2023, the customers in Laytonville experienced unbalanced voltage resulting in damage to multiple appliances and equipment. | Open
20230826-01 | SDG&E | Fatality/Injury | Padmounted transformer | A vehicle exited a roadway and struck a padmounted transformer on the sidewalk in San Diego. The police believe that after the initial collision, the passenger exited the vehicle to try and dislodge the vehicle off of the padmounted transformer. As the passenger was attempting to dislodge the vehicle, she was electrocuted and died at the scene. After this occurred, a fire erupted. Then, the driver of the vehicle exited the vehicle and was also electrocuted. The driver was transported via ambulance from the scene. | Open
20230828-01 | PG&E | Property Damage | Overhead conductors | On January 11, 2023, at approximately 1315 hours, PG&E was notified of an outage in Coalinga, of Fresno County. On August 28, 2023, PG&E Law-Claims received a claim exceeding $50,000, alleging a power surge caused damage to electrical equipment due to the lines contacting a tree. | Open
20230912-01 | PG&E | Property Damage | Distribution circuit | PG&E Law-Claims received a property damage claim in excess of $50,000. The customer is located in Twain Harte, of Tuolumne County. The claim alleges that on January 1, 2022, a structure fire occurred after power was restored to a residential property. | Open
20230913-01 | SCE | Property Damage | Overhead neutral conductor | SCE received notice from counsel on behalf of the property owner’s insurance carrier alleging SCE facilities were involved in the ignition of a fire at the subject residential property. The fire was limited to the garage of the residence and did not spread to adjacent properties. SCE personnel responded and replaced a compromised secondary neutral connector at Pole No. 1625561E. | Open
20230913-02 | PG&E | Property Damage | Regulator/Substation equipment | On September 12, 2023, at 2230 hours, PG&E was notified of a sustained outage at Corning Substation which is located in Corning, of Tehama County. The outage resulted in a loss of power to 3700 customers. Responding personnel found damage to a voltage regulator within the substation. PG&E substation personnel advised equipment damage will exceed $50,000. | Open
20230916-01 | PG&E | Property Damage | Overhead conductors | On May 5, 2023, a PG&E troubleshooter responded to a location in Atherton, of San Mateo County. The troubleshooter found a tree on a secondary main line in the rear of a home and created work order for a tree crew and PG&E repair crew. On May 6, 2023, The Menlo Park Fire Department requested PG&E assistance for a structure fire at the incident location. PG&E gas & electric services responded to the location. Law-Claims has received a claim exceeding $50,000.00. | Open
20230920-01 | PG&E | Unknown | Utility pole | Pole is located at the back of the property, prior to being 160 Ridgway, it was 120 Taylor Dr. Also the pole is at the corner of Taylor Dr and Roca Ave and this pole was put in 43 years ago, customer’s concern where will PG&E locate the pole after it is being fixed. | Closed
20230926-01 | SDG&E | Injury | Unknown | SDG&E equipment tripped in the Palomar Mountain area and an outage affected 307 customers for approximately 2.5 hours. One SDG&E contractor injury is reported in association with the incident. The cause of the incident is unknown currently. | Open
20230930-01 | SCE | Injury | Overhead conductor | A third-party construction worker sustained injuries when he inadvertently made contact with overhead conductors with a metallic object he was carrying. | Open
20231005-01 | PG&E | Injury | Riser | A transient cut into a 12 kV riser in Fresno, resulting in an explosion, a small power outage, and injuries to the transient requiring hospitalization. | Open
20231010-01 | SDG&E | Injury | Overhead 12 kV conductors | A third-party construction worker was injured when he fell from a scaffolding onto 12 kV conductors in the city of San Diego. His injuries required hospitalization. | Open
20231018-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim alleging that on June 14, 2023, a customer in San Francisco experienced unbalanced voltage resulting in damage to multiple appliances and water damage. | Open
20231024-01 | PG&E | Injury | Overhead 12 kV conductors | On October 24, 2023 PG&E received notification of an injured individual due to electric contact in Stockton, San Joaquin County. A third-party tree trimmer made contact with an overhead PG&E primary conductor. The individual received an electric shock and was transported to the hospital and is expected to be admitted for overnight treatment. | Closed
20231107-01 | PG&E | Fatality | Overhead 12 kV conductors | A fatality occurred in the city of Lucerne in the vicinity of overhead PG&E primary conductors. A PG&E troubleshooter at the scene observed a metal ladder and metal pole at the scene, along with a drone stuck in a tree near the subject conductors. The troubleshooter surmised that the dead individual had inadvertently touched the overhead conductors with the metal pole while attempting to free the drone from the tree. | Open
20231109-01 | SCE | Media Attention | Overhead conductors | An unidentified individual cut down a utility pole in Eastvale, leading to fallen conductors and a brush fire. Multiple SCE utility poles sustained fire damage, but no other damages resulting from the fire were reported. | Open
20231208-01 | SCE | Injury | Padmounted transformer | An unidentified individual sustained serious injuries while accessing/vandalizing a pad-mounted transformer in the city of Hesperia. The individual was airlifted to Arrowhead Regional Medical Center and their status is currently unknown. | Open
20231211-01 | SCE | Injury | Underground primary conductor | A third-party construction worker performing excavation work in the city of Cypress inadvertently cut into an SCE 12 kV conductor, resulting in burns to both of his hands and was subsequently admitted to a nearby hospital for treatment. | Open
20231218-01 | PG&E | Property Damage | Distribution circuit | On December 15, 2023, PG&E Law Claims received a claim exceeding $50,000 from a customer in Lodi, San Joaquin County. The claim alleges that on November 21, 2023, a power surge caused damage to the customer's electrical equipment. | Open
20231221-01 | PG&E | Property Damage | Overhead conductor | On December 19, 2023, PG&E Law Claims received a claim exceeding $50,000 from a customer in Bolinas, Marin County. The claim alleges that on January 5, 2023, an energized downed conductor ignited two sheds on the customer's property. | Open
20231221-02 | PG&E | Property Damage | Distribution circuit | PG&E Law-Claims received a claim for property damage exceeding $50,000 from a customer in Pittsburg, Contra Costa County. The claim alleges that on November 10, 2023, the customer experienced a power surge resulting in damage to the customer's electrical equipment. | Open
20231229-01 | PG&E | Property Damage | Distribution circuit | On December 27, 2023, PG&E Law Claims was notified of a customer claim which will likely exceed $50,000 in property damages. The claim involves a structure fire in Stockton, San Joaquin County. The claim alleges that on October 29, 2023, at 11:39 am, PG&E facilities caused a fire in a tree behind the customer's home. The claim states that the fire spread to the customers home and destroyed it. | Open
|  |  | Total open incidents: | 130