2010 Filing Guide for System and Local Resource Adequacy (RA) Compliance Filings

1.	Purpose and Overview of RA Guides and Templates	1

2.	New for RA 2010 Compliance Year	1

3.	Major components of the RA templates	2

4.	Energy Auction and the Capacity Allocation Mechanism	2

5.	The Filing Process and the Local RAR	3

6.	Confidentiality and RA Filings	4

7.	Export Commitments made with RA Resources	5

8.	Load Forecast Adjustments	6

9.	Standard Capacity Product CAISO Tariff	7

10.	Net Qualifying Capacity	7

11.	Maximum Cumulative Capacity and Resource Categories	8

12.	Demand Response (DR) Resources	9

13.	Outages	10

14.	Allocation of Reliability Must Run (RMR) Units for Local and System RAR	11

15.	Import Capacity Allocation Process for 2010	13

16.	Zonal RA: Constraint on Flows Across Path 26	16

17.	Department of Water Resources (DWR) Contracts	17

18.	Firm Import Liquidated Damages (LD) Contracts	18

19.	RA Portfolio Resources	18

20.	Certification of LSE Resource Adequacy Compliance Filing	18

21.	Submission of RA Filings – Secure FTP	18

22.	Correction of Errors: Minor or Substantial	20

Appendix A: Submission of RA Compliance Filings	21

Appendix B: CAISO Import Allocation Process for 2010	23

Appendix C: Frequently asked questions and clarifications to the filing instructions	24

Appendix D: Directions for use of Secure FTP	27

# Purpose and Overview of RA Guides and Templates

This 2010 Resource Adequacy (RA) compliance Guide is meant to inform Load Serving Entities (LSEs) in demonstrating compliance with the CPUC’s RA program.  Along with the RA Reporting Templates (System and Local) LSEs are to use this guide as a reference material.  To the extent that this Guide is incomplete or does not address a particular issue that the LSE may discover, the LSE is strongly requested to contact Energy Division (ED) staff immediately and request direction.  Although this Guide is organized for quick reference, the LSE is strongly encouraged to read the entire Guide and become familiar with its contents.  In addition to more specific line item instructions provided in the Reporting Templates this guide presents three basic elements: A summary and explanation of what is new for 2010 Compliance Year and notifications the LSE receives, instructions for filling in the individual template pages, and instructions for submitting the template to ED,

New for RA 2010 Compliance Year

For the 2010 RA Compliance Year, the CPUC is issuing this guide to specify how to fill out the RA reporting templates.  This guide combines the guide for both Year Ahead System and Local RA Filings, and Month Ahead System RA Filings.  The System Month Ahead and Year Ahead templates have been combined, but the Local RA template is still separate.  There are a number of changes made to the System RA Template discussed below.  LSEs are encouraged to read this guide and the instructions included in the templates carefully and to contact Energy Division with any questions.

Changes to the guides and templates for 2010 include the following:

- A formula was changed in the Local RA template to establish a Local RA obligation for LSEs that is rounded after CAM, RMR, and Local DR are deducted, to be consistent with the system template.

- A formula was changed in the Year Ahead Summary page (cells C30-C32, F30-F33, and D38-D41).  This was to conform the two summary pages.  The new formula will be demonstrated in the workshop.

- Removal of the LSE Capacity Contract Identifier column as it was confusing

- The SCP tariff has been accepted by FERC, although not in the timeframe laid out by the Commission so it is encouraged to contract for SCP terms, but it is not mandatory.

- NQC List is now published on the CPUC website to minimize confusion.  Once final, the NQC list will be posted here: http://www.cpuc.ca.gov/PUC/energy/Procurement/RA/ra_guides_2008-09.htm

- In the case that Energy Division receives filings but other agencies do not, Energy Division will immediately forward files on to the CEC and CAISO.

- The LSE Summary Sheet is no longer needed, as all information is now included on the certification sheet in the template itself.

- Dates were revised to reflect 2009-2010 dates, and other minor rewordings

Load Forecast and Month-Ahead filing dates for 2010 RA Compliance

| RA filing month | Load Forecast month | Due Date |
| --- | --- | --- |
| 2010 Preliminary Local | N/A | September 18, 2009 |
| 2010 Final Year Ahead | N/A | October 29, 2009 |
| January | February | November 30, 2009 |
| February | March | December 31, 2009 |
| March | April | February 1 |
| April | May | March 1 |
| May | June | April 1 |
| June | July | April 30 |
| July | August | May 31 |
| August | September | June 30 |
| September | October | August 2 |
| October | November | August 31 |
| November | December | September 30 |
| December | January 2010 | November 1 |

Major components of the RA templates

The RA Reporting templates for 2010 compliance year are not changed in any major ways.  As major changes to the program were not approved for 2010 compliance year that would have affected the templates (such as Monthly Local RA filings) the guide and templates are largely unchanged from 2009 compliance year.  Several dates are updated and there is some minor rewording, but outside of that effort was made to retain as much of 2009 materials as possible to minimize confusion.  As in 2009, the Reporting Templates (System and Local) are comprised of a number of individual tabs including the Following:

- ID and Local Areas list to list resources available for use in the RA Filings is taken from the CAISO NQC list

- LSE Specific Allocations of Demand Response, CAM, RMR, Path 26, and load forecasts are inserted into this tab so as to minimize manual error and paperwork.

- Year Ahead and Month Ahead Summary Sheets that sum resources and compute LSE compliance

- Physical Resource worksheet for LSEs to report contracts with unit specific RA resources

- DWR worksheet for LSEs to report contracts with resources that are part of DWR contracts

- Import Resources Worksheet – Unit Specific and Non-Unit Specific import resources are reported on this sheet

- Resources Under Construction worksheet

- Portfolio Resources worksheet for contracts that source capacity from more than one unit

- Demand Response Resource worksheet for reporting DR programs that are not part of the general DR allocation of IOU programs

# Energy Auction and the Capacity Allocation Mechanism

Pursuant to the Energy Auction and the Capacity Allocation Mechanism outlined in D.06-07-029, LSEs may receive an allocation of capacity for resources that are paid for via the Energy Auction Mechanism.  The mechanism for auctioning this energy will be developed pursuant to D.06-70-029.  This capacity, once allocated, is entered into the LSE Allocations spreadsheet and is automatically input into the correct cells in Summary Table 1 of the Summary sheets on the template.  New resources that become eligible for the Energy Auction mechanism, as well as adjustments to allocations to accommodate for load migration among LSEs, will be done via the current mechanism that uses an LSE specific forecasted proportionate share of the coincident IOU Service Area peak in which the CAM resource is located to compute each LSE’s portion of the CAM credit.  This mechanism was first used in 2009 and will continue to occur on a quarterly basis, due to the limited number of resources that are currently eligible for the Energy Auction.

The Filing Process and the Local RAR

Decision (D.) 05-10-042 established a Year-Ahead and Month Ahead System Resource Adequacy Requirement (RAR) for Load Serving Entities (LSEs) under the jurisdiction of the California Public Utilities Commission (CPUC).  D. 06-06-064 expanded the RA program to include a Year-Ahead Local RAR and a Preliminary Local RAR, and D.08-06-031 adopted Local RA procurement obligations for compliance year 2010.

- Due September 18th, 2009:  The Preliminary Local RAR compliance filing covers the full 12-month period of 2010 and requires LSEs to demonstrate if they have procured any unit that is listed on the 2010 CAISO The Net Qualifying Capacity for Compliance Year 2010 (2010 NQC List) as being located in a Local Area.  LSEs should use the template to show all resources under contract, including non-local area resources, in the preliminary showing as incorporating these resources in the CAISO’s analysis could ultimately help minimize the CAISO’s need to renew certain existing RMR contracts.

- Due October 29th, 2009:  LSEs are required to make a 2010 Year-Ahead System and Local RAR compliance filing that demonstrates compliance with the Year Ahead System RA obligation, which is 90% of the total load plus planning reserves for the five summer months of May through September 2010.  LSEs are also required to meet 100% of the Local RAR for all 12 months of 2010. LSEs must include in the local showing any unit that is on the CAISO NQC list and listed as being located within a Local Area.

- Monthly:  LSEs are required to continue making monthly forecasts and monthly system RAR showings that track load migration and demonstrate compliance with 100% of an LSE’s system RAR.  Due monthly with no set end date.  There is currently no required Local RAR monthly filing.

Templates

The RAR Filing Guide herein and the accompanying RAR reporting templates (System RA template and Local RA template) provide the means for LSEs to demonstrate compliance with the System and Local RAR Program:

- For 2010 Preliminary Local RAR filing – LSEs are required to use the Local Template to demonstrate Preliminary Local RAR for all 12 months.  LSEs must demonstrate whether they have any unit under contract that is listed on the CAISO’s 2010 NQC list as located within a Local Area or any unit with a 2009 RMR contract. LSEs may also show any other unit under contract by the date of the filing, even if it is not in a local area.  The CAISO will consider all units under contract (even those outside local areas) before making final determinations for RMR contracts for 2010.

- For 2010 Year Ahead System RAR – LSEs are required to use the 2010 System RA Template for the period of May through September.

- For 2010 Local RAR – LSEs are required to use the Local RA Template to demonstrate compliance with the Local RAR for all 12 months of 2010.

- For 2010 Monthly RAR, the 2010 System RA template contains summary sheets for both Year Ahead and Month Ahead compliance, and LSEs are required to use the 2010 System RA Template to demonstrate compliance with 2010 Month Ahead RAR.

- Local RA obligations have been rounded off to the nearest MW pursuant to the convention adopted in D.06-06-064, and System RA obligations have been similarly rounded pursuant to conventions adopted in D.07-06-029.  The Local RA allocations and the System RA templates have been adjusted to reflect these rounding conventions.

- Summary Table 1 in the 2010 System RA Template has been adjusted to reflect the Zonal RA obligations that constitute the Path 26 Counting Constraint.

Notification of LSE RA obligation

Each LSE will be notified by the CEC/CPUC Energy Division of their Local and System RAR, as well as their DR and CAM allocations.  This notification process will consist of three parts.

- For System RAR – LSEs will be notified via Secure FTP of their monthly peak load forecasts, Local RA obligations, DR Allocations, and CAM Allocations for use in the Year Ahead System RA Filing on or about July 25th, 2009.  LSEs will receive their final Condition 2 RMR allocation on or about October 10th, 2009 to aid them in preparing their Final System RA Filing.  On a separate timeline, each LSE will receive notification of their Import Allocations and Path 26 Allocations for use in their System RAR filing.  See Sections 12 and 13 for more details regarding Path 26 and Import Allocation.

- For Local RAR -- LSEs will be notified electronically via Secure FTP of their final Local RAR by the CPUC on or about July 25th 2009.

- For Monthly System RAR – LSEs will be issued their System RAR for all months of 2010 on or about July 25th, 2009.  LSEs are required to comply with the Monthly Load Forecast Adjustment process throughout 2010 as done in past years.  LSEs are to continue using the Import Allocations and Path 26 Allocations they receive in August 2009 for all 2010 Month Ahead RA Filings.  CPUC Energy Division will notify LSEs of any change to Condition 2 RMR allocations and CAM Allocations as they occur throughout compliance year 2010 for use in subsequent Monthly RA Filings.

- For changes to allocations such as CAM reallocations and RMR reallocations, LSEs will be notified via Secure FTP.  .

# Confidentiality and RA Filings

We start with a presumption that information should be publicly disclosed and that any party seeking confidentiality bears a strong burden of proof.  However, in some instances (such as "market sensitive" information relating to electric procurement that passes a materiality standard), confidential treatment of data may not only be allowed, but may be required in order to carry out our statutory and constitutional duties.

Parties or persons shall accompany RA Filings for which they claim a right to confidential treatment with a declaration under penalty of perjury certifying that they are only claiming confidentiality for data included in the D.06-06-066 Matrices.  Pursuant to D.08-04-023, an LSE need not seek confidential treatment every time it makes a compliance filing of a repetitive nature.  Instead, on making subsequent compliance filings, the LSE may cite the earlier declaration for confidentiality.  Thus the LSE is instructed to file a declaration accompanying the 2010 Year Ahead System and Local RA Filing and refer to that declaration by date and subject in the cover letter submitted alongside subsequent Month Ahead RA Filings.

The LSE is required to send a signed electronic version of the declaration in pdf format via the Secure FTP application accompanying the 2010 Year Ahead Filing templates and cover letter, and to include a reference to this declaration by date and summary of content in the cover letter accompanying each future Month Ahead RA Filing.  LSEs also may use the initial declaration submitted with the 2010 Year Ahead Filing to request protection for the annual and month ahead load forecast information submitted to the CEC; the LSE is to refer to the initial declaration filed with the 2010 year ahead filings in the cover letter to the Load Forecast submittals.

RA Filing or data requests related to RA Filings

Situation: An LSE files a RA Filing and seeks confidential treatment for data of the type addressed in the Matrices to D.06-06-066. In this situation, the following procedure applies:

A declaration under penalty of perjury will accompany the filing, establishing the five factors required by D.06-06-066, Ordering Paragraph 2, listed below but no motion is initially required.

- That the material constitutes a particular type of data listed in the Matrix;

- The category or categories in the Matrix to which the data correspond;

- That the submitting party is complying with the limitations on confidentiality specified in the Matrix for that type of data;

- That the information is not already public; and

- That the data cannot be aggregated, redacted, summarized, masked or otherwise protected in a way that allows partial disclosure.

If another person asks to see the confidential data, the filer and the requesting person shall meet and confer to resolve the dispute informally, consistent with the intent of new Rule 11.3. If they cannot resolve the dispute, the filer and the requesting person shall present the dispute to the assigned ALJ.  The confidentiality claim and dispute will be resolved consistent with the Commission’s procedures for addressing confidentiality claims and requests for information in the context of Public Record Act requests.

Export Commitments made with RA Resources

Some LSEs have export commitments that they seek to fulfill with RA Resources.  The Reporting template formalizes a method for the LSE to accomplish this end while maintaining the level of proper RA resources to meet the LSE’s RA obligation within CAISO.  This is done via the Physical Resource worksheet.  LSEs are to list the amount of Export Commitment into which they have entered with a negative value of MW capacity in the proper MCC resource category.  All other information is also entered, such as contract start date and contract end date and contract identifier.  There is also the zonal designation.  The LSE is directed to add the export commitment as if it was a new generator.  On the ID and Local Area tab the LSE is to create a Scheduling ID that includes an abbreviation of the name of counterparty.  The LSE is to enter a Zonal Designation for the export commitment in the ID and Local Area tab also.  For Export Commitments that exit the CAISO via an intertie in SP26, the export commitment has a Zonal Designation of SP26 and for commitments that exit the CAISO via an intertie in NP26, the export commitment would be designated as NP26.  Since a negative number is listed, and a zonal designation is given for the resource, the template is able to debit the export commitment from resources in that zone to ensure that the amount of the LSE’s RA obligation is still met with an appropriate amount of resources within that zone.

Load Forecast Adjustments

D.05-10-042 stated “[w]e require that month-ahead compliance filings include adjustments for positive and negative load growth due to migration.  Apart from load changes due to load migration, load forecasts should not be updated from LSE’s Year-Ahead filing.”

On or around July 25, 2009 the CPUC will send each LSE its month specific RA obligation for January-December 2010.  Because the Year-Ahead forecasts made assumptions about direct access load, the Year-Ahead forecasts were revised to account for actual direct access customer migration to date, and expected additional load migration prior to the obligation period.

An LSE with migrating direct access customers is responsible for adjusting its monthly load forecast and monthly RA obligation and reflect those changes on the monthly RA Template.  IOUs should adjust their forecast to account both for customers who are known to have returned to bundled service and for those that have notified the IOU that they intend to return to bundled service prior to the Filing Month.  ESPs should account for contracted load and a reasonable expectation for the rate of contract renewals of non-firm load or load with expiring contracts.   If the CEC determines that the assumptions made are not plausible, the CEC may make a plausibility adjustment to account for a more plausible rate of customer retention.  The CPUC requires LSEs to procure to meet RAR based on the load forecasts that are submitted to the CEC and adjusted by the CEC.  The CEC will communicate these monthly adjusted forecasts to the CPUC for compliance validation purposes.

The CEC has provided a separate template to facilitate the forecast revision process and verify that migrating load is correctly accounted.  LSEs which have gained or lost customers since their Year-Ahead forecast will enter the amount of monthly peak load associated with the change in customers, and the template will make the appropriate adjustments, including coincidence.  A complete submission of the load forecast adjustments each month is to be submitted to the CEC.  This required submission shall include the certification sheet signed by an officer of the company, as well as the electronic template and all supporting data required.  LSEs are asked not to send this information to the CPUC or the CAISO as they do not need to receive this submission.  Guidelines for submission of load information are provided by the CEC.

As related to the RA Reporting Template, LSEs are to account for the impacts of Load Migration via the LSE Allocation tab in the Month Ahead RA Filing.  LSEs are to enter the Net Change in Load plus Trans. Losses & UFE for each service territory into Table 4 of the LSE Allocations tab for the appropriate month.  Summary Table 1 in the Month Ahead Summary Page will sum the Year Ahead forecast for each service territory and the Net Change in Load for each service territory for that month to determine the LSE’s RA obligation.  The data for Table 4 is the data from Column 7 (M-O) of the LSE’s most recent Load Forecast adjustments submitted to the CEC.

# Standard Capacity Product CAISO Tariff

FERC has issued a ruling approving the CAISO’s proposed SCP tariff, although the ruling arrived outside of the timeframe laid out in Commission decision.   For that reason, SCP terms are not mandatory for 2010 compliance year, although LSEs are encouraged to negotiate these terms in their upcoming contracts, as a means of becoming more familiar with the effects of SCP provisions and to prevent complication and extra costs to customers.  Information regarding the use of SCP will be gathered by the CAISO via supply plans submitted by generators, but the CPUC will not gather additional information via the RA Reporting templates.

Net Qualifying Capacity

D. 05-10-042 requires all LSEs to fulfill their System RAR through purchase of Net Qualifying Capacity (NQC).  In the past, the Final 2010 CAISO NQC List was available and posted under “Current Net Qualifying Capacity (NQC)” on the CAISO website at: http://www.caiso.com/1796/179688b22c970.html.  An NQC list will still be posted there, but in the interests of stability and accessibility, beginning for 2010 compliance year, the official NQC list for purposes of RA compliance will also be posted on the CPUC website here http://www.cpuc.ca.gov/PUC/energy/Procurement/RA/ra_guides_2008-09.htm

A listing of Scheduling Resource IDs and their Local and Zonal Designation is included in the template as the ID and Local Area tab to facilitate automation of the template. New resources that are added as they come online in 2010 or that chance their Scheduling Resource ID can be added to the bottom of the list until the new units are reflected in an update that is posted on the CPUC website.  It is the responsibility of the LSE to ensure that information is entered correctly.

Information on the 2010 NQC List will not be changed except for data maintenance and correction of errors, and addition of new resources that come online during the course of 2010.  Any revisions made by the CAISO after it is published will be evaluated by the CPUC before being added to the list posted on the CPUC website.  Revisions can raise a given unit’s NQC or add units to the NQC list, but CAISO revisions cannot lower the resource’s NQC or remove units for purposes of RA.  As the CPUC updates the list throughout the year, the new ID and Local Area information will be included in subsequent templates sent to LSEs with revised allocations or other updates.

NQC and Local RAR

D.06-06-064 adopted a program of Local RAR for LSEs that are under the jurisdiction of the CPUC, while D.08-06-031 adopted Local RA totals for 2010 compliance year.  These decisions require all LSEs to procure physical resources to meet the Local RAR. These units are to be located in the ten LCR areas identified in the CAISO NQC list.  For purposes of RA compliance, the ten LCR areas have been aggregated into five Local Areas (LA Basin, Big Creek/Ventura, San Diego, Other PG&E Local Areas, and the Greater Bay Area).  The Other PG&E Local Areas include the Local Areas of Fresno, Humboldt, Kern, North Coast/North Bay, Sierra, and Stockton.  The LSE is responsible for verification of the Local Area Designation of the unit, as well as the NQC value and the Scheduling Resource ID.  The NQC that is to be entered for compliance with the Local RAR is either 1) the annual NQC listed, for resources that have only one annual NQC value or 2) the August NQC value for resources that have monthly NQC values which reflects performance of the unit at IOU Service Area Peak.  In the case of DR resources, the template will utilize the August DR values for each Local Area for each of the 12 months of the year.

Every resource has a resource name (“RES Name”) and associated resource identification number (“Scheduling Resource ID”).  Each unit also has a Path 26 and Local Area designation.  Resources not located in Local Areas are labeled as “CAISO system” or “CAISO Import” and can only count toward the System RAR.  Resources designated as “CAISO Import” require an import allocation to count towards an LSE’s RA obligation. Please check that you have an Import Allocation applicable to these resources and that these resources are listed on the Import Worksheet of the RA template.

To report a contract with a unit located within a Local Area on the Local Template, LSEs select the correct Scheduling ID from a drop down list in Column C of the Reporting Template, and upon selection, the Local Area designation is filled in for the LSE.  Local RARs above 1 MW are rounded to the nearest MW while RARs less than 1 MW in any one Local Area receive an exemption from Local RAR procurement.

NQC and Outages

While outages do not change a units NQC value during an RA compliance year, LSEs are expected to verify with the Scheduling Coordinator the availability of any units the LSE wishes to include in their Monthly System RA Filings, and compute the appropriate amount of capacity that is affected pursuant to the Scheduled Outage criterion formulas described in Section 13 below.  The Local RAR Filings will not be affected by either scheduled or forced outages.

Maximum Cumulative Capacity and Resource Categories

The RA proceeding discussed changes to the use of the Maximum Cumulative Capacity (MCC) percentages, but the Commission did not adopt any changes for 2010 compliance year.  As in past years, the MCC restrictions will apply and be based on the total RA obligation not the year ahead 90% RA obligation.

| Summary of Resource Categories |
| --- |
| Category | Consensus Agreement Resources may be categorized into one of the four categories shown below, according to their planned availability as expressed in hours available to run or operate per month (hours/month): |
| 1 | “Greater than or equal to” the ULR [Use Limited Resource] monthly hours as shown in the Phase 1 Workshop Report, Table “Number Hours ISO Load Greater than 90% of the Monthly Peak,” p.24-25, last line of table, titled “RA Obligation,” http://www.cpuc.ca.gov/word_pdf/REPORT/37456.pdf These ULR hours for May through September are, respectively: 30, 40, 40, 60, and 40, which total 210 hour and have been referred to as “the 210 hours.” |
| 2 | “Greater than or equal to” 160 hours per month. |
| 3 | “Greater than or equal to” 384 hours per month. |
| 4 | All Hours (planned availability is unrestricted) |

Demand Response (DR) Resources

As in years past, Dispatchable Demand Response (DR) resources shall be ‘taken off the top’ of the System RA obligation.  For DR programs that are operated by the IOUs and where cost is allocated across all transmission customers, the RA counting credit for these programs will also be allocated across all LSEs in a transmission service area based on share of program cost that customers of the LSE have paid.  DR resources that are allocated to all LSEs will be included in the information on the LSE Allocations spreadsheet, and do not need to be entered into the DR worksheet.  DR programs administered by the LSE and not included in the DR Allocation are to be entered by the LSE into the DR worksheet with all required information including operator, maximum daily and monthly hours of operation, and zonal designation.

The amount of capacity in megawatts (MW) of DR credit claimed by the LSE will be multiplied by 115% percent to reflect its status as dispatchable load based resources and will be subtracted from the overall 115% System RAR.  For example, if LSE-ABC has a 1,000 MW RAR in June 2010, and LSE-ABC shows 100 MW of DR resources in the LSE Allocation sheet and any additional LSE DR programs reported in the DR worksheet, that 100 MW will be multiplied by 115% and subtracted from the 1000 MW to leave 885 MW to be met with an acceptable combination of resources.  Note that this process is the same as subtracting the 100 MW of DR from the forecast peak load before multiplying by 115% to calculate RAR.

DR resources are not subject to the MCC restrictions but DR programs that are available less than two hours in a day are still subject to the limitations set forth in D.05-10-042; these programs may provide RA equal to no more than 0.89% of the LSE’s peak load.

D.06-06-064 determined that dispatchable DR credit should be allocated to each Local Area and counted towards meeting Local RAR.  This was completed during the DR forecast and allocation process for RA compliance year 2010 in all three IOU TAC areas.  The DR allocation is broken up into DR located within each Local Area and DR outside of Local Areas as well as a total TAC Area DR Allocation.  For reference, the August month’s DR value for each Local Area is drawn into the Local RA Template, and the month specific value for each TAC Area is drawn into the System RA Template for use in the Year Ahead and Month Ahead RA Filings.

Non-dispatchable demand response resources are considered a reduction in demand and were included in the Load Forecasts.  Therefore, they are not to be listed as resources in the System RA Filing.

The template implements the rule as was used in past years without alteration, and draws the August DR value for all 12 months of the year of 2010.  This is done automatically and LSEs are not to enter information into the Local RA template for programs that are part of the allocated DR values.

Outages

D. 06-07-031 adopted the following system for the counting of scheduled and forced outages for purposes of the System Monthly RA Filing.  Please note that the Local RA Filing will not be affected by scheduled or forced outages and the following section and table apply only to the System RA Filings, not the Local RA Filings.

Scheduled Outages:

For RA counting purposes, a Scheduled Outage is any outage that is designated "Approved Planned" in the SLIC system.   In determining the impact of outages, LSEs should use the scheduled outage criteria in the table below.  LSEs are advised to verify a unit’s outage status with the Scheduling Coordinator for that unit prior to including it in the RA filing.  The CPUC and the CAISO will compare the amount of claimed capacity in the System year ahead and Monthly RA filings with the CAISO’s outage information to verify compliance.  An LSE’s filings may be disapproved if there is a variance between unit availability and the capacity listed in the System year ahead and Monthly RA filings.

All outage schedules and changes to outage schedules for any RA resource are subject to CAISO approval.  If the CAISO approves a change to the outage schedule, the outage schedule change will not change the RA counting of the resource.  If the CAISO denies an outage request, the RA resource is expected to remain available.

If a unit has a scheduled outage pursuant to the direction above that curtails only part of the unit’s capacity, a LSE may count for RA the capacity that is not curtailed.

Outages and the SLIC system

The magnitude in MW of curtailment and the length of an outage are both taken directly from the SLIC system.  Any unit that has an outage designated as “Approved Planned” in the SLIC system for a particular month should use the scheduled outage criteria in the table below to determine the impact of scheduled outages on that unit’s ability to count as Resource Adequacy Capacity.  Any LSE listing a resource in an RA Filing must confirm that the amount of capacity to be listed is not subject to curtailment prior to the filing date.

The amount of capacity that can count towards an LSE’s System RAR will be the total NQC for the applicable filing month minus the computed curtailment amount.  The Energy Division will verify all Resource Adequacy Capacity against scheduled outage information in SLIC and will only allow capacity that is not under a scheduled outage to count towards a LSEs’ System RAR, subject to the scheduled outage counting rules in the table below.  Any approved changes to outages occurring after the filing due date will not affect an LSE’s compliance.

Counting Resources with Scheduled Outages

| Time Period | Description of How Resource Would Count at Time of the Showing |
| --- | --- |
| Summer May through September | Any month where days of scheduled outages exceed 25% of days in the month, the resource does not count for RAR. If scheduled outages are less than or equal to 25% of the days in the month the resource does count for RAR. |
| Non-Summer Months October through April | For scheduled outages less than 1 week, the resource counts towards RA obligations. For scheduled outages 1 week to 2 weeks, the amount counted for RAR is prorated using the formula: [1 - (days of scheduled outage/days in month) - 0.25] * NQC in MW = NQC that can count towards an LSE’s RA obligation The formula will allow resources to count between 50% and 25% of NQC. For scheduled outages over 2 weeks, the resource does not count for RAR. |

Forced Outages:

Forced outage of any RA resource occurring during a month does not change the RA compliance established for that LSE for that month.  If the forced outage continues into a succeeding months, the resource may still be counted towards the LSE's RA compliance.  The SLIC system verifies forced outages; units that, according to the SLIC system, have an outage designated as “forced” will not be derated for RA purposes and can sell capacity equal to the unit’s NQC in the 2010 CAISO NQC list.

# Allocation of Reliability Must Run (RMR) Units for Local and System RAR

D.06-06-064 requires that all LSEs file Preliminary Local RAR compliance showings.  This Preliminary Local RAR demonstration must, at a minimum, accurately show whether the LSE has, by the filing date, entered into a contract with any unit that is listed on the 2010 NQC List.  The Preliminary Local RA Filing will not be used to determine compliance with Local RA obligations but they are required to be accurate.  The LSEs are encouraged to include other units in their Preliminary Local RA Filing --including units not in designated local areas -- because complete data on LSE procurement may help to reduce RMR procurement and the associated costs that are allocated to LSEs.  An LSE that has no 2010 units designated as in Local Areas on the 2010 NQC list under an RAR contract prior to the Preliminary Local RA Filing is required to state this in a simple RA filing; however, even the identification of non-local units may reduce RMR procurement, and therefore all LSEs are encouraged to be as complete as possible in Preliminary Local RA Filings.

To the extent that an LSE’s Preliminary Local RA Filing contains any RMR units, the showing needs to indicate whether the LSE contracted for the RMR unit’s full RA capacity outright or contracted for only the Local RA counting benefits via a “wraparound” contract to the RMR contract.  To qualify as providing Local RA, a wraparound contract must fully displace the RMR contract fixed costs such that no other transmission customers are paying for that part of the RMR contract obligation.

In requiring a Preliminary Local RA Filing, the CAISO will have time to review the filings prior to issuing RMR contract renewal notices.  If a unit is bought under a full RA contract, there should be no CAISO RMR contract renewal.  If a unit is bought by wraparound contract, then the CAISO may still execute an RMR contract renewal but the Local RA capacity credit of the RMR contract would not be distributed to all LSEs as Local RA credit; instead the Local RAR counting benefit would accrue only to the LSE that is paying for the wraparound contract.  If an LSE has a wraparound contract that does not fully displace fixed cost recovery, the Local RA credit would be allocated as if it were an RMR unit without any wraparound contract.  However, in that case the LSE that pays for the wraparound contract may still receive System RAR credit for the unit.

After finalizing the RMR contracts for 2010, the CAISO will know which RMR units are available and the total MW of RMR capacity.  The CAISO, in coordination with the Energy Division, will then separate the total RMR contract amount (in MWs) by Commission-jurisdictional and non- jurisdictional, RMR-paying entities, and also by the five Local Areas.  Each LSE will be notified by the Energy Division of their System RMR Allocation based on the expectation that any Condition 2 RMR unit that has a contract renewed by October 1, 2009 will likely continue to elect Condition 2 for 2010.  If there is any change to the Condition of a unit throughout the year, LSEs will be notified of an updated RMR Allocation for use in their subsequent Monthly RA Filings.

Both Condition 1 and Condition 2 RMR contracts will be allocated for purposes of Local RA, while only Condition 2 units can be allocated to LSEs for purposes of System RA.  D.06-06-064 specifically rejected the sale of separate System and Local RA counting credits; however RMR Condition 1 contracts that count towards Local RAR will not count towards System RAR.  Therefore, a unit that is under an RMR Condition 1 contract may separately sell its System RAR credit.

The following schedule summarizes the process:

Schedule for Coordinating RAR and RMR Processes for 2010

| June 22, 2009 | Commission adopts Local RAR Decision. |
| --- | --- |
| July 25, 2009 | Energy Division notifies LSEs of their Local RAR for 2010 |
| September, 2009 | CAISO Board meets to consider RMR contract designations. |
| September 18, 2009 | LSEs file Preliminary Local RAR showings. |
| October 1, 2009 | CAISO finalizes (by October 1, 2009) its RMR contract renewal process by sending renewal notices. |
| October 10, 2009 | Energy Division notifies LSEs of their 2010 RMR credit for Local RAR. |
| October 29, 2009 | LSEs make Year-Ahead System and Local RAR showings for 2010. |
| November 2, 2009 | CAISO notifies all LSEs of any collective deficiencies to allow for additional LSE procurement. |
| December 1, 2009 | Last date for LSE to file amended Local RAR or System “year ahead” RAR showing to reduce CAISO backstop for collective deficiency. |
| After December 1, 2009 | CAISO engages in any backstop required to cure collective local deficiencies and notifies the Energy Division so that it can notify LSEs of their System RAR credit to their monthly showings. |

Import Capacity Allocation Process for 2010

Note:  Please refer to the CAISO Tariff, Section 40.5.2.2 for the express language on this topic and Appendix B of this Guide for a quick reference guide as to the timelines and tasks that are codified in this section of the CAISO Tariff.

In summary, import capacity will be assigned to entities that serve load in the CAISO Control Area in 2010 per the following steps:

- For 2010, the CAISO will establish for each branch group the total import capacity values into the CAISO Control Area and publish these values on its website by July 1, 2009.  The information can be found on the CAISO website at: http://www.caiso.com/1c44/1c44b2dd750.html

- For each branch group, the CAISO will determine the Available Import Capability into the CAISO by taking the Total Import values from Step 1 and deducting the import capacity associated with (i) Existing Transmission Contracts and (ii) Encumbrances and Transmission Ownership Rights.

- The import capability associated with ETCs and TORs in Step 2 will be reserved for the holders of such commitments, and will not be reduced subsequent to the following process.

- The LSEs submitted their existing commitments from resources outside CAISO Control Area entered into before March 10, 2006 and with a term lasting through the year 2009 as part of the 2009 Compliance Year Import Allocation Process.  The CAISO will use this information to determine Import Capability reserved for Pre-RA Commitments.  Previously, LSEs selected particular branch groups based on the primary branch group that energy or capacity from each particular import resource commitment had historically been scheduled.  For resources that did not have deliveries in 2009 or were not included in the Compliance Year 2009 Import Allocation process, the CAISO will assign capacity based on which branch group the energy or capacity was anticipated to be scheduled.  This is the Pre-RA Import Capability.

To the extent a particular branch group is over requested due to Pre-RA commitments not included in the Compliance Year 2009 Import Allocation process or changes to system conditions that affect total import capability into the CAISO, the requested Pre-RA Import Capability will be allocated based on the Import Capacity Load Share ratio of each Load Serving Entity that submitted such resource commitments.   However, to the extent this initial allocation has not fully assigned the total import capacity of a particular branch group to the requested resource commitments, the remaining capacity will be allocated until fully exhausted based on the Import Capacity Load Share ratio of each Load Serving Entity whose quantity of submitted resource commitment have not been fully satisfied.  Import Capacity Load Share is each Load Serving Entity’s proportionate share of the forecasted 2010 coincident peak load for the CAISO Control Area relative to the total coincident peak load of all Load Serving Entities that have not had their request for import capacity for a resource commitment on a particular branch group fully satisfied.  The proportionate share of the forecasted 2010 peak load for the CAISO Control Area for each Load Serving Entity is the “Coincident Load Share” as determined by the California Energy Commission.

The CAISO will assign Remaining Import Capability to LSEs that have not received Existing or Pre-RA Import Allocations in excess of their Import Capability Load Share due to the steps above.  This is not a branch specific allocation.

- By July 9, 2009 the CAISO will publish on their website the following information:

  - Total Import Capability;

  - Quantity in MW of ETCs and TORs assigned to each branch group, distinguishing between ETCs held by LSEs within the CAISO and those held by LSEs outside the CAISO;

  - The aggregate quantity in MW, the holders, of Pre-RA Import Commitments assigned to each branch group;

  - Remaining aggregate import capacity, the identity of the branch groups with available capacity, and the MW quantity remaining on each such branch group.  http://www.caiso.com/1c44/1c44b2dd750.html

- By July 9, 2009 the CAISO will notify the Scheduling Coordinators of each LSE of the following information:

  - LSE’s Import Capability Load Share;

  - LSE’s Load Share Quantity

  - Amount and branch group on which the LSE’s Contract Import and Pre-RA Import Capability has been assigned;

  - LSE’s Remaining Import Capability

- Load Serving Entities will be allowed to trade some or all of their remaining import capability to any other Load Serving Entity or market participant.  The CAISO will accept trades among LSEs and market participants only to the extent such trades are reported to the CAISO as outlined in a CAISO Market Notice.  LSEs must report to the CAISO the following:

  - Name of counterparty

  - MW quantity

  - Term of transfer

  - Price per MW

LSEs must report their trades to the CAISO by July 17, 2009.

- By July 17, 2009, Scheduling Coordinators for LSEs and other market participants shall report to the CAISO requests to allocate post-trading Remainder Import Capacity on a MW per available branch group basis.  The CAISO will honor the requests to the extent a branch group has not been over-requested.  If a branch group is over requested, the requests for Remainder Import Capacity on that branch group will be allocated based on the ratio of each Load Serving Entity’s Import Capacity Load Share, as used in Step 4.  A market participant without an Import Capacity Load Share will be assigned the Import Capacity Load Share equal to the average Import Capacity Load Share of those Load Serving Entities from which it received Remainder Import Capacity.

- By August 3, the CAISO will notify each Scheduling Coordinator for Load Serving Entities of their accepted allocations and publish on its website remaining aggregate import capacity, the identity of the branch groups with available capacity, and the MW quantity remaining on each branch group.

- To the extent import capacity remains unallocated pursuant to Step 10, all LSEs will notify the CAISO by August 3, 2009 of their request to allocate any Remainder Import Capacity on a MW per available branch group basis.  The CAISO will honor the requests to the extent a branch group has not been over requested.  If a branch group is over requested, the requests on that branch group will be allocated based on the ratio of each Load Serving Entity or market participant’s Import Capacity Load Share, as used in steps 3 and 6.

- By August 11, 2009 the CAISO will notify each Scheduling Coordinator for a Load Serving Entity of the Load Serving Entity’s accepted allocation under this Step 12 and publish on its website the quantity and branch group identity of Remaining Import Capability that has not been assigned pursuant to the steps above.

- To the extent total Available Import Capability remains unassigned pursuant to Step 12, Scheduling Coordinators for Load Serving Entities shall notify the CAISO pursuant to limitations discussed below, of a request to assign the Remaining Import Capability on a branch group.  The CAISO will accept two (2) requests per calendar week from any Scheduling Coordinator on behalf of a single LSE or market participant.  The CAISO will honor requests on a first come first served basis and without regards to the LSE’s Load Share Quantity.  Requests will be honored and assigned for the balance of the Compliance Year, however requests honored by the CAISO and notified to the LSE after the 20th day of the month cannot be included in the Monthly RA Filing submitted at the end of that month, but may be used for subsequent RA Filings.

This multi-step allocation of import capacity does not guarantee or result in any actual transmission service being allocated and is only used for determining the maximum import capacity that can be credited towards satisfying a Load Serving Entity’s planning reserve margin, or appropriate Resource Adequacy Obligation.  Upon the request of the CAISO, Scheduling Coordinators must provide the CAISO with information on existing import contracts and any trades or sales of their load share allocation.    The CAISO will inform the CPUC or other Local Regulatory Authority of any Resource Adequacy Plan submitted by a Scheduling Coordinator for a Load Serving Entity under their respective jurisdiction that exceeds its allocation of import capacity.

Please refer to Appendix B of this Guide for a quick reference guide as to the timelines and tasks that are codified in Section 40.5.2.2 of the CAISO’s Tariff.

Zonal RA: Constraint on Flows Across Path 26

The Path 26 Counting Constraint was adopted in D.07-06-029 and will continue into 2010 compliance year.   LSEs are still required to balance their loads and resources so as to provide the CAISO with enough resources north of Path 26 (between Midway and Vincent substations) and south of Path 26 to meet load while at the same time observing the transfer limits in both directions.

The reporting and offer requirements of resources listed in the Preliminary Path 26 submittals is the same as with a standard RA resource. There is the binding obligation that a resource listed in the Preliminary Path 26 submittals also be used to satisfy an LSE’s RAR and thus be offered to the CAISO under an RA MOO in the subsequent System RA Filing and in all applicable Monthly RA Filings.

Each LSE is required to forecast load and specify customer count separately by TAC Area (PG&E, SCE, and SDG&E) in a template submitted to the CEC in April 2009.  The CEC then verifies the submitted information, benchmarks the information against the CEC forecast and adjusts each LSE’s forecast for plausibility. Energy Division includes this information in the LSE Allocation spreadsheet that is now included in the System RA reporting template.  The LSE then verifies that each resource they list to provide RA is listed with the correct Zonal Designation in the appropriate Resource Worksheet and that the total of their commitments both north of Path 26 and south of Path 26 do not require transfers across Path 26 in either direction that exceed their Path 26 Allocation..

The System and Monthly templates implement this Path 26 transfer constraint by splitting the System RA obligation into Zonal RA obligations, and measuring resources procured against the Zonal RA obligations.  LSE load for each TAC Area is drawn from the LSE Allocation spreadsheet; physical resources, along with imports, portfolio resources, units under construction, and demand response resources are designated according to zone.  The template subtracts the amount of demand response resources located in the zone from the load within the zone, computes a RA obligation with the required Planning Reserve Margin, tallies the resources listed to meet that RA obligation, and computes a necessary flow across Path 26 to meet their zonal RA obligation.  The LSE then enters their appropriate Path 26 allocation received at the conclusion of this process to accommodate those necessary flows.  Imports delivered across a particular import branch and then traveling across Path 26 must be accommodated by both an import allocation and a Path 26 allocation.  Additionally, contracts that do not specify either a particular generating unit or a specific zone of delivery will not be included as resources in the zone to serve load, and are unavailable to offset necessary flows across Path 26. The template assumes that resources delivered to the CAISO are in neither SP26 nor NP26, so in simple terms that capacity is always assumed to be transferred over Path 26 to meet zonal RA obligations.

Schedule for 2010 Path 26 Allocation process

Step 1 – July 18th, 2009.  The CAISO will determine the amount of Path 26 transfer capacity available for RA counting purposes after accounting for Existing Transmission Contracts (ETCs) and loop flow.  The CAISO will notify the LSEs via their Scheduling Coordinators.

Step 2 – July 17th, 2009.  The CAISO will allocate a baseline “Path 26 transfer capability” to each LSE, and notify them via their Scheduling Coordinator.  The baseline allocation is the higher of (1) their Load Share Ratio of load in the zone into which capacity is being transferred, or (2) the sum of the LSE’s existing commitments including ETCs, TORs, and RA Commitments executed prior to March 22nd, 2007.  Any LSE with a baseline allocation in excess of Load Ratio Share due to existing commitments will receive Path 26 transfer capability to cover those commitments, which will be taken out of other LSE’s baseline allocations.

Step 3 – August 3rd, 2009.  Once the baseline quantities are determined, LSEs will have an opportunity, but not an obligation, to submit RA resource contract commitments (Preliminary Path 26 Submittals) that exist as of July 31st, 2007, including Grandfathered RA Commitments, that need to use Path 26 to deliver to the LSE’s loads (Existing RA Commitments).  The CAISO will use these Preliminary Path 26 Submittals to “net” the north-to-south and south-to-north Path 26 RA counting impacts associated with the Existing RA Commitments.  An LSE’s Preliminary Path 26 Submittal cannot exceed its baseline Path 26 RA counting capacity.  Once submitted, the Preliminary Path 26 Submittals will create a binding obligation on the LSE to include the Existing RA Commitments in its Year-Ahead and month-ahead RA compliance filings, and make them subject to the CAISO Tariff regarding RA Resources.

Step 4 – August 11th, 2009.  The CAISO will allocate the additional Path 26 RA counting capacity that was made available due to netting of existing commitments.  This additional counting capacity will be allocated to LSEs based on load-ratio shares, and will be additive to the LSEs’ baseline allocations.  However, LSEs whose baseline Path 26 RA counting capacity exceeds their load-ratio shares because of Grandfathered RA commitments in Step 2 will only receive additional Path 26 RA counting capacity after all other LSEs have been allocated additional Path 26 RA counting capacity in an amount that causes them to exceed their respective load-ratio share by the same percentage that the initial LSE received because its baseline allocation exceeded its load-ratio share.

Step 5 - August 11th, 2009.  The CAISO will notify LSEs of the final results of the Path 26 RA counting capacity process.  This final notification can add to the baseline allocation in Step 2 but cannot decrease it.

Department of Water Resources (DWR) Contracts

DWR CERS contracts are to the extent possible listed in the appropriate worksheet. For example physical resource specific DWR contracts are entered into the Physical Resource Worksheet I and Import DWR contracts are to be entered into the Import Worksheet III with the appropriate import allocation.  Only DWR contracts that do not fit onto other existing worksheets are to be entered into the DWR Worksheet II.  This represents a change in practice from earlier RA Compliance Years, and this change is made to streamline compliance review.  This guideline applies for both the System RA Filing and the Local RA Filing as well to the extent physical resource specific DWR contracts are eligible for Local RA credit.

Firm Import Liquidated Damages (LD) Contracts

Firm import LD contracts with specific Intertie Points and Import Allocations are not subject to these phase-out provisions and should be listed on Import Resource Worksheet III.  Firm Import LD contracts do not count for Local RA, and when a Firm Import LD contract has flexibility of delivery to a non specified point within the CAISO, it is not viewed as a resource in one of the two zones of California for purposes of the Path 26 constraint.

RA Portfolio Resources

D.06-07-031 determined that the RA compliance process can accommodate the limited use of Resource Adequacy (RA) Portfolios, which are plant-specific RA contracts, not unit-specific RA contracts.  For example, for the System Year-Ahead compliance filing, LSE-ABC may want to enter into an RA contract with a generator for 200 MW to be provided by any one of three units at the Acme Power Plant, as opposed to a specific unit.

For purposes of the Year-Ahead 90% compliance filings only, RA portfolios are acceptable, subject to the following conditions:

- The portfolio must be eliminated and converted to specific units in the Monthly System RA showing.

- Any portfolio must be unique and the units behind that portfolio must be specified, communicated to the CAISO/CPUC, and not allowed to change.

- The portfolio may not have total capacity greater than the summed Qualifying Capacity of the individual units.

- Portfolio may only be comprised of units served by the same busbar.

- All units are located in the CAISO control area.

As in previous Local RA cycles, the 2010 Local RA compliance showings do not allow the use of portfolio resources.

Certification of LSE Resource Adequacy Compliance Filing

As confirmed in D. 06-07-031 all RA Filings shall be filed under the following certification; a certification sheet signed by an officer of the company must accompany each template.  Electronic signatures inserted into the appropriate cell of the sheet are acceptable as binding.

Consistent with Rules 1 and 2.4 of the CPUC Rules of Practice and Procedure, this Resource Adequacy compliance filing has been verified by an officer of the corporation who shall expressly certify, under penalty of perjury, the following:

- I have responsibility for the activities reflected in this filing;

- I have reviewed, or have caused to be reviewed, this compliance filing;

- Based on my knowledge, information, or belief, this filing does not contain any untrue statement of a material fact or omit to state a material fact necessary to make the statements true;

- Based on my knowledge, information, or belief, this [filing] contains all of the information required to be provided by Commission orders, rules, and regulations.

# Submission of RA Filings – Secure FTP

Pursuant to section 4.4 of D. 08-06-031, Energy Division has elected to require LSEs to file electronically for RA Filings covering 2010 compliance year.  Appendices A and D direct LSEs in electronic submission of RA Filings for 2010 Compliance Year.  LSEs are encouraged to contact Energy Division immediately for any questions or issues relating to the Secure FTP application.  LSEs may need to reregister periodically, as the Secure FTP system may purge users after a period of inactivity.  Additionally, in the case of unforeseen system failures, Energy Division will notify LSEs with alternate arrangements.

In light of the electronic nature of the submissions, LSEs are required to use the following naming convention when submitting compliance filings to the CPUC, CEC, and CAISO as follows:

[1-10 character name of LSE][first three letters of month or LOC for Year Ahead Local][YA for year ahead, or MA for month ahead][last 2 digits of the year][.xls].  For example, ACMELSE’s Year Ahead template for August 2010 would be named as follows: ACMELSEAugYA09.xls.  Filenames are not case sensitive.

LSEs will use the Secure FTP client available at the url below to transmit the following three files: https://cpucftp.cpuc.ca.gov/courier/1000@/mail_user_login.html?

- Completed workbooks covering the applicable compliance months; Month Ahead System RA Filings cover the next compliance month, while Year Ahead System RA Filings cover the summer months of May through September and the Local RA Filing covers all months of 2010.

- A pdf of the signed certification sheet or an electronic signature in the certification page of the template.

- Confidentiality Declaration covering the filing or reference in the cover letter and Summary Sheet to the date and content of the original confidentiality declaration meant to cover the filing.

Directions for use of the Secure FTP are attached to this guide as Appendix D.  LSEs are to submit files directly to the Energy Division via the Secure FTP application, and are requested to submit the filings via email to the CEC and CAISO at the email addresses below.  In the event that an LSE fails to do so or is unwilling to submit the filings via email to the CEC and CAISO, Energy Division will forward all files to the CEC and CAISO at COB on the filing due date.

| CPUC Energy Division email: RAFiling@cpuc.ca.gov | California Energy Commission email: RAFiling@energy.state.ca.us | CAISO email: reliabilityrequirements@caiso.com |
| --- | --- | --- |

The RA Filings are due according to the following schedule.  All dates are in 2010 except as noted otherwise.

Load Forecast and Month-Ahead filing dates for 2010 RA Compliance

| RA filing month | Load Forecast month | Due Date |
| --- | --- | --- |
| 2010 Preliminary Local | N/A | September 18, 2009 |
| 2010 Final Year Ahead | N/A | October 29, 2009 |
| January | February | November 30, 2009 |
| February | March | December 31, 2009 |
| March | April | February 1 |
| April | May | March 1 |
| May | June | April 1 |
| June | July | April 30 |
| July | August | May 31 |
| August | September | June 30 |
| September | October | August 2 |
| October | November | August 31 |
| November | December | September 30 |
| December | January 2010 | November 1 |

LSEs will receive a letter via electronic mail that confirms approval of the filing from Energy Division. This letter will be similar to the letter LSEs currently receive that approves RA Filings as Advice Letters.  For this reason, the LSE must provide an email address to which the Energy Division will email the approval letter.

We have included one page for each worksheet of the template.  If more pages are needed, the LSE is to add rows to the Excel spreadsheet.  We have locked all formulas in the template so LSEs are unable to alter them.   In the event that an LSE needs to unlock parts of the spreadsheet, LSEs are encouraged to contact Energy Division for directions.  If an LSE alters the spreadsheet without explicit permission of the Energy Division any errors in filing or RA compliance will be sole the responsibility of the LSE and may result in penalties.  It is the responsibility of the LSE to ensure that all information is integrated into the formulas correctly.  The Summary worksheets of the template are completely automated.  Please do not print out and mail any of this information, as paper copies are no longer useful to Energy Division.  Electronic copies of all documents and delivery receipts will be retained by Energy Division for record keeping.

Correction of Errors: Minor or Substantial

There are two classes of corrections: those that require replacement sheets to correct typos and numerical errors that do not affect compliance and the LSE is not required to procure additional capacity; and errors that require the LSE to procure and demonstrate additional capacity which require a complete refiling with new certification sheet and cover letter that clearly explains the corrections, lists extra procurement, and which can subject the LSE to enforcement action.  The CPUC has discretion over classifying errors, and ordering corrections.

LSEs are to use Secure FTP for all submissions of information and for all error correction.  Energy Division will communicate correction notices to the LSE via email.

# Appendix A: Submission of RA Compliance Filings

1. Applicability

D.08-06-031 allows Energy Division staff to determine that RA Filings may be submitted via means other than an Advice Letter.  These guidelines seek to give direction to LSEs as to how to make RA Filings under the new rules.

1.1 Code of Ethics

Rule 1 (“Code of Ethics”) of the Commission’s Rules of Practice and Procedure (California Code of Regulations, Title 20, Division 1, Chapter 1) shall apply to all RA Filings.

1.2 Computation of Time

As used in these rules, “day” means a calendar day, and “business day” means a calendar day except for Saturdays, Sundays, and weekdays when the Commission’s offices are closed, due either to a State holiday or to an unscheduled closure (e.g., an emergency or natural disaster).  The Commission’s Internet site (www.cpuc.ca.gov, under “About CPUC”) will maintain a list of State holidays for the current calendar year and a list for the following calendar year as soon as that list is available.

When these rules set a time limit for performance of an act, the time is computed by excluding the first day (i.e., the day of the act or event from which the designated time begins to run) and including the last day.  If the last day does not fall on a business day, the time limit is extended to include the first business day thereafter.

2.  RA Filing format

The RA Filings (Cover Letter with Summary Sheet and all RA Templates) shall include a Cover Letter, which shall state the person to contact for questions, and the date when the LSE expects the RA Filing to be received by the CPUC.  The Cover Letter shall summarize the contents as follows:

- Note the correct compliance period covered by this Filing

- Show contact person, telephone number, and e-mail address for additional information regarding the RA Filing and the person to whom the approval letter is to be sent.

If an RA Filing does not include a complete submission as described above, the Energy Division may reject the RA Filing and require a new submission by the LSE.

4. Submitting RA Filings and Related Documents

The RA filing (RA Templates and Confidentiality declaration if needed) shall be submitted to the CPUC Energy Division, CEC, and CAISO.  The method of filing is summarized in Section 20 of the RA Guide, along with the exact email addresses to be used at the CPUC, CEC, and CAISO.

5. Service to Other Parties

RA filings are compliance filings and not subject to protest. Therefore, service beyond the parties listed in Section 20 of the RA Guide (CPUC, CEC, and CAISO) is not required.

6. Correction of Errors made in RA Filings

Minor typographical or numerical inaccuracies that do not affect compliance and do not require the procurement of additional capacity can be made by submitting a corrected template to replace the original, with the changes described in the cover letter.  The LSE must type REVISED at the top of all Resource Worksheets (not Summary Pages) and highlight any changed cells in the Resource Worksheets (not Summary Pages).  Since the Summary Pages are protected and unable to be edited, the LSE is not required to highlight any information on them.  Errors that do affect compliance and require the LSE to procure additional capacity must be submitted via a complete refiling of the templates with a new cover letter, new Certification Sheet, and must be received by Energy Division within the time frame indicated in the correction notice.  The Cover Letter must state the reason for the refiling, and indicate any additional procurement performed.  Energy Division Staff reserves the discretion to classify errors as one of the two classes, and to order corrections.  Corrections made to RA Filings that affect compliance may also be referred to the Commission’s enforcement staff.

- Typographical and Numerical Errors:

Simple typographical or numerical errors that do not affect compliance or do not invalidate resources sufficient to drop the LSE below RAR can be corrected by the LSE or upon request by the PUC by submitting a corrected template replace the original in its entirety; specific revisions must be noted in a cover letter.  In the case of a supply plan mismatch or a scheduled outage that invalidates a portion of the LSE’s capacity, if the supplier has submitted replacement capacity via a supply plan, the LSE may submit corrections to list the correct source of capacity via correction sheets. Submission of revised templates and cover letters is done via the same method as the original filing and to the same addresses.  LSEs must type REVISED at the top of any page that contains corrections (except for Summary pages) and must highlight cells that have been altered.  Corrections must arrive in Energy Division within five business days after notification by the CPUC.

- Errors that May Affect Compliance

Errors that affect compliance, where removal of capacity in question would leave the LSE without sufficient capacity to meet RAR, must be corrected via a complete refilling of the RA Filing (with cover letter that explains the errors and a new certification sheet).  Additional procurement must be demonstrated via a corrected template and the LSE is to ensure that a revised supply plan documenting that additional procurement is filed with the CAISO by the supplier. Corrections and additional procurement must be clearly explained in the Cover Sheet and noted on the Summary Sheet in Appendix A.  Corrections to an original RA Filing must include the date of submission of the original RA Filing.

Refiled RA Filings are evaluated similarly to original RA Filings, and are subject to the same filing provisions.  Examples of errors that may affect compliance include omitting resource availability, filing a resource under an incorrect tab (recording an import as a Physical Resource), and any typographical or numerical error that would change an LSE’s compliance status.  Energy Division must receive corrections or refilings within five business days of LSE receipt of the correction notice.

# Appendix B: CAISO Import Allocation Process for 2010

| CAISO Tariff Section 40.5.2.2 – Deliverability of Imports | SC/LSE OBLIGATIONS | CAISO OBLIGATIONS |
| --- | --- | --- |
| Tariff Step | Required Tasks by Step | Due Date | Status | Due Date | Status |
| 1 | CAISO will publish Total Import Capacity on CAISO website |  |  | 1-Jul | Complete |
| 2 | CAISO will determine Available Import Capability by taking Total Import Capability and subtracting ETCs and TORs |  |  | 1-Jul | Complete |
| 3 | CAISO will reserve Import Capability for holders of ETCs and TORs and will not reduce them pursuant to following steps. |  |  | 1-Jul | Complete |
| 4 | CAISO will reserve Import Capability for the holders of Pre-RA Commitments reported as part of the 2009 Import Allocation process pursuant to Branch Group ratings |  |  | 9-Jul | Complete |
| 5 | LSEs receive allocation of Remaining Import Capability reduced by allocations for ETCs, TORs, and Pre-RA Commitments from previous steps |  |  | 9-Jul | Complete |
| 6 | CAISO will post amounts of Total Import Capability, the aggregate amounts and identity of holders of ETCs and TORs, aggregate amounts of Pre-RA Commitments, and the Remaining Import Capability by branch group after previous steps on their website |  |  | 9-Jul | Complete |
| 7 | CAISO will notify the SC for each LSE of the LSE’s import capability Load Share, Load Share Quantity, accepted branch group allocations, and Reminder Import Capability. |  |  | 9-Jul | Complete |
| 8 | LSEs will notify CAISO of any trades of Remainder Import Capability (Incl Path 26) with necessary information | 17-Jul | Pending |  |  |
| 9 | SCs for LSEs will report to the CAISO requests to allocate Remainder Import Capability to particular branch groups (Incl Path 26) | 17-Jul | Pending |  |  |
| 10 | CAISO will notify LSEs of their accepted allocations of Remainder Import Capability and post the aggregate Remainder Import Capability to their website |  |  | 3-Aug | Pending |
| 11 | LSEs can request allocations of Import Capability remaining after the steps above. CAISO will honor requests pursuant to Branch Capability. Prelim Path 26 showing due | 3-Aug | Pending |  |  |
| 12 | CAISO will notify the LSE of the LSE’s accepted allocation based on Step 11 above (Incl Path 26) and publish the amount and identity of any remaining Import Capability on their website |  |  | 11-Aug | Pending |
| 13 | SCs for LSEs may at any time in the year request allocations of Import Capability remaining after Step 12 above, which will be effective for the remainder of the Compliance Year, on a first come - first serve basis. | Continuous |  |  |

# Appendix C: Frequently asked questions and clarifications to the filing instructions

1.  Question:  What if I have more than one contract with facilities under the same Scheduling Resource ID such as a set of QFs or maybe there is a baseload contract with a generator for part of the capacity, but also peak capacity contract for the rest? How should I file that in the RA template; should I include all that information in one line with one contract ID?

Answer: For multiple QF units under one aggregate ID that are all for as available capacity, please roll them all up under one Scheduling Resource ID and report the total capacity in one line of the template with the same hours of availability.  For multiple contracts with the same Scheduling Resource ID that have different hours of availability, please list each separate contract on separate lines consecutively in the RA template.  The Scheduling Resource ID (column C) will remain the same, but the Resource Contract Number (column H) will be different.  Please list all information for each contract to the extent that functionally they are different contracts.

- Question:  What if I have one contract for peak capacity for 15 MW and a second contract for off-peak capacity for 5 MW?  How should I report these contracts in the RA template; should I include all that information in one line with one Contract Identifier (Column B)?

Answer:  If the peak and off peak contracts combine to cover a 24 x 7 period, split the peak contract into two components; 5 MW to match with the off-peak contract and 10 MW that remain peak.  Then, on one line report the 5 MW peak and 5 MW off peak contracts as a single resource in category 4 with unrestricted availability (all hours).  On a second line report a 10 MW peak contract.  On the line with two contracts, both contract numbers should appear in the contract ID cells.

- Question:  What if I have one contract with a facility that includes different components?  For example 100 MW 7x24, and 15 MW 7x16? How should I report that in the RA template; should I include all that information in one line with one contract ID?

Answer:  If a single resource contract has separate components that qualify in different resource categories, the contract should be entered in the RA Template in multiple lines.  Using the example, one line should be completed using the 100 MW 7x24 component and a separate line should be completed using the 15 MW 7x16 component.  Each line should include all information.

4.  Question:  What does it mean in the instructions for Minimum Hours in Month, where the directions refer to “during peak load hours?”

“Minimum Hours in Month - The minimum number of hours in the RA month that the RA resource is contractually or physically available and capable of operating at its Qualifying Capacity during peak load hours to meet the LSE’s RAR.”

Answer:  The minimum hours in a month are the minimum hours that a resource is available.  For example a 5x4 contract is available for 80 hours a month.  To count, those hours must be peak hours.  A 5x4 contract that is available between 2 and 6 am would not deliver RA benefits.  Different programs have different definitions of peak hours, so for this template peak hours are counted in accordance with program rules.  For example, solar and wind resources define peak as noon to 6pm per D 05-10-042.

5.  Question:  Do firm import LD contracts signed after October 27, 2005 still count towards RA requirements, or are they subject to the same sunset date and phase out percentages as in-area LD contracts are pursuant to page 65 of D. 05-10-042?

Answer:  Firm import LD contracts do not fall under the sunset and phase out provisions because they do not present the same deliverability and reliability issues as in-area LD contracts.  Thus Firm import LD contracts with specific intertie agreements do not fall under the same phase out schedule.

6. Question:  What is the difference between Scheduling Resource ID in Column C and the Contract Identifier in column B in Worksheets I, III, and V in the RA Template?

Answer:  Scheduling Resource ID – The CAISO-assigned Scheduling Resource ID that identifies the unit in the CAISO NQC list and by which the unit is scheduled into CAISO markets.

Contract Identifier – LSE specified number that identifies the relevant contract(s) in the LSE’s internal recordkeeping.  This information will be used to identify supporting documentation during compliance verification.

If there are two contracts with the same unit, then contract numbers (column H) would be different, but the Scheduling Resource ID (Column C) would be the same. Please refer to Question 1 above.

7.  Question: What is the purpose of the DR Allocation spreadsheet now that the DR that is allocated by the CPUC is part of the LSE Allocations page and is automatically drawn into the Summary Pages?

Answer:  All DR Programs that are part of the regular DR Allocation by the CPUC are included in the LSE Allocations page.  Programs that are operated by non-IOU LSEs that are not allocated to all LSEs are to be entered into the DR resource worksheet.  The LSE is to enter all information into this sheet.

8.  Question:  What is the desired level of accuracy for numbers, 1 MW, 0.5 MW, 0.01 MW?  Do I round numbers off to the nearest 1MW, 0.5MW or 0.01 MW?

Answer:  For purposes of filling in the templates, round off to the nearest 0.01 MW like the load forecasts and RMR allocations do.  Do not round any more than that.  Precision is important, particularly for smaller LSEs

9.  Question:  What if I have a contract with a unit that lasts for only part of the month?

Answer: Please pair up the resource with another resource that can fill out the month as done for peak/off peak pairings in question 2 above.  If that is impossible, a contract for part of a month will not count for RA and should not be listed.

# Appendix D: Directions for use of Secure FTP

(External accounts can only send to CPUC email addresses)

Self Registration to send files to CPUC staff:

- Go to:  https://cpucftp.cpuc.ca.gov and accept the certificate

- Click New User

3. Enter your email address and click Register.

You will be prompted with the window below. Open your external email and copy the verification code and paste or enter to the verification code field and click verify email.

Create a password and click Register.

After clicking OK, login with your newly created account.

# Footnotes

Section 4.2.6 of D.08-04-023

FERC order available here: http://elibrary.FERC.gov/idmws/file_list.asp?accession_num=20090626-3089

D.09-06-028, at page 44

The CPUC will mail out 2010 DR allocations, Local RA, and load forecasts by Secure FTP on July 25, 2009. Some of this information originated with the CEC, but it was mailed to the LSEs by the CPUC.

D.05-10-042 page 53

The transfer capacity on Path 26 must be de-rated to accommodate ETCs that are used to serve load outside the CAISO control area.  “Loop flow” is common to large electric power systems and must be accommodated to prevent overloading of lines.

# Text boxes

California Independent

System Operator Corporation