## Slide 1: A Case for Flex Down
April 5, 2016
©2016 California Energy Storage Alliance

## Slide 2: Start
Premise: RA is about lining up a fleet with adequate capabilities as well as adequate Must-Offer Obligations (MOOs).
Without Planning Capacity, markets may require higher/extreme spot market prices to allow for cost-recovery.
  Example: ERCOT
RA also underwrites many CAISO monthly planning/assessment efforts, including authorizations of outages
Historically, ‘adequacy’ really involved peaking needs w/ some locational (local) requirements
Nowadays and into the future, ‘adequacy’ is more complicated

## Slide 3: Flex Down – a core fleet/MOO need
Premise: RA is about lining up a fleet with adequate capabilities as well as adequate Must-Offer Obligations (MOOs).
Changing net-load shapes and ramping needs drive flexibility – up and down.
  NERC/WECC criteria honored. Excessive/Sub-optimal out-of-market solutions avoided.
Potential Suppliers: Storage, VERS, Traditional Resources, Other
Flex down may be supplied competitively/liquidly, but categorizing flex-down as ‘only an operational/spot-market issue’ underutilizes our planning capacity frameworks

## Slide 4: The Flex Down Debate:
Concern | Potential Response
Prove to me that Flex Down is needed, aka that over-generation is a ‘problem’? | With increasing VERs, our Capacity Planning construct should hand a workable fleet w/ adequate MOOs to CAISO.
Isn’t this ‘just operational’ – shouldn’t the spot market solve the problem? | Recall main premise, but may make sense to support lower bid floors. Market can only operate around the capabilities of the available units.
Will this be too costly/difficult? | If VERs and others offer down flex, supply should be liquid, i.e. there should be efficient pricing.
Can CPUC retain appropriate oversight of IOU portfolios? | Yes.
Premise: RA is about lining up a fleet with adequate capabilities as well as adequate Must-Offer Obligations (MOOs).

## Slide 5: Conclusions:
RA is about lining up a fleet with adequate capabilities as well as adequate Must-Offer Obligations (MOOs).
Proactive changes to RA should be expected as ISO operate w/ an evolving fleet.
This proceeding shows CPUC appropriately avoiding any ‘let them eat cake” responses
Next Steps:
Acknowledge/define what capabilities are needing/missing.
Contemplate flex-down designs, likely with unbundling of RA.
Refer to NERC criteria to understand CAISO operating needs.

## Slide 6
California Energy Storage Alliance (CESA)
  Founded in January 2009
  65+ member companies
  Getting storage in the California grid, utility, and customer tool-kits
  Join Today!
Energy Storage North America (ESNA)
  Largest storage conference in the world
  28 countries in attendance
  Next event: October 4-6, 2016 San Diego Convention Center
©2016 California Energy Storage Alliance